## Slide 1: Targeted Proteomics Environment
Targeted Proteomics Quantitative Analysis of Data Independent Acquisition MS/MS in Skyline
Brendan MacLean; Jarrett Egertson; Donald M. Marsh;
Michael J. MacCoss

## Slide 2: 2010 Multi-Instrument SRM Tool for NCI CPTAC Verification Working Group
AB SCIEX 4000 Q Trap
Thermo- Scientific TSQ Ultra
Kessner, D. et al. Bioinformatics. 2008.
Notes: 4000 Q Trap data from Jeff Whiteaker
TSQ data from MacCoss Lab
Unrelated to any VWG study

## Slide 3: 2010 Graphic Display of Information
Notes: Broad Institute Study 7 data

## Slide 4: 2010 Skyline Adoption (>1500 installations)
Chart: Skyline Average Usage Per Week

## Slide 5: Quantitative Proteomics
Spectrum-based
  Spectral counting
  Isobaric tags
Chromatography-based
  SRM
  MS1 chromatogram extraction
  Targeted MS/MS
  Data independent acquisition (DIA)

## Slide 6: Skyline MS1 Full-Scan Settings
Tutorial

## Slide 7: Skyline MS1 Filtering Data
Schilling, B. et al. Mol. Cell. Prot. 2012.

## Slide 8: Targeted MS/MS
Ion Source
CID
Q1 / Trap
Mass
Analyzer
MS/MS scans
time (scan #)
intensity
m/z
m/z
m/z
m/z
521.27
2 m/z isolation

## Slide 9: Skyline Targeted MS/MS Settings
Tutorial

## Slide 10: Skyline Targeted MS/MS
Sherrod, S. et al. J. Prot. Res. 2012.

## Slide 11: Skyline Targeted MS/MS
Sherrod, S. et al. J. Prot. Res. 2012.

## Slide 12: 2010 Support Multiple Instrument Vendors
SRM
Exporting transition lists & native methods
Importing native instrument output files
AB SCIEX
Agilent Technologies
Thermo-Scientific
Waters

## Slide 13: 2012 Support Multiple Instrument Vendors
Full-Scan
Exporting isolation lists & native methods
Importing native instrument output files
AB SCIEX SWATH™
Agilent Technologies DIA
Thermo-Scientific DIA & Multiplexed DIA
Waters MSe™

## Slide 14: Traditional DIA Isolation Scheme
precursor m/z
Retention time
10 m/z
600
610
620
630
640
650
SVEDFMAAMQR
Precursor m/z: 616
616
x
x
x
x
VGGNGADYALATK
Precursor m/z: 619
619
Venable, J.D. et al. Nat. Meth. 2004.

## Slide 15: DIA Chromatogram Extraction
Ion Source
CID
Q1 / Trap
Mass
Analyzer
MS/MS scans
time (scan #)
intensity
m/z
m/z
m/z
m/z
10 m/z isolation

## Slide 16: DIA Chromatogram Extraction Trade-Offs
Sensitivity
  Dwell / Accumulation time
  Cycle time
Selectivity lost by wide precursor isolation
Selectivity gained vs. SRM by narrow product extraction
Gillet, L.C. et al. Mol. Cell. Prot. 2012.
MS/MS scan

## Slide 17: Skyline Agilent DIA Settings (11.5 m/z Extraction Windows)

## Slide 18: Agilent DIA Data (Product Ions)

## Slide 19: Agilent DIA Data (Precursor Ions)

## Slide 20: Skyline AB SCIEX SWATH™ Settings in v1.3 (32 x 25 m/z Extraction Windows)
Gillet, L.C. et al. Mol. Cell. Prot. 2012.

## Slide 21: AB SCIEX SWATH™ Data
Gillet, L.C. et al. Mol. Cell. Prot. 2012.

## Slide 22: Skyline Waters MSe™ Settings in v1.3 (50 – 2000 m/z Range)

## Slide 23: Waters MSe™ Data

## Slide 24: Multiplexed DIA (Q Exactive) in v1.3
Jarrett Egertson – Thursday AM – ThP 571
Scan N-1
100 4 m/z-wide windows = 400 m/z (5 random per scan)
Scan N
Scan N+1
MSX
Acquisition
De-Multiplexed Spectra
De-Multiplexing
Scan N
Scan N-1
Scan N+1
m/z
Multiplexed Spectra
. . .
. . .
m/z
Isolation Window
Isolation Window
(present = 1; absent = 0)
Precursor Isolation
Scan N-1
Scan N+1
. . .
. . .
Scan N
x
=

## Slide 25: Multiplexed DIA Data (before)
Jarrett Egertson – Thursday AM – ThP 571

## Slide 26: Multiplexed DIA Data (after)
Jarrett Egertson – Thursday AM – ThP 571

## Slide 27: 2012 Skyline Adoption (>10,000 installations)
ASMS
2010
ASMS
2011
Skyline Instances Started Trailing 7 Days
Instances
3500
3000
2500
1500
1000
500
0
2000
Dev 64 Release
Dev Release
1.2 Release
1.1 Release
0.7 Release
Pre-0.7 Release

## Slide 28: Getting Started
Freely available & Open Source http://proteome.gs.washington.edu/software/skyline
Self-updating web installation (v1.3 coming soon)
2 full-scan filtering tutorials (DIA coming soon)
Support board and issues list
8 other tutorials & 3 instructional videos (full-scan video soon)
MS1 Full-Scan Filtering
Targeted MS/MS
Data Independent Acquisition
Coming Soon

## Slide 29: Acknowledgments:
This work is funded by grants from NIH/NIGMS, NIH/NHGRI, Agilent Technologies and Thermo-Fisher Scientific.
Skyline Team
  Nick Shulman
  Vagisha Sharma
  Barbara Frewen
  Michael Bereman
Buck Institute
  Birgit Schilling
  Matthew Rardin
  Brad Gibson
ETH
  Rudolph Aebersold
  Ludovic Gillet
  Christina Ludwig
Vanderbilt
  Matthew Chambers
  Amy Ham
  Daniel Liebler
Duke
  Will Thompson
  Arthur Moseley
AB Sciex
  Fadi Abdi
  David Cox
  Christie Hunter
  Brent Lefebvre
Agilent Technologies
  Christine Miller
  Joe Roark
  Pat Perkins
Thermo-Scientific
  Markus Kellmann
  Andreas Kuehn
  Vlad Zabrouskov
Waters
  Laurence Firth
  James Langridge
  Roy Martin
  Kieran Neeson
  Keith Richards
WP 407 - Vagisha Sharma
A private repository of targeted proteomics assays for Skyline