## Slide 1: Targeted Proteomics Environment
Quantitative Proteomics with Bruker Q-TOF Instruments and Skyline
Brendan MacLean

## Slide 2: Quantitative Proteomics
Spectrum-based
  Spectral counting
  Isobaric tags
Chromatography-based
  SRM
  MS1 chromatogram extraction
  Targeted MS/MS
  Data independent acquisition (DIA)

## Slide 3: Quantitative Proteomics
Spectrum-based
  Spectral counting
  Isobaric tags
Chromatography-based
  SRM
  MS1 chromatogram extraction
  Targeted MS/MS
  Data independent acquisition (DIA)
micrOTOF-Q and maXis series

## Slide 4: 2010 Multi-Instrument SRM Tool for NCI CPTAC Verification Working Group
AB SCIEX 4000 Q Trap
Thermo- Scientific TSQ Ultra
Kessner, D. et al. Bioinformatics. 2008.
Notes: 4000 Q Trap data from Jeff Whiteaker
TSQ data from MacCoss Lab
Unrelated to any VWG study

## Slide 5: Support Multiple Instrument Vendors
Selected Reaction Monitoring
Exporting transition lists & native methods
Importing native instrument output files
AB Sciex
Agilent Technologies
Thermo-Scientific
Waters

## Slide 6: Graphic Display of Information
Notes: Broad Institute Study 7 data

## Slide 7: MS/MS Spectral Library Sources
Global Proteome Machine
MacCoss Lab
NIST
Peptide Atlas
Build your own from peptide search results
  Mascot
  Myrimatch / IDPicker
  OMSSA
  Protein Pilot
  Protein Prospector
  Scaffold – mzIdentML / MGF
  Spectrum Mill
  TPP – pepXML / mzXML files – Peptide Atlas
  X! Tandem
  Waters MSe

## Slide 8: Spectral Library Explorer

## Slide 9: Finding Issue Quickly (wrong peak)
R
E
P
2
0
R
E
P
2
1
R
E
P
2
2
R
E
P
2
3
R
E
P
2
4
R
E
P
2
5
R
E
P
2
6
R
E
P
2
7
R
E
P
2
8
R
E
P
2
9
R
E
P
3
0
Replicate
48
50
52
54
56
58
60
62
M
e
a
s
u
r
e
d
T
i
m
e
y9 - 1059.5065+
y8 - 930.4639+
y7 - 801.4213+
y5 - 645.3315+
IVGYLDEEGVLDQNR
REP20
REP21
REP22
REP23
REP24
REP25
REP26
REP27
REP28
REP29
REP30
Replicate
0
20
40
60
80
100
P
e
a
k
A
r
e
a
P
e
r
c
e
n
t
a
g
e
y9 - 1059.5065+
y8 - 930.4639+
y7 - 801.4213+
y5 - 645.3315+
Notes: MacCoss lab data (unrelated to any VWG study)

## Slide 10: Finding Issues at a Glance (interference)
HGFLPR
Unlabeled
Labeled
13C R
A
1
_
0
1
A
1
_
0
2
A
1
_
0
3
A
1
_
0
4
B
_
0
1
B
_
0
2
B
_
0
3
B
_
0
4
C
_
0
1
C
_
0
2
C
_
0
3
C
_
0
4
D
_
0
1
D
_
0
2
D
_
0
3
D
_
0
4
E
_
0
1
E
_
0
2
E
_
0
3
E
_
0
4
F
_
0
1
F
_
0
2
F
_
0
3
F
_
0
4
0
20
40
60
80
100
P
e
a
k
A
r
e
a
P
e
r
c
e
n
t
a
g
e
y5 - 589.3457+
y4 - 532.3242+
y3 - 385.2558+
A
1
_
0
1
A
1
_
0
2
A
1
_
0
3
A
1
_
0
4
B
_
0
1
B
_
0
2
B
_
0
3
B
_
0
4
C
_
0
1
C
_
0
2
C
_
0
3
C
_
0
4
D
_
0
1
D
_
0
2
D
_
0
3
D
_
0
4
E
_
0
1
E
_
0
2
E
_
0
3
E
_
0
4
F
_
0
1
F
_
0
2
F
_
0
3
F
_
0
4
Replicate
0
20
40
60
80
100
P
e
a
k
A
r
e
a
P
e
r
c
e
n
t
a
g
e
Abbatiello, S.E. et al. Clin. Chem. 2010.
Notes: Buck Institute Study 7 data

## Slide 11: Finding Issues Early (lack of precision)
Peptide area mean of 10 replicates
T
A
A
(
1
5
.
4
)
G
F
C
(
1
6
.
0
)
D
G
G
(
1
7
.
1
)
V
L
D
(
1
9
.
0
)
C
A
V
(
2
0
.
8
)
L
V
N
(
2
1
.
1
)
D
D
G
(
2
4
.
3
)
V
G
P
(
3
3
.
6
)
F
F
V
(
3
5
.
5
)
Peptide
0
10
20
30
40
50
P
e
a
k
A
r
e
a
(
1
0
^
6
)
Peptide area mean of 10 replicates
New
T
A
A
(
1
5
.
9
)
G
F
C
(
1
6
.
3
)
D
G
G
(
1
7
.
3
)
V
L
D
(
1
8
.
8
)
C
A
V
(
2
0
.
0
)
L
V
N
(
2
0
.
4
)
D
D
G
(
2
2
.
8
)
V
G
P
(
3
3
.
2
)
F
F
V
(
3
4
.
8
)
Peptide
0
10
20
30
40
50
P
e
a
k
A
r
e
a
(
1
0
^
6
)
Peptide area CV of 10 replicates
T
A
A
(
1
5
.
4
)
G
F
C
(
1
6
.
0
)
D
G
G
(
1
7
.
1
)
V
L
D
(
1
9
.
0
)
C
A
V
(
2
0
.
8
)
L
V
N
(
2
1
.
1
)
D
D
G
(
2
4
.
3
)
V
G
P
(
3
3
.
6
)
F
F
V
(
3
5
.
5
)
Peptide
0.0
0.1
0.2
0.3
0.4
0.5
0.6
0.7
P
e
a
k
A
r
e
a
C
V
Peptide area CV of 10 replicates
New
T
A
A
(
1
5
.
9
)
G
F
C
(
1
6
.
3
)
D
G
G
(
1
7
.
3
)
V
L
D
(
1
8
.
8
)
C
A
V
(
2
0
.
0
)
L
V
N
(
2
0
.
4
)
D
D
G
(
2
2
.
8
)
V
G
P
(
3
3
.
2
)
F
F
V
(
3
4
.
8
)
Peptide
0.0
0.1
0.2
0.3
0.4
0.5
0.6
0.7
P
e
a
k
A
r
e
a
C
V
Notes: Vanderbilt Study 9S data

## Slide 12: Sharing Reports
Notes: Broad Institute Study 9S report data

## Slide 13: Downstream Analysis with Statistical Tools
Analysis of Study 9S reports with R
Site
1
9
2
0
3
2
5
2
5
4
5
6
5
6
A
6
5
7
3
8
6
8
6
A
9
5
9
8
!
L
C
!
L
C
!
L
C
!
L
C
FWHM peak width in min
(maximum for 5 transitions)
Replicate Number
0
.
1
0
.
2
0
.
3
T
A
A
1
2
3
4
5
6
7
8
9
1
0
G
F
C
D
G
G
V
L
D
C
A
V
0
.
1
0
.
2
0
.
3
L
V
N
0
.
1
0
.
2
0
.
3
1
2
3
4
5
6
7
8
9
1
0
D
D
G
V
G
P
1
2
3
4
5
6
7
8
9
1
0
F
F
V
Peak Width (FWHM)

## Slide 14: Deeper Analysis with Custom Tools
Analysis of reports with Retention Time Viewer (Java program)
http://www.buckinstitute.org/Labs/thegibson/resources.asp
Notes: Application by Michael Kusack at Buck Institute
Study 9P data from Birgit

## Slide 15: Skyline Adoption (>12,500 Installations)
660 registered users
Chart: New Skyline Installations by Month
| 39965 | 39995 | 40026 | 40057 | 40087 | 40118 | 40148 | 40179 | 40210 | 40238 | 40269 | 40299 | 40330 | 40360 | 40391 | 40422 | 40452 | 40483 | 40513 | 40544 | 40575 | 40603 | 40634 | 40664 | 40695 | 40725 | 40756 | 40787 | 40817 | 40848 | 40878 | 40909 | 40940 | 40969 | 41000 | 41030 | 41061 | 41091 | 41122
 | 37 | 53 | 28 | 148 | 224 | 256 | 95 | 130 | 130 | 255 | 213 | 180 | 255 | 220 | 184 | 268 | 265 | 259 | 235 | 275 | 242 | 354 | 309 | 350 | 494 | 439 | 396 | 320 | 359 | 364 | 254 | 306 | 784 | 584 | 478 | 559 | 863 | 788 | 643

## Slide 16: Skyline Use
Dev 64 Release
Dev Release
1.3 Release
1.2 Release
1.1 Release
Pre-1.1 Release
1.3 64 Release
ASMS
2010
ASMS
2011
Skyline Instances Started Trailing 7 Days
Instances
3500
3000
2500
1500
1000
500
0
2000
4000
4500
>100 citations
ASMS
2012

## Slide 17: 2012 Support Multiple Instrument Vendors
Full-Scan
Exporting isolation lists & native methods
Importing native instrument output files
AB SCIEX SWATH™
Agilent Technologies DIA
Bruker DIA & All Ions DIA
Thermo-Scientific DIA & Multiplexed DIA
Waters MSe™

## Slide 18: Skyline MS1 Full-Scan Settings
Tutorial

## Slide 19: Skyline MS1 Filtering Data
Schilling, B. et al. Mol. Cell. Prot. 2012.

## Slide 20: Targeted MS/MS
Ion Source
CID
Q1 / Trap
Mass
Analyzer
MS/MS scans
time (scan #)
intensity
m/z
m/z
m/z
m/z
521.27
2 m/z isolation

## Slide 21: Skyline Targeted MS/MS Settings
Tutorial

## Slide 22: Skyline Targeted MS/MS
Sherrod, S. et al. J. Prot. Res. 2012.

## Slide 23: Skyline Targeted MS/MS
Sherrod, S. et al. J. Prot. Res. 2012.

## Slide 24: Traditional DIA Isolation Scheme
precursor m/z
Retention time
10 m/z
600
610
620
630
640
650
SVEDFMAAMQR
Precursor m/z: 616
616
x
x
x
x
VGGNGADYALATK
Precursor m/z: 619
619
Venable, J.D. et al. Nat. Meth. 2004.

## Slide 25: DIA Chromatogram Extraction
Ion Source
CID
Q1 / Trap
Mass
Analyzer
MS/MS scans
time (scan #)
intensity
m/z
m/z
m/z
m/z
10 m/z isolation

## Slide 26: DIA Chromatogram Extraction Trade-Offs
Sensitivity
  Dwell / Accumulation time
  Cycle time
Selectivity lost by wide precursor isolation
Selectivity gained vs. SRM by narrow product extraction
Gillet, L.C. et al. Mol. Cell. Prot. 2012.
MS/MS scan

## Slide 27: Skyline Bruker DIA Settings (25 m/z Extraction Windows)
Gillet, L.C. et al. Mol. Cell. Prot. 2012.

## Slide 28: Bruker DIA Data (Product Ions)

## Slide 29: Bruker DIA Data (Precursor Ions)

## Slide 30: Bruker All Ions DIA Settings (50 – 1500 m/z Range)

## Slide 31: Bruker All Ions DIA Data

## Slide 32: Getting Started
Freely available & Open Source http://proteome.gs.washington.edu/software/skyline
Self-updating web installation (v1.4 coming soon)
2 full-scan filtering tutorials (DIA coming soon)
Support board and issues list
8 other tutorials & 3 instructional videos (full-scan video soon)
MS1 Full-Scan Filtering
Targeted MS/MS
Data Independent Acquisition
Coming Soon