## Slide 1: iRT Retention Time Prediction with Skyline
Tutorial Webinar #7
With
Brendan MacLean (Principal Developer)

## Slide 2: Agenda
Welcome from the Skyline team!
iRT Retention Time Prediction
Introduction with Brendan MacLean
  Overview of iRT key concepts
Tutorial with Brendan MacLean
  Calibrating and building an iRT library
  Using the iRT library for retention time prediction
Audience Q&A – submit questions to Google Form:
https://skyline.gs.washington.edu/labkey/qa4skyline.url

## Slide 3: Prior Knowledge and Consistency
Based on empirical measurement
Powerful enough to be used cross-lab / cross experiment
More powerful run-to-run
Relative ion abundance
  Library: Spectral and chromatogram
  Prediction: Zhang, Anal. Chem., 2004
Retention time
  Library: iRT (and AMT)
  Prediction: Krokhin, Anal. Chem., 2006 (SSRCalc)
Notes: Confidence in what is being measured

## Slide 4: Chromatography-based Quantification
Hypothesis testing (Verification)
SRM
PRM
MS1 chromatogram extraction (DDA)
Data independent acquisition (DIA)
Acquisition | Targeted | Survey
More Selective | PRM | DIA
Less Selective | SRM | DDA
Scheduling & Detection
Extraction & Detection
Source

## Slide 5: Retention Time Alignment by ID in DDA

## Slide 6: Retention Times for SIVPSGASTGVHEALEMR
Logical Order

## Slide 7: Retention Times for SIVPSGASTGVHEALEMR
Acquired Time Order

## Slide 8: Retention Times for SIVPSGASTGVHEALEMR
Aligned Times

## Slide 9: iRT Standard Peptides
Escher, Proteomics, 2012

## Slide 10: Retention Time Alignment by Standards
Chart: Retention Time B
| 14.63 | 25.3 | 29.71 | 32.85 | 36.04 | 37.89 | 41.19 | 45.89 | 52.9 | 59.43 | 64.33
 | 11.29 | 15.61 | 17 | 18.14 | 19.1 | 19.83 | 21.44 | 23.19 | 25.9 | 28.41 | 30.39

## Slide 11: iRT Standard Attributes
10-20 peptides
Consistently measurable in sample
Spanning gradient range of interest
Biognosys
Pierce
Sigma Aldrich
Heavy reference peptides
Analyte peptides – ApoA1

## Slide 12: Defining an iRT Scale
Retention time “independent”

## Slide 13: Defining an iRT Scale
Chart: Measured Time
| 15.607408523559601 | 30.394607543945298
iRT-C18 | 0 | 100
Other Standards | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Points on a line (score = time * slope + intercept)

## Slide 14: Defining an iRT Scale
Points on a line (score = time * slope + intercept)
Chart: Measured Time
| 11.286191940307599 | 15.607408523559601 | 16.995498657226602 | 18.1365661621094 | 19.103858947753899 | 19.833576202392599 | 21.436367034912099 | 23.1859245300293 | 25.897150039672901 | 28.410640716552699 | 30.394607543945298
iRT-C18 | -29.2227 | 0 | 9.3871 | 17.1037 | 23.6451 | 28.5799 | 39.4189 | 51.2505 | 69.5855 | 86.5832 | 100

## Slide 15: Building an iRT Library
*
*
*
*
*
*
*
*
*
*
*

## Slide 16: Building an iRT Library
Score

## Slide 17: Building an iRT Library
Chart: Measured Time
| 11.286191940307599 | 15.607408523559601 | 16.995498657226602 | 18.1365661621094 | 19.103858947753899 | 19.833576202392599 | 21.436367034912099 | 23.1859245300293 | 25.897150039672901 | 28.410640716552699 | 30.394607543945298
iRT Standards | -24.9161 | 0.00094033 | 12.3894 | 19.7879 | 28.7146 | 33.3812 | 42.2639 | 54.621 | 70.5187 | 87.2332 | 100.0028

## Slide 18: Building an iRT Library
Score

## Slide 19: Using the iRT Library (Prediction)
Score

## Slide 20: Using the iRT Library to Measure

## Slide 21: SSRCalc Predictor Correlation

## Slide 22: Tutorial
Calibrating, building and using an iRT library

## Slide 23: Learn More
iRT Retention Time Prediction Tutorial
Webinar #8: TBD
  Tuesday, June 16
Workshop and ASMS
Skyline User Group Meeting at ASMS
  May 31 at Old Post Office, St. Louis, MO
Workshop in Rio de Janiero, August 31-September 2
Workshop in Puerto Vallarta, November
Weeklong Course at PRBB, Barcelona,
  November 15-20

## Slide 24: Questions?
Ask any questions you have on iRT at the following form: https://skyline.gs.washington.edu/labkey/qa4skyline.url
Take the post-webinar survey:
https://skyline.gs.washington.edu/labkey/survey4webinar.url

## Slide 25: Tutorial Webinar #7
This ends this Skyline Tutorial Webinar.
Please give us feedback on the webinar at the following survey:
https://skyline.gs.washington.edu/labkey/survey4webinar.url
A recording of today’s meeting will be available shortly at the Skyline website.
We look forward to seeing you at a future Skyline Tutorial Webinar.