## Slide 1: DDA to Targeted: Differential Statistics with Skyline
Tutorial Webinar #8
With
Brendan MacLean (Principal Developer)

## Slide 2: Agenda
Welcome from the Skyline team!
DDA to Targeted: Differential Statistics
Introduction with Brendan MacLean
  Workflow and data set overview
Tutorial with Brendan MacLean
  DDA data processing review
  Hypothesis generation from DDA data
  Initial data review and Chorus Cloud Extraction
Audience Q&A – submit questions to Google Form:
https://skyline.gs.washington.edu/labkey/qa4skyline.url

## Slide 3: Chromatography-based Quantification
Hypothesis testing (Verification)
SRM
MS1 chromatogram extraction
Targeted MS/MS (PRM)
Data independent acquisition (DIA/SWATH)
Acquisition | Targeted | Survey
More Selective | PRM | DIA
Less Selective | SRM | MS1
Got HYPOTHESIS??

## Slide 4: Multiple Instrument Vendors

## Slide 5: Discovery to Targeted with Skyline
DDA Acquisition
Spectrum Matching
Group Comparisons
Skyline Import
Discover Candidates
Got HYPOTHESIS!!
Validate

## Slide 6: Case Study: ABRF iPRG 2014
 | Fake Accession | Name | Origin | Molecular Weight
A | P44015 | Ovalbumin | Chicken Egg White | 45KD
B | P55752 | Myoglobin | Equine Heart | 17KD
C | P44374 | Phosphorylase b | Rabbit Muscle | 97KD
D | P44983 | Beta-Galactosidase | Escherichia Coli | 116KD
E | P44683 | Bovine Serum Albumin | Bovine Serum | 66KD
F | P55249 | Carbonic Anhydrase | Bovine Erythrocytes | 29KD

## Slide 7: Sample Preparation
65 | 55 | 15 | 2
55 | 15 | 2 | 65
15 | 2 | 65 | 55
Sample 1
Sample 2
Sample 3
A B C D E F (fmol)
11 | 10
0.6 | 500
10 | 11
+ 200 ng yeast digest
+ 200 ng yeast digest
+ 200 ng yeast digest

## Slide 8: Group Comparisons
0.85 | 0.27 | 0.13 | 32.5
0.23 | 0.036 | 4.33 | 27.5
0.27 | 0.13 | 32.5 | 0.85
Sample 1-2
Sample 1-3
Sample 2-3
A B C D E F (fold change)
0.055 | 50
0.91 | 1.1
16.7 | 0.022
+ 200 ng yeast digest
+ 200 ng yeast digest
+ 200 ng yeast digest

## Slide 9: Group Comparison Maxima
0.2 | 1.9 | 2.9 | 5.0
2.1 | 4.8 | 2.1 | 4.8
1.9 | 2.9 | 5.0 | 0.2
2.1 | 4.8 | 5.0 | 5.0
Sample 1-2
Sample 1-3
Sample 2-3
A B C D E F (abs log2 fold change)
4.2 | 5.6
0.1 | 0.1
4.1 | 5.5
4.2 | 5.6
+ 200 ng yeast digest
+ 200 ng yeast digest
+ 200 ng yeast digest
Maximum

## Slide 10: DDA Runs Searched
 | Identified yeast proteins
sample 1-a | 3016
sample 1-b | 3073
sample 1-c | 2905
sample 2-a | 2916
sample 2-b | 2984
sample 2-c | 2907
sample 3-a | 2883
sample 3-b | 2972
sample 3-c | 2913
Comet, OMSA, MSGF+ - iProphet

## Slide 11: Keys to Success with MS1 in Skyline
Use Import DDA Peptide Search wizard
Make sure you have ID annotations
  Diagnose with Spectral Library Explorer
  http://tinyurl.com/Skyline-missing-ids
Review RT alignment in alignment viewer
Got HYPOTHESIS??
Review and manually adjust <5% of peaks
Do the tutorial

## Slide 12: Tutorial Discovery with Skyline
Import DDA Peptide Search
Data analysis

## Slide 13: Four Processing Workflows Compared
Peptides adjusted p value 0.05 – remove single hits
  6 proteins + 1 false discovery (easily discounted)
Peptides adjusted p value 0.01 – remove single hits
  5 proteins (missing A)
Proteins adjusted p value 0.05
  5 proteins (missing A) + 3 false discoveries (discounted)
Proteins adjusted p value 0.01
  4 proteins (missing A & B) + 3 false discoveries (discounted)

## Slide 14: Discovery versus Validation
Discovery
  asking your data what changed
Validation
  asking if there is evidence you candidates changed
Got HYPOTHESIS??

## Slide 15: Learn More
Webinars #1 (DDA) and #6 (Processing) - tutorials
Webinar #9: TBD
  Tuesday, July 14
Workshop in Rio de Janiero, August 31-September 2
Workshop in Puerto Vallarta, November
Weeklong Course at IIT-Bombay
  December 10-14
Weeklong Course in San Francisco
  January?

## Slide 16: Questions?
Ask any questions you have on differential statistics at the following form: http://tinyurl.com/QA4Skyline
Take the post-webinar survey:
http://tinyurl.com/Survey4Webinar

## Slide 17: Tutorial Webinar #8
This ends this Skyline Tutorial Webinar.
Please give us feedback on the webinar at the following survey:
http://tinyurl.com/Survey4Webinar
A recording of today’s meeting will be available shortly at the Skyline website.
We look forward to seeing you at a future Skyline Tutorial Webinar.