## Slide 1: Calibrated Quantification
Christopher M. Shuford
Laboratory Corporation of America® Holdings

## Slide 2: Why Calibrate?
Courtesy of Andrew Hoofnagle, UW
A.N. Hoofnagle et al., Clin. Chem., 2012, 58(4), 777-781.
“Calibrated” to Internal Standard
Un-calibrated
reduce magnitude of analytical variance
(and increase accuracy of relative quantification)
Apolipoprotein E

## Slide 3
sample
Proteolysis
(digestion)
unlabeled signature peptide (NAT) =
labeled internal calibrator peptide (SIL) =
incomplete proteolysis product =
LC-MS
“known” amount of labeled signature peptide
Elution time
Intensity
1 nmol
Enrichment
target protein
contaminants
Internal Calibration
ISIL
INAT
[SIL]
[NAT]
=
ISIL
INAT
[SIL]
[NAT]
=
×

## Slide 4
Protein
1
Protein-Level
Enrichment
(optional)
2
Concatamer
3
Peptide
Digestion
Peptide-Level
Enrichment
(optional)
time
LC-SRM Detection
NAT:SIL
[Protein] ≈ [PeptideNAT] = [PeptideSIL]
ISIL
INAT
1
2
3
Full-length Protein: Desiderio, D. M. and co-workers, Biol. Mass Spectrom. 1991, 2(2), 149-156
Brun, V. and co-workers, Mol. Cell. Proteomics 2007, 6(12), 2139-2149
Peptide Concatemer: Beynon, R. J. and co-workers, Nat. Methods 2005, 2(8), 587-589
Beynon, R. J. and co-workers, Nat. Protocols 2006, 1(2), 1029-1043
(Partial) Peptide: Barr, J. R. and co-workers, Clin. Chem. 1996, 42(10), 1676-1682
Gygi, S. P. and co-workers, P. Natl. Acad. Sci. USA 2003, 100(12), 6940-6945.
Internal Calibration Hierarchy

## Slide 5
Protein
1
Protein-Level
Enrichment
(optional)
2
Concatamer
3
Peptide
Digestion
Peptide-Level
Enrichment
(optional)
time
LC-SRM Detection
NAT:SIL
[Protein] ≈ [PeptideNAT] = [PeptideSIL]
ISIL
INAT
Internal Calibration
Pitfalls:
Assume digestion is stoichiometrically complete (peptide and concatamers)
  Results vary by digestion/denaturation conditions
Reproducibility between digestions/days is critical
  Internal Calibrator must be stable
Response assumed to be linear

## Slide 6
“known” amounts of Protein
1
5
10
50
?
?
?
External Calibration Samples
Unknown
Test Samples
?
1
5
10
50
External Calibration Samples
Unknown
Samples
?
?
?
?
External Calibration: Multipoint
Qualified protein calibrator added to blank matrix
“known” Protein Amount
NAT Intensity
y=(m×x)+b
1
5
10
50
4
0.8
20
100
x=(y–b)/m
“known” Protein Amount
NAT:SIL
Intensity Ratio
y=(m×x)+b
1
5
10
50
4
0.8
8
40
x=(y–b)/m
constant amount of
internal standard
Without Internal Standard
With Internal Standard

## Slide 7
“known” amounts of Protein
1
5
10
50
?
?
?
External Calibration Samples
Unknown
Test Samples
?
1
5
10
50
External Calibration Samples
Unknown
Samples
?
?
?
?
External Calibration: Multipoint
Qualified protein calibrator added to blank matrix
constant amount of
internal standard
Pitfalls:
“Blank Matrix” must be essentially identical to sample matrix (requires verification)
Qualified protein should have same structure as endogenous protein (size, conformation, PTMs, etc)
External calibrators should be processed in parallel with unknown samples (added cost/time).
External calibrators must be stable

## Slide 8
y=(m×x)+0
x=y/m
y=(m×x)+0
x=y/m
5
5
5
5
?
?
?
External Calibration Replicates
Unknown
Test Samples
?
5
5
5
5
External Calibration Samples
Unknown
Samples
?
?
?
?
External Calibration: Single-point
Qualified protein calibrator added to blank matrix
“known” Protein Amount
NAT Intensity
1
5
10
50
4
0.8
20
100
“known” Protein Amount
NAT:SIL
Intensity Ratio
1
5
10
50
4
0.8
8
40
constant amount of
internal standard
Without Internal Standard
With Internal Standard
“known” amount of Protein

## Slide 9
5
5
5
5
?
?
?
External Calibration Replicates
Unknown
Test Samples
?
5
5
5
5
External Calibration Samples
Unknown
Samples
?
?
?
?
External Calibration: Single-point
Qualified protein calibrator added to blank matrix
constant amount of
internal standard
“known” amount of Protein
Pitfalls:
“Blank Matrix” must be essentially identical to sample matrix (requires verification)
Qualified protein should have same structure as endogenous protein (size, conformation, PTMs, etc)
External calibrators should be processed in parallel with unknown samples (added cost/time).
External calibrators must be stable
Response assumed to be linear

## Slide 10: Additional Reading
Source of Analytical Variance in Proteomics
H.D. Cox et al., Clin. Chem. 2016, 60 (3), 541-548.
Peptide Degradation during Digestion
C.M. Shuford et al., Mol. Cel. Proteomics, 2012, 11 (9), 814-823.
More Peptides = More Confidence
Q. Fu et al., Clin. Chem. 2016, 62 (1), 198-207.
Single-point Calibration with Sample Pool
S.A. Agger et al., Clin. Chem. 2010, 56 (12), 1804-1813.
Analytical Verification in Translational Research
R.P. Grant and A.N. Hoofnagle, Clin. Chem. 2014, 60 (7), 941-944.