## Slide 1
Ion Mobility Spectrometry: The Good, The Bad and The Ugly
Erin S. Baker
Department of Chemistry, NC State University

## Slide 2
  Only ~16% of deaths can be attributed solely to genetics
1) Rappaport, SM “Genetic Factors Are Not the Major Causes of Chronic Diseases” PLoS One 2016.
Multi-Omic Analyses

## Slide 3
p (Drift Gas)
Ffriction
Ion
Fel
Drift Cell
E
Ion Mobility Concept
Defines how an ion drifts through a gas under the influence of an electric field
Separation based on the mass, charge, size & shape
Variables in diverse IMS methods
  Electric field
  Pressure
  Gas composition
  Gas flow
  Temperature

## Slide 4
E
in
out
Drift Time
Pulse of 2 ions with
same m/z but different
shape
Different conformers separate
in time with peak heights representing the amount of each
velocity is constant
v = K E
K = ion mobility
Drift Cell
Ion Mobility Concept

## Slide 5
Slide courtesy of Professor Kevin Pagel and Waters
Area related to the size and shape of an ion
Robust physicochemical property
Can easily be compared between labs
Varies depending on drift gas
Ion-Neutral Collision Cross Section

## Slide 6
LC (minutes)
IMS (~60 ms)
MS (~100 µs)
IMS
MS
Elution Time
Drift Time
m/z
0
10
20
30
40
50
60
Elution Time (minutes)
Intensity
20
30
40
50
60
Drift Time (ms)
20
30
40
50
60
Drift Time (ms)
20
30
40
50
60
Drift Time (ms)
1100
100
m/z
1100
100
m/z
1100
100
m/z
Multi-dimensional Analyses

## Slide 7
  1. IMS is fast (ms time scale) and easily coupled with front-end separations & MS
The Good: How Can IMS Help Multi-Omic Studies?
  2. Allows evaluation of structural biomarker presence
  3. Multi-dimensional analyses (such as LC-IMS-MS) provide more confident identifications
  4. CCS values reduce potential molecular candidates in untargeted studies
  5. Heavy labeled molecules have the same drift time as their endogenous versions,
  allowing pair analysis for absolute quantitation

## Slide 8
  The Bad: LC-IMS-(CID)-MS data is large in complexity and file size
The Bad & The Ugly: Analyzing LC-IMS-(CID)-MS Data
  The Ugly: Manual assignment is extremely time consuming, can only be done for a few targets and limits our ability to understand IMS benefits
  Need to address 2 questions:
    Does IMS aid in identifications in DIA studies?
    Can Skyline be used as a rapid analysis tool to study the effect of the IMS dimension?

## Slide 9
IMS-(CID)-MS Data Acquisition
Fragmentation takes place
after the drift cell
Collision Cell

## Slide 10
Precursor Spectrum
Fragment Spectrum
Drift Time Alignment for Precursors & Fragments

## Slide 11
 | BSA Concentration in Yeast |  |  |  |  |  |  | 
 | 100 pM | 1 nM | 5 nM | 10 nM | 50 nM | 100 nM | 500 nM | 1 µM
LC-MS |  |  |  |  |  |  |  | 
LC-IMS-MS |  |  |  |  |  |  |  | 
All ions fragmentation LC-(CID)-MS |  |  |  |  |  |  |  | 
All ions fragmentation LC-IMS-(CID)-MS |  |  |  |  |  |  |  | 
  Spiked 8 different concentrations of tryptic BSA digest (from 100 pM to 1 µM) into 0.1 µg/µL yeast digest
  Analyzed the effect of IMS on MS quantitation & all ions CID quantitation for the DIA data
LC-IMS-(CID)-MS Experiment

## Slide 12
CE of 29 V was chosen since it fragmented 2+ ions well
IMS-MS
IMS-(CID)-MS (CE=29V)
Alternating Precursor/Fragment Scans

## Slide 13
Good quantitation from 100 pM to 1 µM for all peptides when drift time filtering was used
Without drift time filtering, lower concentration peptide quantitation was not as linear
Drift Time Filtering Effect on MS Quantitation
LC-MS Quantitation
LC-IMS-MS Quantitation

## Slide 14
Drift Time Filtering Effect on MS Quantitation
LC-MS Quantitation
LC-IMS-MS Quantitation

## Slide 15
Peak Interferences Without Drift Time Filtering
LC-MS Quantitation
LC-IMS-MS Quantitation

## Slide 16
Peak Interferences Without Drift Time Filtering
LC-MS Quantitation
LC-IMS-MS Quantitation

## Slide 17
Good quantitation from 1 nM to 1 µM for 8 of 10 peptides with drift time filtering
and 10 for 10 from 10 nM to 1 µM
When drift time filtering was not used, many interferences caused bad quantitation at low concentration levels
Drift Time Filtering Effect on Fragment Quantitation
LC-(CID)-MS Quantitation
LC-IMS-(CID)-MS Quantitation

## Slide 18
Drift Time Filtering Removes Fragment Interferences
LC-(CID)-MS Quantitation
LC-IMS-(CID)-MS Quantitation

## Slide 19
Drift Time Filtering Removes Fragment Interferences
LC-(CID)-MS Quantitation
LC-IMS-(CID)-MS Quantitation

## Slide 20
Drift Time Filtering Removes Fragment Interferences
LC-(CID)-MS Quantitation
LC-IMS-(CID)-MS Quantitation

## Slide 21
  Skyline:
  Quickly analyzed the LC-IMS-(CID)-MS data
  Showed that IMS removed interfering peaks in LC-MS and fragmentation data
  Enabling further studies to better understand the effect of IMS on numerous analysis types (e.g. other omics)
Summary

## Slide 22
NC STATE
@
Basic
Import Target List
Name, m/z, charge
Import Data Files
Vendor-neutral
Analyze & Visualize
View filtered data, confirm IDs, compare peak areas and retention times
Export Report
All target list information + retention times, peak areas, mass errors, etc.
Advanced
Import Target List
Basic + formulas, adducts, CCS, RT, fragments
Import Data FIles
Basic
Normalized RT Calculator
Predict RTs based on linear or Lowess regressions
Analyze & Visualize
Basic + compare to spectral library, calculate CCS
Quantify Lipids
Generate calibration curve from SIL standards
Export Report
Basic + concentrations, normalized retention times
Skyline Lipidomics Workflow
Kaylie Kirkwood

## Slide 23
Agilent Technologies
NIH R56 AG063885
National Academies of Sciences
NCSU Startup Funds
Baker Lab Members
James Dodds
Melanie Odenkirk
Collaborators
Denis Fourches
Detlef Knappe
Allison Stewart
Karen Butler
Kaylie Kirkwood
David Muddiman
Sources of Funding
NIEHS P42 ES027704
NCSU
Stefan Thibodeaux
Novartis
Iain Campuzano
Amgen
Sonja Hess
AstraZeneca
Kristin Burnum-Johnson
Kelly Stratton
PNNL
David Reif
MaKayla Foster
Caitlin Hodges
Bobbie-Jo Webb-Robertson
Marina Gritsenko
Acknowledgements
Nancy Abdelrahman
Emory
Blaine Roberts
U Washington
Nat Brace
Brendan MacLean
Brandie Taylor
Temple
Brian Pratt
Nick Shulman
Kaipo Tamura
Texas A&M U
Ivan Rusyn
Mike MacCoss