## Slide 1
Compound A: 175.1189 -> 116.0706
Precursors
Precursor
We expect: 175.1189 precursors ions intensity higher in MS1 vs MS/MS spectra -> not the case, flipped around
116.0706 products ions intensity higher in MS/MS vs MS1 spectra -> not the case, flipped around
Product
Product

## Slide 2
fake_molecule: 116.0706 -> 175.1189
Precursor
We expect if Low CE/High CE are inverted : 116.0706 precursors ions intensity higher in MS1 vs MS/MS spectra -> correct
175.1189 products ions intensity higher in MS/MS vs MS1 spectra -> correct
Product
Product
Precursor

## Slide 3
From Bruker Compass DataAnalysis
From Skyline
Odd Scan Number = Low CE
Even Scan Number = High CE
Product
Precursor
Precursor
Product
Precursor
Product

## Slide 4
Scan 1213, supposedly Low CE
Scan 1214 , supposedly High CE
Product 116.0706
From Proteowizard SeeMS
Precursors 175.1189