## Slide 1: Deleting peptides with low ratio dot products
Nicholas Shulman
20190624

## Slide 2: Create a report with “Peptide” and “DotProductLightToHeavy”

## Slide 3: Use the Pivot Editor to find the max and min dot product for each peptide

## Slide 4: Sort the “Max DotProductLightToHeavy” column

## Slide 5: Select the rows with the peptides you want to delete and use the Actions dropdown.