## Sheet1
1) Selecting the first Spectrum in the drop down (ending with "heavy") works, but selecting any other spectrum ending with "(XX.XX min) does not work, the library was exported from the same data
2) | Explanation: 5 most intense fragments were extracted (y3 to last and b3 to last ion) and a library from this data was built and imported resulting in target list and doc grid dotp=1
The library match dotp is not correct presumably because it might include y1, y2,b1,b2 in the calculation
When setting a Prosit Library at NCE=30 the target list and doc grid dotp for the selected Precursor is 0.93 and it seems to only match fragments from the target list
Since the library match compares 2 Libraries seemingly independent on target list it might be very important to clearly differentiate excluded and not detected fragments, since self-built libraries often exclude some fragments, rendering the library match dotp false.
Is it possible to take over restrictions from the settings which fragment ions should be included/excluded in library match dotp calculation? This way one could simulate which fragments were excluded when building the library which is compared to Prosit Mirror.