At 7:50 AM:

Failed importing results file 'T:\ClientData\2020\_Clients\FosterB\FosterB\200812\Lumos\_ETD\Data\WorkingMethodMixedstandards\NewMethod\_dilutionseries\SureQuantRetinoid\_Heavy+Light\_Lumos\_IC\_NewMetNewSample-dilute1000x.raw'.

error reading spectrum controllerType=0 controllerNumber=1 scan=20342

pwiz.Skyline.Model.Results.ChromCacheBuildException: Failed importing results file 'T:\ClientData\2020\_Clients\FosterB\FosterB\200812\Lumos\_ETD\Data\WorkingMethodMixedstandards\NewMethod\_dilutionseries\SureQuantRetinoid\_Heavy+Light\_Lumos\_IC\_NewMetNewSample-dilute1000x.raw'.

error reading spectrum controllerType=0 controllerNumber=1 scan=20342 ---> System.Reflection.TargetInvocationException: error reading spectrum controllerType=0 controllerNumber=1 scan=20342 ---> System.Exception: error reading spectrum controllerType=0 controllerNumber=1 scan=20342 ---> System.Exception: [SpectrumList\_Thermo::spectrum()] Error retrieving spectrum "controllerType=0 controllerNumber=1 scan=20342": [RawFileThreadImpl::getMassList()] failed to centroid scan

 at pwiz.CLI.msdata.SpectrumList.spectrum(Int32 index, DetailLevel detailLevel)

 at pwiz.ProteowizardWrapper.MsDataFileImpl.GetCachedSpectrum(Int32 scanIndex, DetailLevel detailLevel) in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Shared\ProteowizardWrapper\MsDataFileImpl.cs:line 1120

 at pwiz.ProteowizardWrapper.MsDataFileImpl.GetSpectrum(Int32 spectrumIndex) in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Shared\ProteowizardWrapper\MsDataFileImpl.cs:line 858

 at pwiz.Skyline.Model.Results.SpectraChromDataProvider.Spectra.ReadSpectrum(Int32& i) in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Skyline\Model\Results\SpectraChromDataProvider.cs:line 1077

 --- End of inner exception stack trace ---

 at pwiz.Skyline.Model.Results.SpectraChromDataProvider.Spectra.ReadSpectrum(Int32& i) in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Skyline\Model\Results\SpectraChromDataProvider.cs:line 1128

 at pwiz.Skyline.Model.Results.SpectraChromDataProvider.Spectra.Read() in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Skyline\Model\Results\SpectraChromDataProvider.cs:line 955

 at pwiz.Skyline.Model.Results.SpectraChromDataProvider.Spectra.<RunAsync>b\_\_33\_0() in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Skyline\Model\Results\SpectraChromDataProvider.cs:line 812

 --- End of inner exception stack trace ---

 at pwiz.Skyline.Util.Helpers.WrapAndThrowException(Exception x) in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Skyline\Util\Util.cs:line 1944

 at pwiz.Skyline.Model.Results.SpectraChromDataProvider.Spectra.NextSpectrum() in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Skyline\Model\Results\SpectraChromDataProvider.cs:line 918

 at pwiz.Skyline.Model.Results.SpectraChromDataProvider.ExtractChromatogramsLocked() in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Skyline\Model\Results\SpectraChromDataProvider.cs:line 259

 at pwiz.Skyline.Model.Results.SpectraChromDataProvider.ExtractChromatograms() in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Skyline\Model\Results\SpectraChromDataProvider.cs:line 239

 at pwiz.Skyline.Model.Results.SpectraChromDataProvider.SetRequestOrder(IList`1 chromatogramRequestOrder) in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Skyline\Model\Results\SpectraChromDataProvider.cs:line 594

 at pwiz.Skyline.Model.Results.ChromCacheBuilder.Read(ChromDataProvider provider) in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Skyline\Model\Results\ChromCacheBuilder.cs:line 384

 at pwiz.Skyline.Model.Results.ChromCacheBuilder.BuildCache() in C:\proj\skyline\_20\_2\_x64\pwiz\_tools\Skyline\Model\Results\ChromCacheBuilder.cs:line 252

 --- End of inner exception stack trace ---