## Slide 1
Real peak
WT
KO
Notes: The analyses of WT and KO for this particular protein picks up a wrong peak. Although according to the spectral library the real peak is at 45.3 min. the KO doesn’t have the protein and we don’t identify also. But Skyline assigns the wrong peak.
What could be the solution?