                           Method of Q Exactive HF-X

OVERALL METHOD SETTINGS

Global Settings

Use lock masses                                                         best 

Lock mass injection                                                        ― 

Chrom. peak width (FWHM)                                                  18 s

Time

Method duration                                                        56.00 min

Customized Tolerances (+/-)

Lock Masses                                                                ― 

Inclusion                                                                  ― 

Exclusion                                                                  ― 

Neutral Loss                                                               ― 

Mass Tags                                                                  ― 

Dynamic Exclusion                                                          ― 

                                  Experiments

FULL MS — SIM

General

Runtime                                                              0 to 56 min

Polarity                                                            positive 

In-source CID                                                            0.0 eV

Full MS — SIM

Microscans                                                                 1 

Resolution                                                            60,000 

AGC target                                                               3e6 

Maximum IT                                                                80 ms

Number of scan ranges                                                      1 

Scan range                                                       580 to 1280 m/z

Spectrum data type                                                   Profile 

DIA

General

Runtime                                                              0 to 56 min

Polarity                                                            positive 

In-source CID                                                            0.0 eV

Default charge state                                                       2 

DIA

Microscans                                                                 1 

Resolution                                                            15,000 

AGC target                                                               5e5 

Maximum IT                                                                45 ms

Loop count                                                                28 

MSX count                                                                  4 

MSX isochronous ITs                                                       on 

Isolation window                                                         6.0 m/z

Isolation offset                                                         0.0 m/z

Fixed first mass                                                           ― 

(N)CE / stepped (N)CE                                            nce: 20, 30 

Spectrum data type                                                   Profile 

                                     Setup

TUNEFILES

General

Switch Count  0

Base Tunefile C:\Xcalibur\methods\NSI_tune_20191101.mstune

CONTACT CLOSURE

General

Used            False 

Start in Closed  True 

Switch Count        0 

SYRINGE

General

Used                  False 

Start in OFF           True 

Stop at end of run    False 

Switch Count              0 

Pump setup

Syringe type       Hamilton 

Flow rate             3.000 µL/min

Inner diameter        2.303 mm

Volume                  250 µL

DIVERT VALVE A

General

Used         False 

Start in 1-2  True 

Switch Count     0 

DIVERT VALVE B

General

Used         False 

Start in 1-2  True 

Switch Count     0 

LOCK MASSES

   (no entries)

INCLUSION LIST

    4900 entries

      Mass Formula Species  CS Polarity Start   End (N)CE MSX ID Comment

     [m/z]     [M]         [z]          [min] [min]              

 873.14677                     Positive                          

1153.27410                     Positive                          

1118.25818                     Positive                          

 973.19224                     Positive                          

 703.06946                     Positive                          

1143.26955                     Positive                          

 643.04218                     Positive                          

1228.30821                     Positive                          

1148.27183                     Positive                          

 888.15359                     Positive                          

1108.25364                     Positive                          

 618.03081                     Positive                          

1063.23317                     Positive                          

1043.22408                     Positive                          

1203.29684                     Positive                          

 668.05355                     Positive                          

1253.31957                     Positive                          

 983.19679                     Positive                          

 778.10357                     Positive                          

 748.08993                     Positive                          

1088.24454                     Positive                          

 868.14450                     Positive                          

1163.27865                     Positive                          

1263.32412                     Positive                          

1123.26046                     Positive                          

 678.05809                     Positive                          

 623.03308                     Positive                          

 858.13995                     Positive                          

1168.28092                     Positive                          

1248.31730                     Positive                          

 863.14222                     Positive                          

1133.26500                     Positive                          

 818.12176                     Positive                          

 638.03990                     Positive                          

 628.03536                     Positive                          

 958.18542                     Positive                          

 928.17178                     Positive                          

 713.07401                     Positive                          

1078.23999                     Positive                          

 978.19452                     Positive                          

 953.18315                     Positive                          

 898.15814                     Positive                          

 808.11721                     Positive                          

 633.03763                     Positive                          

 683.06037                     Positive                          

 583.01489                     Positive                          

 738.08538                     Positive                          

 773.10129                     Positive                          

1003.20589                     Positive                          

 838.13085                     Positive                          

 843.13313                     Positive                          

 933.17405                     Positive                          

 603.02399                     Positive                          

 593.01944                     Positive                          

1238.31275                     Positive                          

1083.24227                     Positive                          

1048.22635                     Positive                          

 653.04672                     Positive                          

1178.28547                     Positive                          

 968.18997                     Positive                          

 733.08310                     Positive                          

 658.04900                     Positive                          

1268.32640                     Positive                          

1138.26728                     Positive                          

 833.12858                     Positive                          

 708.07174                     Positive                          

1278.33094                     Positive                          

 648.04445                     Positive                          

1038.22180                     Positive                          

1098.24909                     Positive                          

1243.31503                     Positive                          

 993.20134                     Positive                          

 718.07628                     Positive                          

1258.32185                     Positive                          

 918.16723                     Positive                          

1033.21953                     Positive                          

1023.21498                     Positive                          

1008.20816                     Positive                          

 988.19907                     Positive                          

 938.17633                     Positive                          

1018.21271                     Positive                          

 828.12631                     Positive                          

1208.29911                     Positive                          

 893.15586                     Positive                          

1158.27637                     Positive                          

1093.24681                     Positive                          

 663.05127                     Positive                          

1058.23090                     Positive                          

1013.21043                     Positive                          

 923.16951                     Positive                          

1223.30593                     Positive                          

1193.29229                     Positive                          

 588.01717                     Positive                          

1233.31048                     Positive                          

1188.29002                     Positive                          

 743.08765                     Positive                          

 613.02853                     Positive                          

 998.20361                     Positive                          

 673.05582                     Positive                          

 903.16041                     Positive                          

 878.14904                     Positive                          

 943.17860                     Positive                          

1183.28774                     Positive                          

 823.12403                     Positive                          

 698.06719                     Positive                          

 848.13540                     Positive                          

 798.11266                     Positive                          

 753.09220                     Positive                          

 788.10812                     Positive                          

 693.06491                     Positive                          

1028.21726                     Positive                          

1113.25591                     Positive                          

 963.18770                     Positive                          

 908.16269                     Positive                          

1103.25136                     Positive                          

 688.06264                     Positive                          

1068.23545                     Positive                          

 948.18088                     Positive                          

1073.23772                     Positive                          

 853.13767                     Positive                          

 768.09902                     Positive                          

1173.28319                     Positive                          

1273.32867                     Positive                          

 913.16496                     Positive                          

 793.11039                     Positive                          

 608.02626                     Positive                          

1053.22862                     Positive                          

 803.11494                     Positive                          

 813.11948                     Positive                          

1128.26273                     Positive                          

1218.30366                     Positive                          

 723.07856                     Positive                          

1198.29456                     Positive                          

 758.09447                     Positive                          

 783.10584                     Positive                          

 728.08083                     Positive                          

 763.09675                     Positive                          

 598.02171                     Positive                          

1213.30138                     Positive                          

 883.15132                     Positive                          

1058.23090                     Positive                          

1203.29684                     Positive                          

1233.31048                     Positive                          

 993.20134                     Positive                          

 603.02399                     Positive                          

 668.05355                     Positive                          

 778.10357                     Positive                          

 808.11721                     Positive                          

1258.32185                     Positive                          

 583.01489                     Positive                          

 658.04900                     Positive                          

1038.22180                     Positive                          

 633.03763                     Positive                          

 923.16951                     Positive                          

1098.24909                     Positive                          

1268.32640                     Positive                          

1138.26728                     Positive                          

 898.15814                     Positive                          

 978.19452                     Positive                          

1163.27865                     Positive                          

1263.32412                     Positive                          

1048.22635                     Positive                          

1228.30821                     Positive                          

1093.24681                     Positive                          

1278.33094                     Positive                          

1088.24454                     Positive                          

 983.19679                     Positive                          

 888.15359                     Positive                          

 793.11039                     Positive                          

 973.19224                     Positive                          

 828.12631                     Positive                          

 623.03308                     Positive                          

1218.30366                     Positive                          

 698.06719                     Positive                          

 968.18997                     Positive                          

1068.23545                     Positive                          

1033.21953                     Positive                          

 943.17860                     Positive                          

 798.11266                     Positive                          

 733.08310                     Positive                          

1168.28092                     Positive                          

1158.27637                     Positive                          

1143.26955                     Positive                          

 903.16041                     Positive                          

 748.08993                     Positive                          

1208.29911                     Positive                          

1183.28774                     Positive                          

 588.01717                     Positive                          

1148.27183                     Positive                          

 758.09447                     Positive                          

 878.14904                     Positive                          

 873.14677                     Positive                          

 613.02853                     Positive                          

1018.21271                     Positive                          

 913.16496                     Positive                          

 638.03990                     Positive                          

1043.22408                     Positive                          

 883.15132                     Positive                          

 773.10129                     Positive                          

1133.26500                     Positive                          

 783.10584                     Positive                          

 938.17633                     Positive                          

1188.29002                     Positive                          

1108.25364                     Positive                          

 843.13313                     Positive                          

 928.17178                     Positive                          

 988.19907                     Positive                          

 598.02171                     Positive                          

 708.07174                     Positive                          

 643.04218                     Positive                          

 713.07401                     Positive                          

1008.20816                     Positive                          

1243.31503                     Positive                          

 998.20361                     Positive                          

 683.06037                     Positive                          

 678.05809                     Positive                          

 833.12858                     Positive                          

 838.13085                     Positive                          

 673.05582                     Positive                          

 693.06491                     Positive                          

1238.31275                     Positive                          

 858.13995                     Positive                          

1248.31730                     Positive                          

1023.21498                     Positive                          

 703.06946                     Positive                          

1253.31957                     Positive                          

 868.14450                     Positive                          

1173.28319                     Positive                          

1063.23317                     Positive                          

 818.12176                     Positive                          

1178.28547                     Positive                          

 663.05127                     Positive                          

 908.16269                     Positive                          

 718.07628                     Positive                          

1083.24227                     Positive                          

 768.09902                     Positive                          

 738.08538                     Positive                          

1193.29229                     Positive                          

1273.32867                     Positive                          

1213.30138                     Positive                          

1053.22862                     Positive                          

1223.30593                     Positive                          

 863.14222                     Positive                          

 853.13767                     Positive                          

 788.10812                     Positive                          

1003.20589                     Positive                          

 743.08765                     Positive                          

 893.15586                     Positive                          

 723.07856                     Positive                          

1103.25136                     Positive                          

 953.18315                     Positive                          

1118.25818                     Positive                          

 823.12403                     Positive                          

 813.11948                     Positive                          

1028.21726                     Positive                          

 948.18088                     Positive                          

 753.09220                     Positive                          

 593.01944                     Positive                          

 608.02626                     Positive                          

 963.18770                     Positive                          

 618.03081                     Positive                          

 848.13540                     Positive                          

1078.23999                     Positive                          

 653.04672                     Positive                          

 803.11494                     Positive                          

1128.26273                     Positive                          

1073.23772                     Positive                          

1013.21043                     Positive                          

1153.27410                     Positive                          

 763.09675                     Positive                          

1198.29456                     Positive                          

 958.18542                     Positive                          

 628.03536                     Positive                          

 688.06264                     Positive                          

 728.08083                     Positive                          

1113.25591                     Positive                          

 918.16723                     Positive                          

1123.26046                     Positive                          

 933.17405                     Positive                          

 648.04445                     Positive                          

 778.10357                     Positive                          

 863.14222                     Positive                          

 948.18088                     Positive                          

 678.05809                     Positive                          

1243.31503                     Positive                          

1138.26728                     Positive                          

 728.08083                     Positive                          

1003.20589                     Positive                          

 668.05355                     Positive                          

 913.16496                     Positive                          

 963.18770                     Positive                          

1148.27183                     Positive                          

 743.08765                     Positive                          

1253.31957                     Positive                          

1218.30366                     Positive                          

1013.21043                     Positive                          

 708.07174                     Positive                          

 698.06719                     Positive                          

 588.01717                     Positive                          

1178.28547                     Positive                          

 773.10129                     Positive                          

 713.07401                     Positive                          

 988.19907                     Positive                          

 688.06264                     Positive                          

 808.11721                     Positive                          

1118.25818                     Positive                          

1238.31275                     Positive                          

 733.08310                     Positive                          

 993.20134                     Positive                          

 918.16723                     Positive                          

1263.32412                     Positive                          

 638.03990                     Positive                          

 933.17405                     Positive                          

 958.18542                     Positive                          

 598.02171                     Positive                          

1183.28774                     Positive                          

1143.26955                     Positive                          

 973.19224                     Positive                          

1018.21271                     Positive                          

 883.15132                     Positive                          

1208.29911                     Positive                          

 618.03081                     Positive                          

 683.06037                     Positive                          

 923.16951                     Positive                          

1058.23090                     Positive                          

 953.18315                     Positive                          

1083.24227                     Positive                          

1113.25591                     Positive                          

 878.14904                     Positive                          

 763.09675                     Positive                          

1228.30821                     Positive                          

1128.26273                     Positive                          

1233.31048                     Positive                          

1028.21726                     Positive                          

1223.30593                     Positive                          

 793.11039                     Positive                          

 903.16041                     Positive                          

1248.31730                     Positive                          

 788.10812                     Positive                          

 753.09220                     Positive                          

 593.01944                     Positive                          

 938.17633                     Positive                          

 838.13085                     Positive                          

1258.32185                     Positive                          

 888.15359                     Positive                          

 828.12631                     Positive                          

1273.32867                     Positive                          

 798.11266                     Positive                          

 893.15586                     Positive                          

 623.03308                     Positive                          

 608.02626                     Positive                          

 613.02853                     Positive                          

1103.25136                     Positive                          

 648.04445                     Positive                          

 633.03763                     Positive                          

 813.11948                     Positive                          

 758.09447                     Positive                          

 898.15814                     Positive                          

1008.20816                     Positive                          

1133.26500                     Positive                          

1073.23772                     Positive                          

1108.25364                     Positive                          

 978.19452                     Positive                          

 693.06491                     Positive                          

1193.29229                     Positive                          

1163.27865                     Positive                          

1173.28319                     Positive                          

1278.33094                     Positive                          

 833.12858                     Positive                          

 868.14450                     Positive                          

 928.17178                     Positive                          

 768.09902                     Positive                          

1198.29456                     Positive                          

1188.29002                     Positive                          

1088.24454                     Positive                          

1098.24909                     Positive                          

 663.05127                     Positive                          

1033.21953                     Positive                          

 653.04672                     Positive                          

 583.01489                     Positive                          

1063.23317                     Positive                          

 703.06946                     Positive                          

 858.13995                     Positive                          

 803.11494                     Positive                          

1123.26046                     Positive                          

 628.03536                     Positive                          

 783.10584                     Positive                          

 848.13540                     Positive                          

1203.29684                     Positive                          

1268.32640                     Positive                          

1053.22862                     Positive                          

 723.07856                     Positive                          

 718.07628                     Positive                          

 748.08993                     Positive                          

 998.20361                     Positive                          

1048.22635                     Positive                          

 818.12176                     Positive                          

1043.22408                     Positive                          

 908.16269                     Positive                          

 983.19679                     Positive                          

 643.04218                     Positive                          

1158.27637                     Positive                          

1068.23545                     Positive                          

 673.05582                     Positive                          

1153.27410                     Positive                          

 603.02399                     Positive                          

1038.22180                     Positive                          

 823.12403                     Positive                          

 968.18997                     Positive                          

1023.21498                     Positive                          

 658.04900                     Positive                          

1213.30138                     Positive                          

1168.28092                     Positive                          

 843.13313                     Positive                          

 738.08538                     Positive                          

 873.14677                     Positive                          

 943.17860                     Positive                          

 853.13767                     Positive                          

1093.24681                     Positive                          

1078.23999                     Positive                          

 738.08538                     Positive                          

 803.11494                     Positive                          

 778.10357                     Positive                          

 618.03081                     Positive                          

 773.10129                     Positive                          

1053.22862                     Positive                          

1248.31730                     Positive                          

 633.03763                     Positive                          

 983.19679                     Positive                          

 938.17633                     Positive                          

1048.22635                     Positive                          

 958.18542                     Positive                          

1013.21043                     Positive                          

 758.09447                     Positive                          

 593.01944                     Positive                          

1093.24681                     Positive                          

1058.23090                     Positive                          

 653.04672                     Positive                          

 623.03308                     Positive                          

 883.15132                     Positive                          

 838.13085                     Positive                          

1038.22180                     Positive                          

 953.18315                     Positive                          

1213.30138                     Positive                          

 843.13313                     Positive                          

 698.06719                     Positive                          

 663.05127                     Positive                          

1208.29911                     Positive                          

 678.05809                     Positive                          

1103.25136                     Positive                          

 693.06491                     Positive                          

1198.29456                     Positive                          

1278.33094                     Positive                          

 928.17178                     Positive                          

1228.30821                     Positive                          

 718.07628                     Positive                          

1258.32185                     Positive                          

 993.20134                     Positive                          

 898.15814                     Positive                          

 723.07856                     Positive                          

 728.08083                     Positive                          

1218.30366                     Positive                          

1083.24227                     Positive                          

1073.23772                     Positive                          

1043.22408                     Positive                          

1118.25818                     Positive                          

 763.09675                     Positive                          

1173.28319                     Positive                          

 863.14222                     Positive                          

 613.02853                     Positive                          

 888.15359                     Positive                          

1243.31503                     Positive                          

 748.08993                     Positive                          

 598.02171                     Positive                          

 813.11948                     Positive                          

 943.17860                     Positive                          

 833.12858                     Positive                          

 688.06264                     Positive                          

 998.20361                     Positive                          

 848.13540                     Positive                          

 783.10584                     Positive                          

 918.16723                     Positive                          

1193.29229                     Positive                          

 643.04218                     Positive                          

1178.28547                     Positive                          

1078.23999                     Positive                          

1068.23545                     Positive                          

1148.27183                     Positive                          

 628.03536                     Positive                          

1238.31275                     Positive                          

 753.09220                     Positive                          

1263.32412                     Positive                          

1123.26046                     Positive                          

 733.08310                     Positive                          

1233.31048                     Positive                          

 968.18997                     Positive                          

 948.18088                     Positive                          

1108.25364                     Positive                          

1128.26273                     Positive                          

 638.03990                     Positive                          

1188.29002                     Positive                          

1113.25591                     Positive                          

 668.05355                     Positive                          

1268.32640                     Positive                          

 858.13995                     Positive                          

 818.12176                     Positive                          

1133.26500                     Positive                          

 793.11039                     Positive                          

 768.09902                     Positive                          

 878.14904                     Positive                          

1153.27410                     Positive                          

1003.20589                     Positive                          

 703.06946                     Positive                          

1028.21726                     Positive                          

 908.16269                     Positive                          

1183.28774                     Positive                          

 823.12403                     Positive                          

 963.18770                     Positive                          

 893.15586                     Positive                          

 708.07174                     Positive                          

 788.10812                     Positive                          

1098.24909                     Positive                          

1143.26955                     Positive                          

 588.01717                     Positive                          

 648.04445                     Positive                          

 988.19907                     Positive                          

 868.14450                     Positive                          

 673.05582                     Positive                          

 903.16041                     Positive                          

1138.26728                     Positive                          

 873.14677                     Positive                          

1223.30593                     Positive                          

1008.20816                     Positive                          

1168.28092                     Positive                          

 973.19224                     Positive                          

1253.31957                     Positive                          

 828.12631                     Positive                          

 603.02399                     Positive                          

 978.19452                     Positive                          

 583.01489                     Positive                          

1163.27865                     Positive                          

 798.11266                     Positive                          

 683.06037                     Positive                          

1063.23317                     Positive                          

1203.29684                     Positive                          

1158.27637                     Positive                          

 923.16951                     Positive                          

 658.04900                     Positive                          

 913.16496                     Positive                          

 743.08765                     Positive                          

1023.21498                     Positive                          

 933.17405                     Positive                          

1273.32867                     Positive                          

 808.11721                     Positive                          

1033.21953                     Positive                          

 853.13767                     Positive                          

 713.07401                     Positive                          

 608.02626                     Positive                          

1088.24454                     Positive                          

1018.21271                     Positive                          

 653.04672                     Positive                          

 858.13995                     Positive                          

1188.29002                     Positive                          

 673.05582                     Positive                          

1048.22635                     Positive                          

 703.06946                     Positive                          

 823.12403                     Positive                          

1213.30138                     Positive                          

1063.23317                     Positive                          

 938.17633                     Positive                          

1128.26273                     Positive                          

1253.31957                     Positive                          

1123.26046                     Positive                          

 943.17860                     Positive                          

 588.01717                     Positive                          

 888.15359                     Positive                          

 593.01944                     Positive                          

 773.10129                     Positive                          

 678.05809                     Positive                          

1098.24909                     Positive                          

1138.26728                     Positive                          

 808.11721                     Positive                          

1183.28774                     Positive                          

 793.11039                     Positive                          

 953.18315                     Positive                          

1153.27410                     Positive                          

1158.27637                     Positive                          

1233.31048                     Positive                          

1058.23090                     Positive                          

1218.30366                     Positive                          

 803.11494                     Positive                          

1268.32640                     Positive                          

 963.18770                     Positive                          

1023.21498                     Positive                          

 978.19452                     Positive                          

1168.28092                     Positive                          

 833.12858                     Positive                          

1163.27865                     Positive                          

 908.16269                     Positive                          

 913.16496                     Positive                          

 633.03763                     Positive                          

1018.21271                     Positive                          

 668.05355                     Positive                          

 718.07628                     Positive                          

 838.13085                     Positive                          

1143.26955                     Positive                          

 848.13540                     Positive                          

 743.08765                     Positive                          

 873.14677                     Positive                          

 863.14222                     Positive                          

1038.22180                     Positive                          

 768.09902                     Positive                          

 993.20134                     Positive                          

1238.31275                     Positive                          

 843.13313                     Positive                          

1223.30593                     Positive                          

1118.25818                     Positive                          

 698.06719                     Positive                          

1243.31503                     Positive                          

1273.32867                     Positive                          

1003.20589                     Positive                          

 973.19224                     Positive                          

1078.23999                     Positive                          

 988.19907                     Positive                          

1013.21043                     Positive                          

1263.32412                     Positive                          

 778.10357                     Positive                          

 733.08310                     Positive                          

 658.04900                     Positive                          

1173.28319                     Positive                          

 613.02853                     Positive                          

1068.23545                     Positive                          

1093.24681                     Positive                          

 688.06264                     Positive                          

 763.09675                     Positive                          

 708.07174                     Positive                          

 603.02399                     Positive                          

 693.06491                     Positive                          

 998.20361                     Positive                          

1248.31730                     Positive                          

 818.12176                     Positive                          

1103.25136                     Positive                          

 903.16041                     Positive                          

 923.16951                     Positive                          

 928.17178                     Positive                          

1258.32185                     Positive                          

 933.17405                     Positive                          

 788.10812                     Positive                          

 868.14450                     Positive                          

 758.09447                     Positive                          

 663.05127                     Positive                          

 723.07856                     Positive                          

 728.08083                     Positive                          

1133.26500                     Positive                          

 648.04445                     Positive                          

1028.21726                     Positive                          

 948.18088                     Positive                          

1208.29911                     Positive                          

 628.03536                     Positive                          

 883.15132                     Positive                          

 753.09220                     Positive                          

 813.11948                     Positive                          

 618.03081                     Positive                          

1073.23772                     Positive                          

 918.16723                     Positive                          

 898.15814                     Positive                          

 968.18997                     Positive                          

 798.11266                     Positive                          

 598.02171                     Positive                          

 853.13767                     Positive                          

1203.29684                     Positive                          

 893.15586                     Positive                          

1083.24227                     Positive                          

 583.01489                     Positive                          

 748.08993                     Positive                          

1198.29456                     Positive                          

1008.20816                     Positive                          

 783.10584                     Positive                          

1088.24454                     Positive                          

 623.03308                     Positive                          

1193.29229                     Positive                          

 638.03990                     Positive                          

 983.19679                     Positive                          

1148.27183                     Positive                          

1228.30821                     Positive                          

1113.25591                     Positive                          

 713.07401                     Positive                          

1178.28547                     Positive                          

 643.04218                     Positive                          

 958.18542                     Positive                          

1053.22862                     Positive                          

 738.08538                     Positive                          

 878.14904                     Positive                          

 683.06037                     Positive                          

1278.33094                     Positive                          

1033.21953                     Positive                          

1043.22408                     Positive                          

1108.25364                     Positive                          

 828.12631                     Positive                          

 608.02626                     Positive                          

1188.29002                     Positive                          

 678.05809                     Positive                          

 763.09675                     Positive                          

1058.23090                     Positive                          

 688.06264                     Positive                          

1063.23317                     Positive                          

1238.31275                     Positive                          

1243.31503                     Positive                          

 893.15586                     Positive                          

 863.14222                     Positive                          

1163.27865                     Positive                          

 843.13313                     Positive                          

1038.22180                     Positive                          

1193.29229                     Positive                          

 968.18997                     Positive                          

 903.16041                     Positive                          

1003.20589                     Positive                          

 663.05127                     Positive                          

 938.17633                     Positive                          

1103.25136                     Positive                          

 653.04672                     Positive                          

 868.14450                     Positive                          

 608.02626                     Positive                          

1083.24227                     Positive                          

 788.10812                     Positive                          

 948.18088                     Positive                          

 818.12176                     Positive                          

 873.14677                     Positive                          

 603.02399                     Positive                          

1078.23999                     Positive                          

1118.25818                     Positive                          

 883.15132                     Positive                          

1198.29456                     Positive                          

1043.22408                     Positive                          

 923.16951                     Positive                          

 713.07401                     Positive                          

1013.21043                     Positive                          

1008.20816                     Positive                          

1053.22862                     Positive                          

 838.13085                     Positive                          

1023.21498                     Positive                          

 958.18542                     Positive                          

1028.21726                     Positive                          

1148.27183                     Positive                          

1258.32185                     Positive                          

 793.11039                     Positive                          

 913.16496                     Positive                          

1073.23772                     Positive                          

1223.30593                     Positive                          

 593.01944                     Positive                          

1203.29684                     Positive                          

 983.19679                     Positive                          

 718.07628                     Positive                          

 973.19224                     Positive                          

 673.05582                     Positive                          

 598.02171                     Positive                          

 878.14904                     Positive                          

1093.24681                     Positive                          

1173.28319                     Positive                          

 778.10357                     Positive                          

 773.10129                     Positive                          

1213.30138                     Positive                          

 698.06719                     Positive                          

 693.06491                     Positive                          

1218.30366                     Positive                          

 643.04218                     Positive                          

 658.04900                     Positive                          

 828.12631                     Positive                          

 808.11721                     Positive                          

1133.26500                     Positive                          

 628.03536                     Positive                          

1018.21271                     Positive                          

1178.28547                     Positive                          

 853.13767                     Positive                          

1268.32640                     Positive                          

1253.31957                     Positive                          

1168.28092                     Positive                          

 633.03763                     Positive                          

 638.03990                     Positive                          

1278.33094                     Positive                          

 848.13540                     Positive                          

 723.07856                     Positive                          

 733.08310                     Positive                          

 933.17405                     Positive                          

 813.11948                     Positive                          

 768.09902                     Positive                          

 783.10584                     Positive                          

1263.32412                     Positive                          

1273.32867                     Positive                          

 908.16269                     Positive                          

1248.31730                     Positive                          

 648.04445                     Positive                          

1033.21953                     Positive                          

 953.18315                     Positive                          

1208.29911                     Positive                          

1128.26273                     Positive                          

 858.13995                     Positive                          

 743.08765                     Positive                          

1138.26728                     Positive                          

 823.12403                     Positive                          

 758.09447                     Positive                          

1098.24909                     Positive                          

 668.05355                     Positive                          

 888.15359                     Positive                          

 748.08993                     Positive                          

 738.08538                     Positive                          

 978.19452                     Positive                          

1113.25591                     Positive                          

 918.16723                     Positive                          

 963.18770                     Positive                          

 728.08083                     Positive                          

1153.27410                     Positive                          

1068.23545                     Positive                          

 798.11266                     Positive                          

 588.01717                     Positive                          

 833.12858                     Positive                          

 618.03081                     Positive                          

 708.07174                     Positive                          

1123.26046                     Positive                          

 998.20361                     Positive                          

 898.15814                     Positive                          

1158.27637                     Positive                          

 803.11494                     Positive                          

 988.19907                     Positive                          

1228.30821                     Positive                          

 623.03308                     Positive                          

1233.31048                     Positive                          

 583.01489                     Positive                          

 613.02853                     Positive                          

1143.26955                     Positive                          

 993.20134                     Positive                          

1108.25364                     Positive                          

1048.22635                     Positive                          

 753.09220                     Positive                          

1183.28774                     Positive                          

 928.17178                     Positive                          

 683.06037                     Positive                          

1088.24454                     Positive                          

 703.06946                     Positive                          

 943.17860                     Positive                          

1243.31503                     Positive                          

1143.26955                     Positive                          

 958.18542                     Positive                          

 813.11948                     Positive                          

 838.13085                     Positive                          

1068.23545                     Positive                          

1138.26728                     Positive                          

1263.32412                     Positive                          

 678.05809                     Positive                          

1048.22635                     Positive                          

 788.10812                     Positive                          

1078.23999                     Positive                          

 608.02626                     Positive                          

1278.33094                     Positive                          

1208.29911                     Positive                          

 933.17405                     Positive                          

 823.12403                     Positive                          

 613.02853                     Positive                          

 783.10584                     Positive                          

1158.27637                     Positive                          

 908.16269                     Positive                          

 658.04900                     Positive                          

 843.13313                     Positive                          

 763.09675                     Positive                          

 643.04218                     Positive                          

 583.01489                     Positive                          

1063.23317                     Positive                          

 993.20134                     Positive                          

1023.21498                     Positive                          

1123.26046                     Positive                          

 758.09447                     Positive                          

 923.16951                     Positive                          

1253.31957                     Positive                          

 653.04672                     Positive                          

 793.11039                     Positive                          

 588.01717                     Positive                          

1193.29229                     Positive                          

 948.18088                     Positive                          

1218.30366                     Positive                          

 833.12858                     Positive                          

1098.24909                     Positive                          

1118.25818                     Positive                          

1223.30593                     Positive                          

 673.05582                     Positive                          

 883.15132                     Positive                          

1108.25364                     Positive                          

1008.20816                     Positive                          

 703.06946                     Positive                          

 708.07174                     Positive                          

1038.22180                     Positive                          

1003.20589                     Positive                          

1033.21953                     Positive                          

 688.06264                     Positive                          

 983.19679                     Positive                          

 603.02399                     Positive                          

1188.29002                     Positive                          

 873.14677                     Positive                          

 808.11721                     Positive                          

1073.23772                     Positive                          

 748.08993                     Positive                          

 648.04445                     Positive                          

1268.32640                     Positive                          

 963.18770                     Positive                          

 638.03990                     Positive                          

 698.06719                     Positive                          

1088.24454                     Positive                          

 733.08310                     Positive                          

 898.15814                     Positive                          

1018.21271                     Positive                          

 988.19907                     Positive                          

1258.32185                     Positive                          

 768.09902                     Positive                          

1163.27865                     Positive                          

 593.01944                     Positive                          

1168.28092                     Positive                          

 828.12631                     Positive                          

 893.15586                     Positive                          

 728.08083                     Positive                          

1238.31275                     Positive                          

1043.22408                     Positive                          

1028.21726                     Positive                          

 943.17860                     Positive                          

 738.08538                     Positive                          

 968.18997                     Positive                          

1093.24681                     Positive                          

 623.03308                     Positive                          

 818.12176                     Positive                          

1153.27410                     Positive                          

1103.25136                     Positive                          

1228.30821                     Positive                          

 618.03081                     Positive                          

1053.22862                     Positive                          

1183.28774                     Positive                          

1128.26273                     Positive                          

1203.29684                     Positive                          

 778.10357                     Positive                          

 858.13995                     Positive                          

 848.13540                     Positive                          

1013.21043                     Positive                          

 903.16041                     Positive                          

 718.07628                     Positive                          

1248.31730                     Positive                          

 938.17633                     Positive                          

 853.13767                     Positive                          

1173.28319                     Positive                          

 683.06037                     Positive                          

 743.08765                     Positive                          

 598.02171                     Positive                          

 953.18315                     Positive                          

 628.03536                     Positive                          

 913.16496                     Positive                          

 928.17178                     Positive                          

 998.20361                     Positive                          

 918.16723                     Positive                          

 633.03763                     Positive                          

 663.05127                     Positive                          

 723.07856                     Positive                          

 773.10129                     Positive                          

 798.11266                     Positive                          

 863.14222                     Positive                          

1113.25591                     Positive                          

 753.09220                     Positive                          

1198.29456                     Positive                          

1133.26500                     Positive                          

 693.06491                     Positive                          

1148.27183                     Positive                          

1273.32867                     Positive                          

1233.31048                     Positive                          

1058.23090                     Positive                          

 668.05355                     Positive                          

1213.30138                     Positive                          

 713.07401                     Positive                          

 978.19452                     Positive                          

 803.11494                     Positive                          

 868.14450                     Positive                          

 973.19224                     Positive                          

 888.15359                     Positive                          

1178.28547                     Positive                          

 878.14904                     Positive                          

1083.24227                     Positive                          

 868.14450                     Positive                          

1043.22408                     Positive                          

1018.21271                     Positive                          

1098.24909                     Positive                          

 993.20134                     Positive                          

 823.12403                     Positive                          

 888.15359                     Positive                          

1198.29456                     Positive                          

 863.14222                     Positive                          

 643.04218                     Positive                          

1128.26273                     Positive                          

1258.32185                     Positive                          

1218.30366                     Positive                          

 678.05809                     Positive                          

 843.13313                     Positive                          

1138.26728                     Positive                          

 973.19224                     Positive                          

1048.22635                     Positive                          

 953.18315                     Positive                          

 663.05127                     Positive                          

 938.17633                     Positive                          

1088.24454                     Positive                          

 723.07856                     Positive                          

1113.25591                     Positive                          

1183.28774                     Positive                          

1213.30138                     Positive                          

 963.18770                     Positive                          

1123.26046                     Positive                          

 748.08993                     Positive                          

1108.25364                     Positive                          

 898.15814                     Positive                          

1178.28547                     Positive                          

1073.23772                     Positive                          

1148.27183                     Positive                          

 703.06946                     Positive                          

 828.12631                     Positive                          

1083.24227                     Positive                          

 648.04445                     Positive                          

1078.23999                     Positive                          

 873.14677                     Positive                          

 788.10812                     Positive                          

1278.33094                     Positive                          

 698.06719                     Positive                          

 998.20361                     Positive                          

 803.11494                     Positive                          

 598.02171                     Positive                          

1263.32412                     Positive                          

 798.11266                     Positive                          

1173.28319                     Positive                          

1168.28092                     Positive                          

 958.18542                     Positive                          

 948.18088                     Positive                          

1158.27637                     Positive                          

 718.07628                     Positive                          

 818.12176                     Positive                          

 603.02399                     Positive                          

1058.23090                     Positive                          

1008.20816                     Positive                          

 728.08083                     Positive                          

 903.16041                     Positive                          

 933.17405                     Positive                          

 808.11721                     Positive                          

 583.01489                     Positive                          

1188.29002                     Positive                          

 793.11039                     Positive                          

 733.08310                     Positive                          

1143.26955                     Positive                          

 923.16951                     Positive                          

 588.01717                     Positive                          

 673.05582                     Positive                          

 658.04900                     Positive                          

1153.27410                     Positive                          

 683.06037                     Positive                          

 978.19452                     Positive                          

1223.30593                     Positive                          

1093.24681                     Positive                          

1133.26500                     Positive                          

1238.31275                     Positive                          

1103.25136                     Positive                          

1268.32640                     Positive                          

 763.09675                     Positive                          

1033.21953                     Positive                          

 743.08765                     Positive                          

1248.31730                     Positive                          

1228.30821                     Positive                          

1208.29911                     Positive                          

 783.10584                     Positive                          

1063.23317                     Positive                          

 908.16269                     Positive                          

 633.03763                     Positive                          

1013.21043                     Positive                          

1038.22180                     Positive                          

 608.02626                     Positive                          

1023.21498                     Positive                          

 833.12858                     Positive                          

1273.32867                     Positive                          

 858.13995                     Positive                          

 913.16496                     Positive                          

 713.07401                     Positive                          

 883.15132                     Positive                          

 638.03990                     Positive                          

 623.03308                     Positive                          

 593.01944                     Positive                          

 853.13767                     Positive                          

1193.29229                     Positive                          

1203.29684                     Positive                          

 768.09902                     Positive                          

 708.07174                     Positive                          

 943.17860                     Positive                          

 838.13085                     Positive                          

 773.10129                     Positive                          

 928.17178                     Positive                          

 693.06491                     Positive                          

1118.25818                     Positive                          

1068.23545                     Positive                          

 878.14904                     Positive                          

 753.09220                     Positive                          

 983.19679                     Positive                          

 988.19907                     Positive                          

 653.04672                     Positive                          

 618.03081                     Positive                          

1243.31503                     Positive                          

 668.05355                     Positive                          

 968.18997                     Positive                          

 738.08538                     Positive                          

 628.03536                     Positive                          

 918.16723                     Positive                          

1233.31048                     Positive                          

1053.22862                     Positive                          

 848.13540                     Positive                          

 813.11948                     Positive                          

 893.15586                     Positive                          

 758.09447                     Positive                          

 778.10357                     Positive                          

 688.06264                     Positive                          

1028.21726                     Positive                          

1163.27865                     Positive                          

 613.02853                     Positive                          

1003.20589                     Positive                          

1253.31957                     Positive                          

 623.03308                     Positive                          

 988.19907                     Positive                          

1273.32867                     Positive                          

 763.09675                     Positive                          

 818.12176                     Positive                          

1028.21726                     Positive                          

 753.09220                     Positive                          

1138.26728                     Positive                          

1133.26500                     Positive                          

1253.31957                     Positive                          

1263.32412                     Positive                          

 688.06264                     Positive                          

 853.13767                     Positive                          

 678.05809                     Positive                          

1083.24227                     Positive                          

1143.26955                     Positive                          

 718.07628                     Positive                          

 893.15586                     Positive                          

 858.13995                     Positive                          

 583.01489                     Positive                          

 713.07401                     Positive                          

1258.32185                     Positive                          

1153.27410                     Positive                          

1203.29684                     Positive                          

1048.22635                     Positive                          

 923.16951                     Positive                          

1243.31503                     Positive                          

1248.31730                     Positive                          

1123.26046                     Positive                          

 833.12858                     Positive                          

 698.06719                     Positive                          

 793.11039                     Positive                          

 868.14450                     Positive                          

1218.30366                     Positive                          

 998.20361                     Positive                          

 953.18315                     Positive                          

 948.18088                     Positive                          

1098.24909                     Positive                          

 618.03081                     Positive                          

 978.19452                     Positive                          

 938.17633                     Positive                          

 903.16041                     Positive                          

1213.30138                     Positive                          

1278.33094                     Positive                          

 828.12631                     Positive                          

 693.06491                     Positive                          

 803.11494                     Positive                          

1003.20589                     Positive                          

 918.16723                     Positive                          

 653.04672                     Positive                          

 708.07174                     Positive                          

 878.14904                     Positive                          

1163.27865                     Positive                          

 983.19679                     Positive                          

 643.04218                     Positive                          

 883.15132                     Positive                          

 848.13540                     Positive                          

1188.29002                     Positive                          

 863.14222                     Positive                          

 748.08993                     Positive                          

1078.23999                     Positive                          

1238.31275                     Positive                          

1168.28092                     Positive                          

 783.10584                     Positive                          

 928.17178                     Positive                          

 638.03990                     Positive                          

 778.10357                     Positive                          

 683.06037                     Positive                          

 668.05355                     Positive                          

 873.14677                     Positive                          

 663.05127                     Positive                          

1128.26273                     Positive                          

1113.25591                     Positive                          

 773.10129                     Positive                          

1038.22180                     Positive                          

1183.28774                     Positive                          

1063.23317                     Positive                          

 613.02853                     Positive                          

 633.03763                     Positive                          

 603.02399                     Positive                          

1093.24681                     Positive                          

1068.23545                     Positive                          

 703.06946                     Positive                          

 733.08310                     Positive                          

1228.30821                     Positive                          

 648.04445                     Positive                          

1018.21271                     Positive                          

 658.04900                     Positive                          

1058.23090                     Positive                          

1073.23772                     Positive                          

1193.29229                     Positive                          

 588.01717                     Positive                          

 723.07856                     Positive                          

1198.29456                     Positive                          

1033.21953                     Positive                          

1008.20816                     Positive                          

1103.25136                     Positive                          

1043.22408                     Positive                          

1023.21498                     Positive                          

1013.21043                     Positive                          

 798.11266                     Positive                          

 758.09447                     Positive                          

 788.10812                     Positive                          

 673.05582                     Positive                          

 973.19224                     Positive                          

 943.17860                     Positive                          

 958.18542                     Positive                          

 843.13313                     Positive                          

 743.08765                     Positive                          

 898.15814                     Positive                          

 768.09902                     Positive                          

1268.32640                     Positive                          

1118.25818                     Positive                          

1108.25364                     Positive                          

1233.31048                     Positive                          

 963.18770                     Positive                          

1178.28547                     Positive                          

 993.20134                     Positive                          

 598.02171                     Positive                          

 738.08538                     Positive                          

 808.11721                     Positive                          

1173.28319                     Positive                          

 838.13085                     Positive                          

 888.15359                     Positive                          

1208.29911                     Positive                          

 813.11948                     Positive                          

1158.27637                     Positive                          

 968.18997                     Positive                          

1053.22862                     Positive                          

 933.17405                     Positive                          

 628.03536                     Positive                          

 593.01944                     Positive                          

 823.12403                     Positive                          

 913.16496                     Positive                          

 608.02626                     Positive                          

 728.08083                     Positive                          

 908.16269                     Positive                          

1223.30593                     Positive                          

1148.27183                     Positive                          

1088.24454                     Positive                          

1033.21953                     Positive                          

 753.09220                     Positive                          

 883.15132                     Positive                          

 823.12403                     Positive                          

 593.01944                     Positive                          

 653.04672                     Positive                          

 763.09675                     Positive                          

1158.27637                     Positive                          

 828.12631                     Positive                          

 868.14450                     Positive                          

1093.24681                     Positive                          

1203.29684                     Positive                          

 588.01717                     Positive                          

 843.13313                     Positive                          

 628.03536                     Positive                          

1243.31503                     Positive                          

1258.32185                     Positive                          

 858.13995                     Positive                          

 813.11948                     Positive                          

1108.25364                     Positive                          

1038.22180                     Positive                          

1103.25136                     Positive                          

1263.32412                     Positive                          

 808.11721                     Positive                          

 978.19452                     Positive                          

1173.28319                     Positive                          

1248.31730                     Positive                          

 798.11266                     Positive                          

1123.26046                     Positive                          

 603.02399                     Positive                          

1198.29456                     Positive                          

 873.14677                     Positive                          

 723.07856                     Positive                          

1143.26955                     Positive                          

 988.19907                     Positive                          

1233.31048                     Positive                          

 778.10357                     Positive                          

1068.23545                     Positive                          

 958.18542                     Positive                          

1088.24454                     Positive                          

 683.06037                     Positive                          

1148.27183                     Positive                          

 608.02626                     Positive                          

1238.31275                     Positive                          

 648.04445                     Positive                          

 998.20361                     Positive                          

 893.15586                     Positive                          

 888.15359                     Positive                          

 908.16269                     Positive                          

1018.21271                     Positive                          

1138.26728                     Positive                          

 663.05127                     Positive                          

 783.10584                     Positive                          

1053.22862                     Positive                          

1278.33094                     Positive                          

1133.26500                     Positive                          

 878.14904                     Positive                          

 673.05582                     Positive                          

1078.23999                     Positive                          

 748.08993                     Positive                          

 788.10812                     Positive                          

 968.18997                     Positive                          

 848.13540                     Positive                          

1228.30821                     Positive                          

1163.27865                     Positive                          

1183.28774                     Positive                          

 583.01489                     Positive                          

 758.09447                     Positive                          

 948.18088                     Positive                          

1273.32867                     Positive                          

1048.22635                     Positive                          

 898.15814                     Positive                          

1008.20816                     Positive                          

 963.18770                     Positive                          

 633.03763                     Positive                          

1178.28547                     Positive                          

1083.24227                     Positive                          

 738.08538                     Positive                          

 793.11039                     Positive                          

 693.06491                     Positive                          

 668.05355                     Positive                          

 818.12176                     Positive                          

1023.21498                     Positive                          

 598.02171                     Positive                          

 973.19224                     Positive                          

 928.17178                     Positive                          

1223.30593                     Positive                          

 618.03081                     Positive                          

1113.25591                     Positive                          

 933.17405                     Positive                          

 613.02853                     Positive                          

1098.24909                     Positive                          

 953.18315                     Positive                          

1028.21726                     Positive                          

 743.08765                     Positive                          

 678.05809                     Positive                          

 768.09902                     Positive                          

 918.16723                     Positive                          

1253.31957                     Positive                          

 733.08310                     Positive                          

 718.07628                     Positive                          

1268.32640                     Positive                          

1073.23772                     Positive                          

 698.06719                     Positive                          

 773.10129                     Positive                          

 983.19679                     Positive                          

 923.16951                     Positive                          

1063.23317                     Positive                          

1058.23090                     Positive                          

 643.04218                     Positive                          

1003.20589                     Positive                          

1208.29911                     Positive                          

1168.28092                     Positive                          

 993.20134                     Positive                          

 853.13767                     Positive                          

 803.11494                     Positive                          

 638.03990                     Positive                          

1188.29002                     Positive                          

 703.06946                     Positive                          

 728.08083                     Positive                          

1153.27410                     Positive                          

1193.29229                     Positive                          

 688.06264                     Positive                          

 863.14222                     Positive                          

 833.12858                     Positive                          

 658.04900                     Positive                          

1128.26273                     Positive                          

 903.16041                     Positive                          

1213.30138                     Positive                          

1013.21043                     Positive                          

1118.25818                     Positive                          

 708.07174                     Positive                          

 623.03308                     Positive                          

 943.17860                     Positive                          

 938.17633                     Positive                          

 713.07401                     Positive                          

 838.13085                     Positive                          

1043.22408                     Positive                          

1218.30366                     Positive                          

 913.16496                     Positive                          

 858.13995                     Positive                          

1018.21271                     Positive                          

1078.23999                     Positive                          

1103.25136                     Positive                          

1043.22408                     Positive                          

1248.31730                     Positive                          

 708.07174                     Positive                          

1258.32185                     Positive                          

 718.07628                     Positive                          

1133.26500                     Positive                          

 738.08538                     Positive                          

 933.17405                     Positive                          

 818.12176                     Positive                          

 688.06264                     Positive                          

 743.08765                     Positive                          

 653.04672                     Positive                          

1223.30593                     Positive                          

1123.26046                     Positive                          

 958.18542                     Positive                          

 913.16496                     Positive                          

1268.32640                     Positive                          

 758.09447                     Positive                          

 968.18997                     Positive                          

1273.32867                     Positive                          

1188.29002                     Positive                          

 753.09220                     Positive                          

 953.18315                     Positive                          

1093.24681                     Positive                          

 713.07401                     Positive                          

 918.16723                     Positive                          

 863.14222                     Positive                          

1108.25364                     Positive                          

 588.01717                     Positive                          

 978.19452                     Positive                          

 873.14677                     Positive                          

 623.03308                     Positive                          

 843.13313                     Positive                          

 683.06037                     Positive                          

1048.22635                     Positive                          

 853.13767                     Positive                          

1253.31957                     Positive                          

 948.18088                     Positive                          

1238.31275                     Positive                          

 828.12631                     Positive                          

 583.01489                     Positive                          

1203.29684                     Positive                          

 678.05809                     Positive                          

 698.06719                     Positive                          

 748.08993                     Positive                          

 658.04900                     Positive                          

 928.17178                     Positive                          

1143.26955                     Positive                          

 848.13540                     Positive                          

 673.05582                     Positive                          

1023.21498                     Positive                          

1178.28547                     Positive                          

 598.02171                     Positive                          

1113.25591                     Positive                          

 823.12403                     Positive                          

1008.20816                     Positive                          

1218.30366                     Positive                          

 768.09902                     Positive                          

 663.05127                     Positive                          

 693.06491                     Positive                          

 648.04445                     Positive                          

1198.29456                     Positive                          

1128.26273                     Positive                          

1058.23090                     Positive                          

 723.07856                     Positive                          

1153.27410                     Positive                          

 668.05355                     Positive                          

 893.15586                     Positive                          

 733.08310                     Positive                          

1183.28774                     Positive                          

 643.04218                     Positive                          

 608.02626                     Positive                          

1138.26728                     Positive                          

 763.09675                     Positive                          

 603.02399                     Positive                          

 798.11266                     Positive                          

 638.03990                     Positive                          

 803.11494                     Positive                          

1228.30821                     Positive                          

 883.15132                     Positive                          

 593.01944                     Positive                          

 618.03081                     Positive                          

1263.32412                     Positive                          

 943.17860                     Positive                          

1028.21726                     Positive                          

 878.14904                     Positive                          

 923.16951                     Positive                          

1163.27865                     Positive                          

 938.17633                     Positive                          

1083.24227                     Positive                          

 628.03536                     Positive                          

 963.18770                     Positive                          

1168.28092                     Positive                          

 778.10357                     Positive                          

1118.25818                     Positive                          

 888.15359                     Positive                          

 728.08083                     Positive                          

 838.13085                     Positive                          

 998.20361                     Positive                          

1098.24909                     Positive                          

 993.20134                     Positive                          

 833.12858                     Positive                          

1208.29911                     Positive                          

1088.24454                     Positive                          

 793.11039                     Positive                          

1148.27183                     Positive                          

1013.21043                     Positive                          

 613.02853                     Positive                          

1068.23545                     Positive                          

1063.23317                     Positive                          

 813.11948                     Positive                          

1278.33094                     Positive                          

 773.10129                     Positive                          

 868.14450                     Positive                          

1233.31048                     Positive                          

1193.29229                     Positive                          

 973.19224                     Positive                          

 898.15814                     Positive                          

 703.06946                     Positive                          

1038.22180                     Positive                          

 908.16269                     Positive                          

1243.31503                     Positive                          

1073.23772                     Positive                          

 783.10584                     Positive                          

1173.28319                     Positive                          

 788.10812                     Positive                          

 988.19907                     Positive                          

1053.22862                     Positive                          

1158.27637                     Positive                          

1003.20589                     Positive                          

 808.11721                     Positive                          

1213.30138                     Positive                          

1033.21953                     Positive                          

 633.03763                     Positive                          

 983.19679                     Positive                          

 903.16041                     Positive                          

 778.10357                     Positive                          

1143.26955                     Positive                          

1063.23317                     Positive                          

 653.04672                     Positive                          

1263.32412                     Positive                          

 883.15132                     Positive                          

 583.01489                     Positive                          

1173.28319                     Positive                          

 768.09902                     Positive                          

1108.25364                     Positive                          

 683.06037                     Positive                          

 673.05582                     Positive                          

 913.16496                     Positive                          

1153.27410                     Positive                          

 678.05809                     Positive                          

 703.06946                     Positive                          

1043.22408                     Positive                          

1233.31048                     Positive                          

 598.02171                     Positive                          

 903.16041                     Positive                          

 818.12176                     Positive                          

 933.17405                     Positive                          

 773.10129                     Positive                          

1243.31503                     Positive                          

 638.03990                     Positive                          

1058.23090                     Positive                          

1138.26728                     Positive                          

1088.24454                     Positive                          

1253.31957                     Positive                          

 808.11721                     Positive                          

1193.29229                     Positive                          

1113.25591                     Positive                          

1133.26500                     Positive                          

1213.30138                     Positive                          

 998.20361                     Positive                          

 943.17860                     Positive                          

 953.18315                     Positive                          

1273.32867                     Positive                          

1183.28774                     Positive                          

1018.21271                     Positive                          

 758.09447                     Positive                          

 928.17178                     Positive                          

 828.12631                     Positive                          

1128.26273                     Positive                          

 848.13540                     Positive                          

1258.32185                     Positive                          

1223.30593                     Positive                          

1083.24227                     Positive                          

 798.11266                     Positive                          

 893.15586                     Positive                          

 643.04218                     Positive                          

1118.25818                     Positive                          

1093.24681                     Positive                          

 863.14222                     Positive                          

1023.21498                     Positive                          

 838.13085                     Positive                          

 668.05355                     Positive                          

 748.08993                     Positive                          

1008.20816                     Positive                          

 843.13313                     Positive                          

 858.13995                     Positive                          

 853.13767                     Positive                          

 918.16723                     Positive                          

 923.16951                     Positive                          

 938.17633                     Positive                          

1078.23999                     Positive                          

1033.21953                     Positive                          

 728.08083                     Positive                          

 988.19907                     Positive                          

 823.12403                     Positive                          

 593.01944                     Positive                          

 793.11039                     Positive                          

1268.32640                     Positive                          

 788.10812                     Positive                          

1123.26046                     Positive                          

 908.16269                     Positive                          

 738.08538                     Positive                          

 763.09675                     Positive                          

 753.09220                     Positive                          

 588.01717                     Positive                          

1218.30366                     Positive                          

1208.29911                     Positive                          

 873.14677                     Positive                          

 708.07174                     Positive                          

 743.08765                     Positive                          

 948.18088                     Positive                          

 648.04445                     Positive                          

1038.22180                     Positive                          

 783.10584                     Positive                          

1103.25136                     Positive                          

1148.27183                     Positive                          

 603.02399                     Positive                          

1068.23545                     Positive                          

1238.31275                     Positive                          

 963.18770                     Positive                          

 973.19224                     Positive                          

1188.29002                     Positive                          

 633.03763                     Positive                          

1003.20589                     Positive                          

 723.07856                     Positive                          

1178.28547                     Positive                          

 618.03081                     Positive                          

1248.31730                     Positive                          

1278.33094                     Positive                          

1028.21726                     Positive                          

 628.03536                     Positive                          

 868.14450                     Positive                          

1168.28092                     Positive                          

 693.06491                     Positive                          

 718.07628                     Positive                          

 898.15814                     Positive                          

 658.04900                     Positive                          

1158.27637                     Positive                          

1073.23772                     Positive                          

 958.18542                     Positive                          

 993.20134                     Positive                          

1048.22635                     Positive                          

 713.07401                     Positive                          

 733.08310                     Positive                          

1163.27865                     Positive                          

 878.14904                     Positive                          

 623.03308                     Positive                          

 983.19679                     Positive                          

1013.21043                     Positive                          

1203.29684                     Positive                          

1228.30821                     Positive                          

 888.15359                     Positive                          

 833.12858                     Positive                          

 663.05127                     Positive                          

 803.11494                     Positive                          

 968.18997                     Positive                          

1098.24909                     Positive                          

 608.02626                     Positive                          

 813.11948                     Positive                          

 688.06264                     Positive                          

 698.06719                     Positive                          

1053.22862                     Positive                          

1198.29456                     Positive                          

 978.19452                     Positive                          

 613.02853                     Positive                          

 818.12176                     Positive                          

 763.09675                     Positive                          

 913.16496                     Positive                          

1088.24454                     Positive                          

1243.31503                     Positive                          

 928.17178                     Positive                          

 883.15132                     Positive                          

1113.25591                     Positive                          

 933.17405                     Positive                          

 678.05809                     Positive                          

 813.11948                     Positive                          

1163.27865                     Positive                          

 598.02171                     Positive                          

1188.29002                     Positive                          

1083.24227                     Positive                          

1228.30821                     Positive                          

 743.08765                     Positive                          

 708.07174                     Positive                          

 738.08538                     Positive                          

1223.30593                     Positive                          

 638.03990                     Positive                          

1118.25818                     Positive                          

1253.31957                     Positive                          

 978.19452                     Positive                          

1128.26273                     Positive                          

1038.22180                     Positive                          

1168.28092                     Positive                          

 788.10812                     Positive                          

1098.24909                     Positive                          

 778.10357                     Positive                          

 873.14677                     Positive                          

 963.18770                     Positive                          

 618.03081                     Positive                          

 983.19679                     Positive                          

1138.26728                     Positive                          

 758.09447                     Positive                          

1213.30138                     Positive                          

1268.32640                     Positive                          

1028.21726                     Positive                          

1078.23999                     Positive                          

1233.31048                     Positive                          

 658.04900                     Positive                          

1248.31730                     Positive                          

1103.25136                     Positive                          

 583.01489                     Positive                          

 903.16041                     Positive                          

1093.24681                     Positive                          

1108.25364                     Positive                          

 773.10129                     Positive                          

 993.20134                     Positive                          

1068.23545                     Positive                          

 748.08993                     Positive                          

 858.13995                     Positive                          

1008.20816                     Positive                          

 868.14450                     Positive                          

1148.27183                     Positive                          

 588.01717                     Positive                          

1158.27637                     Positive                          

1198.29456                     Positive                          

1278.33094                     Positive                          

1238.31275                     Positive                          

 698.06719                     Positive                          

1053.22862                     Positive                          

 673.05582                     Positive                          

 893.15586                     Positive                          

1178.28547                     Positive                          

 683.06037                     Positive                          

 733.08310                     Positive                          

 988.19907                     Positive                          

 888.15359                     Positive                          

1043.22408                     Positive                          

1153.27410                     Positive                          

 608.02626                     Positive                          

 663.05127                     Positive                          

 648.04445                     Positive                          

1073.23772                     Positive                          

 688.06264                     Positive                          

 668.05355                     Positive                          

 798.11266                     Positive                          

 783.10584                     Positive                          

1143.26955                     Positive                          

1058.23090                     Positive                          

1013.21043                     Positive                          

 943.17860                     Positive                          

1203.29684                     Positive                          

 718.07628                     Positive                          

1273.32867                     Positive                          

 703.06946                     Positive                          

1063.23317                     Positive                          

1023.21498                     Positive                          

 753.09220                     Positive                          

1003.20589                     Positive                          

 643.04218                     Positive                          

 603.02399                     Positive                          

 923.16951                     Positive                          

 803.11494                     Positive                          

1193.29229                     Positive                          

 938.17633                     Positive                          

1208.29911                     Positive                          

 793.11039                     Positive                          

 768.09902                     Positive                          

 713.07401                     Positive                          

 853.13767                     Positive                          

1123.26046                     Positive                          

 898.15814                     Positive                          

 833.12858                     Positive                          

1018.21271                     Positive                          

 878.14904                     Positive                          

1048.22635                     Positive                          

 908.16269                     Positive                          

1218.30366                     Positive                          

 808.11721                     Positive                          

 973.19224                     Positive                          

 848.13540                     Positive                          

 593.01944                     Positive                          

 728.08083                     Positive                          

1173.28319                     Positive                          

 843.13313                     Positive                          

 653.04672                     Positive                          

 828.12631                     Positive                          

 693.06491                     Positive                          

 918.16723                     Positive                          

 958.18542                     Positive                          

 623.03308                     Positive                          

 953.18315                     Positive                          

1133.26500                     Positive                          

1258.32185                     Positive                          

 613.02853                     Positive                          

 823.12403                     Positive                          

1263.32412                     Positive                          

 633.03763                     Positive                          

 863.14222                     Positive                          

1183.28774                     Positive                          

1033.21953                     Positive                          

 998.20361                     Positive                          

 948.18088                     Positive                          

 628.03536                     Positive                          

 968.18997                     Positive                          

 723.07856                     Positive                          

 838.13085                     Positive                          

1158.27637                     Positive                          

 858.13995                     Positive                          

1053.22862                     Positive                          

 833.12858                     Positive                          

 953.18315                     Positive                          

 823.12403                     Positive                          

 768.09902                     Positive                          

1163.27865                     Positive                          

1218.30366                     Positive                          

1258.32185                     Positive                          

 923.16951                     Positive                          

1273.32867                     Positive                          

1018.21271                     Positive                          

1123.26046                     Positive                          

 798.11266                     Positive                          

 938.17633                     Positive                          

1078.23999                     Positive                          

1183.28774                     Positive                          

1223.30593                     Positive                          

 698.06719                     Positive                          

 788.10812                     Positive                          

 683.06037                     Positive                          

 898.15814                     Positive                          

1073.23772                     Positive                          

 908.16269                     Positive                          

 773.10129                     Positive                          

 978.19452                     Positive                          

 743.08765                     Positive                          

1013.21043                     Positive                          

 818.12176                     Positive                          

 968.18997                     Positive                          

 973.19224                     Positive                          

 598.02171                     Positive                          

 983.19679                     Positive                          

1093.24681                     Positive                          

1128.26273                     Positive                          

1238.31275                     Positive                          

 868.14450                     Positive                          

1113.25591                     Positive                          

1108.25364                     Positive                          

 718.07628                     Positive                          

1153.27410                     Positive                          

 638.03990                     Positive                          

 643.04218                     Positive                          

 778.10357                     Positive                          

1243.31503                     Positive                          

 893.15586                     Positive                          

1008.20816                     Positive                          

 933.17405                     Positive                          

 748.08993                     Positive                          

 703.06946                     Positive                          

 948.18088                     Positive                          

1023.21498                     Positive                          

 693.06491                     Positive                          

 618.03081                     Positive                          

 688.06264                     Positive                          

1003.20589                     Positive                          

 848.13540                     Positive                          

1133.26500                     Positive                          

 963.18770                     Positive                          

1063.23317                     Positive                          

 678.05809                     Positive                          

 808.11721                     Positive                          

 943.17860                     Positive                          

 733.08310                     Positive                          

 903.16041                     Positive                          

1028.21726                     Positive                          

1173.28319                     Positive                          

 958.18542                     Positive                          

 753.09220                     Positive                          

1103.25136                     Positive                          

1178.28547                     Positive                          

 623.03308                     Positive                          

 998.20361                     Positive                          

1208.29911                     Positive                          

1148.27183                     Positive                          

 853.13767                     Positive                          

1278.33094                     Positive                          

 838.13085                     Positive                          

 653.04672                     Positive                          

 723.07856                     Positive                          

1038.22180                     Positive                          

 878.14904                     Positive                          

 828.12631                     Positive                          

1263.32412                     Positive                          

 758.09447                     Positive                          

 763.09675                     Positive                          

1083.24227                     Positive                          

 708.07174                     Positive                          

1198.29456                     Positive                          

 673.05582                     Positive                          

1168.28092                     Positive                          

 993.20134                     Positive                          

 593.01944                     Positive                          

 633.03763                     Positive                          

 873.14677                     Positive                          

1203.29684                     Positive                          

 913.16496                     Positive                          

1098.24909                     Positive                          

1253.31957                     Positive                          

 803.11494                     Positive                          

 613.02853                     Positive                          

 668.05355                     Positive                          

 583.01489                     Positive                          

 603.02399                     Positive                          

 738.08538                     Positive                          

 713.07401                     Positive                          

 648.04445                     Positive                          

 883.15132                     Positive                          

 793.11039                     Positive                          

 918.16723                     Positive                          

1188.29002                     Positive                          

1068.23545                     Positive                          

1233.31048                     Positive                          

 663.05127                     Positive                          

 888.15359                     Positive                          

1268.32640                     Positive                          

1143.26955                     Positive                          

 783.10584                     Positive                          

 843.13313                     Positive                          

1058.23090                     Positive                          

1248.31730                     Positive                          

 608.02626                     Positive                          

1228.30821                     Positive                          

 628.03536                     Positive                          

 658.04900                     Positive                          

 988.19907                     Positive                          

1088.24454                     Positive                          

 728.08083                     Positive                          

 928.17178                     Positive                          

1213.30138                     Positive                          

 588.01717                     Positive                          

1138.26728                     Positive                          

 863.14222                     Positive                          

 813.11948                     Positive                          

1118.25818                     Positive                          

1193.29229                     Positive                          

1043.22408                     Positive                          

1048.22635                     Positive                          

1033.21953                     Positive                          

1278.33094                     Positive                          

1118.25818                     Positive                          

 988.19907                     Positive                          

 958.18542                     Positive                          

 598.02171                     Positive                          

 648.04445                     Positive                          

1148.27183                     Positive                          

 593.01944                     Positive                          

 888.15359                     Positive                          

 608.02626                     Positive                          

 673.05582                     Positive                          

 978.19452                     Positive                          

1203.29684                     Positive                          

 863.14222                     Positive                          

1218.30366                     Positive                          

 788.10812                     Positive                          

1053.22862                     Positive                          

1208.29911                     Positive                          

1073.23772                     Positive                          

1093.24681                     Positive                          

1013.21043                     Positive                          

1123.26046                     Positive                          

 663.05127                     Positive                          

 638.03990                     Positive                          

 738.08538                     Positive                          

 698.06719                     Positive                          

1038.22180                     Positive                          

 853.13767                     Positive                          

 683.06037                     Positive                          

 708.07174                     Positive                          

 723.07856                     Positive                          

 973.19224                     Positive                          

1173.28319                     Positive                          

1048.22635                     Positive                          

1083.24227                     Positive                          

1018.21271                     Positive                          

1058.23090                     Positive                          

1098.24909                     Positive                          

1023.21498                     Positive                          

 898.15814                     Positive                          

 733.08310                     Positive                          

 623.03308                     Positive                          

1043.22408                     Positive                          

 633.03763                     Positive                          

 783.10584                     Positive                          

 928.17178                     Positive                          

 678.05809                     Positive                          

 818.12176                     Positive                          

1128.26273                     Positive                          

1243.31503                     Positive                          

1068.23545                     Positive                          

 653.04672                     Positive                          

 883.15132                     Positive                          

 993.20134                     Positive                          

 828.12631                     Positive                          

 588.01717                     Positive                          

 793.11039                     Positive                          

 753.09220                     Positive                          

 873.14677                     Positive                          

1268.32640                     Positive                          

 823.12403                     Positive                          

 658.04900                     Positive                          

1223.30593                     Positive                          

1253.31957                     Positive                          

1263.32412                     Positive                          

1258.32185                     Positive                          

 843.13313                     Positive                          

1063.23317                     Positive                          

 703.06946                     Positive                          

 618.03081                     Positive                          

 583.01489                     Positive                          

 628.03536                     Positive                          

1138.26728                     Positive                          

 893.15586                     Positive                          

 913.16496                     Positive                          

1133.26500                     Positive                          

 728.08083                     Positive                          

 968.18997                     Positive                          

 778.10357                     Positive                          

 933.17405                     Positive                          

 903.16041                     Positive                          

1088.24454                     Positive                          

 918.16723                     Positive                          

1178.28547                     Positive                          

1213.30138                     Positive                          

 983.19679                     Positive                          

 798.11266                     Positive                          

1008.20816                     Positive                          

 908.16269                     Positive                          

 878.14904                     Positive                          

 953.18315                     Positive                          

 858.13995                     Positive                          

1113.25591                     Positive                          

 768.09902                     Positive                          

 943.17860                     Positive                          

1158.27637                     Positive                          

 838.13085                     Positive                          

 923.16951                     Positive                          

 688.06264                     Positive                          

1233.31048                     Positive                          

 833.12858                     Positive                          

 808.11721                     Positive                          

1028.21726                     Positive                          

 718.07628                     Positive                          

 763.09675                     Positive                          

1108.25364                     Positive                          

 668.05355                     Positive                          

1193.29229                     Positive                          

 603.02399                     Positive                          

 938.17633                     Positive                          

1228.30821                     Positive                          

 743.08765                     Positive                          

 963.18770                     Positive                          

1198.29456                     Positive                          

 948.18088                     Positive                          

1163.27865                     Positive                          

1168.28092                     Positive                          

1103.25136                     Positive                          

 998.20361                     Positive                          

1273.32867                     Positive                          

1003.20589                     Positive                          

1248.31730                     Positive                          

1143.26955                     Positive                          

1183.28774                     Positive                          

 613.02853                     Positive                          

 813.11948                     Positive                          

 643.04218                     Positive                          

1078.23999                     Positive                          

1238.31275                     Positive                          

1153.27410                     Positive                          

 748.08993                     Positive                          

 758.09447                     Positive                          

 803.11494                     Positive                          

 773.10129                     Positive                          

1033.21953                     Positive                          

 848.13540                     Positive                          

 868.14450                     Positive                          

 693.06491                     Positive                          

1188.29002                     Positive                          

 713.07401                     Positive                          

 628.03536                     Positive                          

 993.20134                     Positive                          

 778.10357                     Positive                          

1148.27183                     Positive                          

 583.01489                     Positive                          

1053.22862                     Positive                          

 913.16496                     Positive                          

 693.06491                     Positive                          

 818.12176                     Positive                          

 748.08993                     Positive                          

1098.24909                     Positive                          

1258.32185                     Positive                          

 743.08765                     Positive                          

 623.03308                     Positive                          

 753.09220                     Positive                          

 968.18997                     Positive                          

 783.10584                     Positive                          

1183.28774                     Positive                          

 618.03081                     Positive                          

 713.07401                     Positive                          

 598.02171                     Positive                          

 848.13540                     Positive                          

1108.25364                     Positive                          

1153.27410                     Positive                          

1003.20589                     Positive                          

 798.11266                     Positive                          

 948.18088                     Positive                          

 923.16951                     Positive                          

 918.16723                     Positive                          

1133.26500                     Positive                          

1128.26273                     Positive                          

 593.01944                     Positive                          

 853.13767                     Positive                          

1263.32412                     Positive                          

1193.29229                     Positive                          

 723.07856                     Positive                          

 978.19452                     Positive                          

 733.08310                     Positive                          

 843.13313                     Positive                          

 878.14904                     Positive                          

 673.05582                     Positive                          

 808.11721                     Positive                          

 703.06946                     Positive                          

 773.10129                     Positive                          

1243.31503                     Positive                          

1178.28547                     Positive                          

1173.28319                     Positive                          

 603.02399                     Positive                          

 648.04445                     Positive                          

 953.18315                     Positive                          

1043.22408                     Positive                          

 793.11039                     Positive                          

1123.26046                     Positive                          

1238.31275                     Positive                          

 738.08538                     Positive                          

1228.30821                     Positive                          

 958.18542                     Positive                          

 883.15132                     Positive                          

 663.05127                     Positive                          

 658.04900                     Positive                          

 868.14450                     Positive                          

1143.26955                     Positive                          

 718.07628                     Positive                          

1103.25136                     Positive                          

1083.24227                     Positive                          

1253.31957                     Positive                          

1028.21726                     Positive                          

 858.13995                     Positive                          

 943.17860                     Positive                          

 643.04218                     Positive                          

 988.19907                     Positive                          

1168.28092                     Positive                          

 963.18770                     Positive                          

1138.26728                     Positive                          

1078.23999                     Positive                          

1278.33094                     Positive                          

1033.21953                     Positive                          

 678.05809                     Positive                          

 893.15586                     Positive                          

1158.27637                     Positive                          

 863.14222                     Positive                          

 938.17633                     Positive                          

 708.07174                     Positive                          

 898.15814                     Positive                          

1198.29456                     Positive                          

 608.02626                     Positive                          

1118.25818                     Positive                          

1218.30366                     Positive                          

 873.14677                     Positive                          

1088.24454                     Positive                          

 838.13085                     Positive                          

1048.22635                     Positive                          

1018.21271                     Positive                          

1163.27865                     Positive                          

 998.20361                     Positive                          

1058.23090                     Positive                          

 823.12403                     Positive                          

1023.21498                     Positive                          

 983.19679                     Positive                          

 698.06719                     Positive                          

 813.11948                     Positive                          

1093.24681                     Positive                          

1008.20816                     Positive                          

 888.15359                     Positive                          

 688.06264                     Positive                          

 613.02853                     Positive                          

 683.06037                     Positive                          

1038.22180                     Positive                          

1188.29002                     Positive                          

1068.23545                     Positive                          

 828.12631                     Positive                          

 908.16269                     Positive                          

 728.08083                     Positive                          

 653.04672                     Positive                          

 833.12858                     Positive                          

1268.32640                     Positive                          

 638.03990                     Positive                          

 973.19224                     Positive                          

1073.23772                     Positive                          

 933.17405                     Positive                          

 803.11494                     Positive                          

 768.09902                     Positive                          

1223.30593                     Positive                          

1213.30138                     Positive                          

 928.17178                     Positive                          

1063.23317                     Positive                          

 903.16041                     Positive                          

1273.32867                     Positive                          

 763.09675                     Positive                          

 788.10812                     Positive                          

1208.29911                     Positive                          

1233.31048                     Positive                          

1203.29684                     Positive                          

1113.25591                     Positive                          

 758.09447                     Positive                          

 633.03763                     Positive                          

1013.21043                     Positive                          

1248.31730                     Positive                          

 668.05355                     Positive                          

 588.01717                     Positive                          

 738.08538                     Positive                          

 608.02626                     Positive                          

 668.05355                     Positive                          

 898.15814                     Positive                          

1228.30821                     Positive                          

 593.01944                     Positive                          

 908.16269                     Positive                          

1173.28319                     Positive                          

1058.23090                     Positive                          

 753.09220                     Positive                          

 933.17405                     Positive                          

 853.13767                     Positive                          

1063.23317                     Positive                          

 598.02171                     Positive                          

 693.06491                     Positive                          

1018.21271                     Positive                          

 748.08993                     Positive                          

 798.11266                     Positive                          

1203.29684                     Positive                          

1028.21726                     Positive                          

1208.29911                     Positive                          

1068.23545                     Positive                          

1143.26955                     Positive                          

 768.09902                     Positive                          

 763.09675                     Positive                          

 918.16723                     Positive                          

 938.17633                     Positive                          

 893.15586                     Positive                          

 773.10129                     Positive                          

 653.04672                     Positive                          

 973.19224                     Positive                          

 628.03536                     Positive                          

 848.13540                     Positive                          

1263.32412                     Positive                          

1248.31730                     Positive                          

1113.25591                     Positive                          

1278.33094                     Positive                          

 828.12631                     Positive                          

 968.18997                     Positive                          

 913.16496                     Positive                          

1033.21953                     Positive                          

 838.13085                     Positive                          

 623.03308                     Positive                          

1163.27865                     Positive                          

 963.18770                     Positive                          

1223.30593                     Positive                          

 878.14904                     Positive                          

1048.22635                     Positive                          

1003.20589                     Positive                          

1073.23772                     Positive                          

 673.05582                     Positive                          

 928.17178                     Positive                          

 783.10584                     Positive                          

 883.15132                     Positive                          

 988.19907                     Positive                          

1098.24909                     Positive                          

 953.18315                     Positive                          

1088.24454                     Positive                          

 603.02399                     Positive                          

1013.21043                     Positive                          

 778.10357                     Positive                          

1218.30366                     Positive                          

1108.25364                     Positive                          

1053.22862                     Positive                          

1043.22408                     Positive                          

 703.06946                     Positive                          

 698.06719                     Positive                          

 873.14677                     Positive                          

 868.14450                     Positive                          

 678.05809                     Positive                          

 643.04218                     Positive                          

1268.32640                     Positive                          

1093.24681                     Positive                          

 713.07401                     Positive                          

1083.24227                     Positive                          

 808.11721                     Positive                          

 683.06037                     Positive                          

 658.04900                     Positive                          

1198.29456                     Positive                          

1078.23999                     Positive                          

 888.15359                     Positive                          

1253.31957                     Positive                          

 958.18542                     Positive                          

 803.11494                     Positive                          

1153.27410                     Positive                          

 733.08310                     Positive                          

1103.25136                     Positive                          

 613.02853                     Positive                          

1243.31503                     Positive                          

1133.26500                     Positive                          

1188.29002                     Positive                          

 708.07174                     Positive                          

 998.20361                     Positive                          

 638.03990                     Positive                          

 923.16951                     Positive                          

 813.11948                     Positive                          

1233.31048                     Positive                          

 943.17860                     Positive                          

1008.20816                     Positive                          

 718.07628                     Positive                          

 948.18088                     Positive                          

1123.26046                     Positive                          

1138.26728                     Positive                          

1148.27183                     Positive                          

1178.28547                     Positive                          

1158.27637                     Positive                          

1038.22180                     Positive                          

1238.31275                     Positive                          

 588.01717                     Positive                          

 583.01489                     Positive                          

1128.26273                     Positive                          

 633.03763                     Positive                          

 618.03081                     Positive                          

 723.07856                     Positive                          

 818.12176                     Positive                          

1213.30138                     Positive                          

 983.19679                     Positive                          

1183.28774                     Positive                          

1168.28092                     Positive                          

 728.08083                     Positive                          

 863.14222                     Positive                          

 833.12858                     Positive                          

 758.09447                     Positive                          

 743.08765                     Positive                          

 978.19452                     Positive                          

1258.32185                     Positive                          

 903.16041                     Positive                          

 823.12403                     Positive                          

 663.05127                     Positive                          

1023.21498                     Positive                          

 788.10812                     Positive                          

1118.25818                     Positive                          

 993.20134                     Positive                          

1273.32867                     Positive                          

 793.11039                     Positive                          

 688.06264                     Positive                          

 843.13313                     Positive                          

 648.04445                     Positive                          

1193.29229                     Positive                          

 858.13995                     Positive                          

1193.29229                     Positive                          

 898.15814                     Positive                          

 623.03308                     Positive                          

 663.05127                     Positive                          

1203.29684                     Positive                          

 793.11039                     Positive                          

1023.21498                     Positive                          

 643.04218                     Positive                          

1058.23090                     Positive                          

1133.26500                     Positive                          

 938.17633                     Positive                          

 908.16269                     Positive                          

 808.11721                     Positive                          

 878.14904                     Positive                          

 988.19907                     Positive                          

 588.01717                     Positive                          

 668.05355                     Positive                          

1073.23772                     Positive                          

1263.32412                     Positive                          

1273.32867                     Positive                          

 718.07628                     Positive                          

1138.26728                     Positive                          

 713.07401                     Positive                          

 778.10357                     Positive                          

1218.30366                     Positive                          

1233.31048                     Positive                          

 648.04445                     Positive                          

 753.09220                     Positive                          

1048.22635                     Positive                          

1198.29456                     Positive                          

 618.03081                     Positive                          

 863.14222                     Positive                          

1033.21953                     Positive                          

1148.27183                     Positive                          

1213.30138                     Positive                          

 748.08993                     Positive                          

 913.16496                     Positive                          

 948.18088                     Positive                          

 633.03763                     Positive                          

 653.04672                     Positive                          

 833.12858                     Positive                          

1223.30593                     Positive                          

 603.02399                     Positive                          

 968.18997                     Positive                          

1028.21726                     Positive                          

1158.27637                     Positive                          

1043.22408                     Positive                          

 998.20361                     Positive                          

 628.03536                     Positive                          

1253.31957                     Positive                          

1153.27410                     Positive                          

 903.16041                     Positive                          

1053.22862                     Positive                          

 688.06264                     Positive                          

1068.23545                     Positive                          

 918.16723                     Positive                          

 813.11948                     Positive                          

1183.28774                     Positive                          

1238.31275                     Positive                          

 788.10812                     Positive                          

 763.09675                     Positive                          

 963.18770                     Positive                          

 933.17405                     Positive                          

1143.26955                     Positive                          

1013.21043                     Positive                          

1243.31503                     Positive                          

 868.14450                     Positive                          

1278.33094                     Positive                          

 983.19679                     Positive                          

 658.04900                     Positive                          

 848.13540                     Positive                          

 678.05809                     Positive                          

 858.13995                     Positive                          

 723.07856                     Positive                          

 698.06719                     Positive                          

1168.28092                     Positive                          

 993.20134                     Positive                          

1103.25136                     Positive                          

 798.11266                     Positive                          

 973.19224                     Positive                          

 773.10129                     Positive                          

 613.02853                     Positive                          

1208.29911                     Positive                          

1083.24227                     Positive                          

 608.02626                     Positive                          

 853.13767                     Positive                          

 758.09447                     Positive                          

 818.12176                     Positive                          

 673.05582                     Positive                          

1038.22180                     Positive                          

 593.01944                     Positive                          

 893.15586                     Positive                          

1123.26046                     Positive                          

 703.06946                     Positive                          

1128.26273                     Positive                          

1178.28547                     Positive                          

1088.24454                     Positive                          

 803.11494                     Positive                          

1108.25364                     Positive                          

 823.12403                     Positive                          

 923.16951                     Positive                          

1113.25591                     Positive                          

 888.15359                     Positive                          

1018.21271                     Positive                          

 683.06037                     Positive                          

1228.30821                     Positive                          

 828.12631                     Positive                          

 728.08083                     Positive                          

 928.17178                     Positive                          

1098.24909                     Positive                          

 583.01489                     Positive                          

 733.08310                     Positive                          

 738.08538                     Positive                          

1268.32640                     Positive                          

1003.20589                     Positive                          

1008.20816                     Positive                          

 708.07174                     Positive                          

 598.02171                     Positive                          

 783.10584                     Positive                          

 638.03990                     Positive                          

 958.18542                     Positive                          

1188.29002                     Positive                          

1248.31730                     Positive                          

 838.13085                     Positive                          

1118.25818                     Positive                          

1093.24681                     Positive                          

 843.13313                     Positive                          

 768.09902                     Positive                          

 873.14677                     Positive                          

1173.28319                     Positive                          

 943.17860                     Positive                          

 693.06491                     Positive                          

 978.19452                     Positive                          

1063.23317                     Positive                          

 953.18315                     Positive                          

 883.15132                     Positive                          

1163.27865                     Positive                          

1078.23999                     Positive                          

1258.32185                     Positive                          

 743.08765                     Positive                          

1243.31503                     Positive                          

 898.15814                     Positive                          

 648.04445                     Positive                          

 643.04218                     Positive                          

 743.08765                     Positive                          

 693.06491                     Positive                          

1058.23090                     Positive                          

1263.32412                     Positive                          

 978.19452                     Positive                          

 768.09902                     Positive                          

 678.05809                     Positive                          

 668.05355                     Positive                          

1173.28319                     Positive                          

1203.29684                     Positive                          

 663.05127                     Positive                          

1213.30138                     Positive                          

1258.32185                     Positive                          

1068.23545                     Positive                          

1103.25136                     Positive                          

 738.08538                     Positive                          

 888.15359                     Positive                          

 848.13540                     Positive                          

 918.16723                     Positive                          

 913.16496                     Positive                          

1033.21953                     Positive                          

 863.14222                     Positive                          

 988.19907                     Positive                          

 608.02626                     Positive                          

 733.08310                     Positive                          

1008.20816                     Positive                          

1078.23999                     Positive                          

 638.03990                     Positive                          

 908.16269                     Positive                          

 698.06719                     Positive                          

1253.31957                     Positive                          

 713.07401                     Positive                          

 688.06264                     Positive                          

 903.16041                     Positive                          

1118.25818                     Positive                          

1073.23772                     Positive                          

1013.21043                     Positive                          

 723.07856                     Positive                          

1273.32867                     Positive                          

1028.21726                     Positive                          

1188.29002                     Positive                          

 968.18997                     Positive                          

 773.10129                     Positive                          

 963.18770                     Positive                          

1228.30821                     Positive                          

1153.27410                     Positive                          

1023.21498                     Positive                          

1138.26728                     Positive                          

 603.02399                     Positive                          

 658.04900                     Positive                          

1183.28774                     Positive                          

1053.22862                     Positive                          

 728.08083                     Positive                          

 633.03763                     Positive                          

 843.13313                     Positive                          

1108.25364                     Positive                          

1158.27637                     Positive                          

 853.13767                     Positive                          

1088.24454                     Positive                          

 878.14904                     Positive                          

1268.32640                     Positive                          

 588.01717                     Positive                          

 778.10357                     Positive                          

 998.20361                     Positive                          

 793.11039                     Positive                          

 948.18088                     Positive                          

 598.02171                     Positive                          

 838.13085                     Positive                          

 923.16951                     Positive                          

 938.17633                     Positive                          

 788.10812                     Positive                          

 583.01489                     Positive                          

 893.15586                     Positive                          

 753.09220                     Positive                          

 703.06946                     Positive                          

1223.30593                     Positive                          

 883.15132                     Positive                          

 708.07174                     Positive                          

 933.17405                     Positive                          

1048.22635                     Positive                          

 628.03536                     Positive                          

 983.19679                     Positive                          

 828.12631                     Positive                          

 673.05582                     Positive                          

1148.27183                     Positive                          

1133.26500                     Positive                          

 823.12403                     Positive                          

1218.30366                     Positive                          

 993.20134                     Positive                          

 718.07628                     Positive                          

1123.26046                     Positive                          

 953.18315                     Positive                          

1093.24681                     Positive                          

1003.20589                     Positive                          

1098.24909                     Positive                          

1278.33094                     Positive                          

1113.25591                     Positive                          

 683.06037                     Positive                          

 818.12176                     Positive                          

1168.28092                     Positive                          

1178.28547                     Positive                          

 873.14677                     Positive                          

1018.21271                     Positive                          

 928.17178                     Positive                          

1248.31730                     Positive                          

1128.26273                     Positive                          

 613.02853                     Positive                          

 868.14450                     Positive                          

 593.01944                     Positive                          

1233.31048                     Positive                          

1063.23317                     Positive                          

 748.08993                     Positive                          

 618.03081                     Positive                          

1083.24227                     Positive                          

 833.12858                     Positive                          

 958.18542                     Positive                          

 798.11266                     Positive                          

1038.22180                     Positive                          

 858.13995                     Positive                          

1043.22408                     Positive                          

 943.17860                     Positive                          

 763.09675                     Positive                          

 783.10584                     Positive                          

1163.27865                     Positive                          

1238.31275                     Positive                          

 803.11494                     Positive                          

 653.04672                     Positive                          

1208.29911                     Positive                          

 808.11721                     Positive                          

1143.26955                     Positive                          

 758.09447                     Positive                          

 623.03308                     Positive                          

1193.29229                     Positive                          

 813.11948                     Positive                          

 973.19224                     Positive                          

1198.29456                     Positive                          

 818.12176                     Positive                          

1223.30593                     Positive                          

1143.26955                     Positive                          

 583.01489                     Positive                          

 598.02171                     Positive                          

 908.16269                     Positive                          

1078.23999                     Positive                          

 588.01717                     Positive                          

 823.12403                     Positive                          

 618.03081                     Positive                          

 763.09675                     Positive                          

1238.31275                     Positive                          

 613.02853                     Positive                          

 758.09447                     Positive                          

 918.16723                     Positive                          

1278.33094                     Positive                          

 723.07856                     Positive                          

1158.27637                     Positive                          

 728.08083                     Positive                          

 738.08538                     Positive                          

 768.09902                     Positive                          

 993.20134                     Positive                          

1128.26273                     Positive                          

 753.09220                     Positive                          

 663.05127                     Positive                          

 913.16496                     Positive                          

 688.06264                     Positive                          

1083.24227                     Positive                          

 743.08765                     Positive                          

1193.29229                     Positive                          

 873.14677                     Positive                          

 828.12631                     Positive                          

1058.23090                     Positive                          

1153.27410                     Positive                          

 793.11039                     Positive                          

 788.10812                     Positive                          

 893.15586                     Positive                          

1253.31957                     Positive                          

 923.16951                     Positive                          

 953.18315                     Positive                          

1203.29684                     Positive                          

1118.25818                     Positive                          

 773.10129                     Positive                          

 998.20361                     Positive                          

1213.30138                     Positive                          

1018.21271                     Positive                          

 948.18088                     Positive                          

1248.31730                     Positive                          

 658.04900                     Positive                          

1108.25364                     Positive                          

 623.03308                     Positive                          

1243.31503                     Positive                          

 718.07628                     Positive                          

1208.29911                     Positive                          

 733.08310                     Positive                          

 678.05809                     Positive                          

1198.29456                     Positive                          

 808.11721                     Positive                          

1268.32640                     Positive                          

 903.16041                     Positive                          

1008.20816                     Positive                          

1258.32185                     Positive                          

 698.06719                     Positive                          

 958.18542                     Positive                          

1028.21726                     Positive                          

1053.22862                     Positive                          

 713.07401                     Positive                          

 983.19679                     Positive                          

 798.11266                     Positive                          

1133.26500                     Positive                          

1048.22635                     Positive                          

 988.19907                     Positive                          

1033.21953                     Positive                          

 963.18770                     Positive                          

 888.15359                     Positive                          

 868.14450                     Positive                          

1163.27865                     Positive                          

1103.25136                     Positive                          

 668.05355                     Positive                          

 928.17178                     Positive                          

 803.11494                     Positive                          

 708.07174                     Positive                          

1183.28774                     Positive                          

1068.23545                     Positive                          

 933.17405                     Positive                          

1168.28092                     Positive                          

 898.15814                     Positive                          

1013.21043                     Positive                          

1273.32867                     Positive                          

1088.24454                     Positive                          

1003.20589                     Positive                          

 748.08993                     Positive                          

 638.03990                     Positive                          

 693.06491                     Positive                          

 608.02626                     Positive                          

1178.28547                     Positive                          

 968.18997                     Positive                          

 633.03763                     Positive                          

1148.27183                     Positive                          

 938.17633                     Positive                          

 643.04218                     Positive                          

1123.26046                     Positive                          

 683.06037                     Positive                          

 593.01944                     Positive                          

 943.17860                     Positive                          

1073.23772                     Positive                          

 653.04672                     Positive                          

1023.21498                     Positive                          

 853.13767                     Positive                          

1063.23317                     Positive                          

 673.05582                     Positive                          

1173.28319                     Positive                          

 603.02399                     Positive                          

1233.31048                     Positive                          

1093.24681                     Positive                          

 848.13540                     Positive                          

1043.22408                     Positive                          

1113.25591                     Positive                          

 778.10357                     Positive                          

 783.10584                     Positive                          

 863.14222                     Positive                          

 978.19452                     Positive                          

 703.06946                     Positive                          

 648.04445                     Positive                          

1138.26728                     Positive                          

 833.12858                     Positive                          

1098.24909                     Positive                          

 628.03536                     Positive                          

 858.13995                     Positive                          

1228.30821                     Positive                          

 973.19224                     Positive                          

 838.13085                     Positive                          

 878.14904                     Positive                          

1188.29002                     Positive                          

1218.30366                     Positive                          

1263.32412                     Positive                          

 883.15132                     Positive                          

 813.11948                     Positive                          

 843.13313                     Positive                          

1038.22180                     Positive                          

 938.17633                     Positive                          

1233.31048                     Positive                          

1053.22862                     Positive                          

1163.27865                     Positive                          

 663.05127                     Positive                          

 783.10584                     Positive                          

 793.11039                     Positive                          

 893.15586                     Positive                          

 648.04445                     Positive                          

1113.25591                     Positive                          

1213.30138                     Positive                          

1093.24681                     Positive                          

1058.23090                     Positive                          

 868.14450                     Positive                          

 918.16723                     Positive                          

 948.18088                     Positive                          

 728.08083                     Positive                          

 708.07174                     Positive                          

1088.24454                     Positive                          

 858.13995                     Positive                          

1028.21726                     Positive                          

 973.19224                     Positive                          

 643.04218                     Positive                          

1278.33094                     Positive                          

1168.28092                     Positive                          

 718.07628                     Positive                          

 838.13085                     Positive                          

 753.09220                     Positive                          

 958.18542                     Positive                          

 953.18315                     Positive                          

 788.10812                     Positive                          

 733.08310                     Positive                          

1173.28319                     Positive                          

 923.16951                     Positive                          

 588.01717                     Positive                          

 723.07856                     Positive                          

1068.23545                     Positive                          

 873.14677                     Positive                          

1203.29684                     Positive                          

1013.21043                     Positive                          

 768.09902                     Positive                          

 963.18770                     Positive                          

 808.11721                     Positive                          

 983.19679                     Positive                          

 928.17178                     Positive                          

1138.26728                     Positive                          

 848.13540                     Positive                          

 993.20134                     Positive                          

 618.03081                     Positive                          

1043.22408                     Positive                          

 878.14904                     Positive                          

1273.32867                     Positive                          

1243.31503                     Positive                          

1223.30593                     Positive                          

1218.30366                     Positive                          

 748.08993                     Positive                          

 598.02171                     Positive                          

1118.25818                     Positive                          

 583.01489                     Positive                          

1048.22635                     Positive                          

1158.27637                     Positive                          

 908.16269                     Positive                          

1193.29229                     Positive                          

 608.02626                     Positive                          

1208.29911                     Positive                          

1248.31730                     Positive                          

 673.05582                     Positive                          

1268.32640                     Positive                          

 843.13313                     Positive                          

1183.28774                     Positive                          

 833.12858                     Positive                          

1148.27183                     Positive                          

1078.23999                     Positive                          

1038.22180                     Positive                          

 998.20361                     Positive                          

1023.21498                     Positive                          

 633.03763                     Positive                          

 943.17860                     Positive                          

 698.06719                     Positive                          

 828.12631                     Positive                          

 813.11948                     Positive                          

 603.02399                     Positive                          

 853.13767                     Positive                          

 628.03536                     Positive                          

1153.27410                     Positive                          

 968.18997                     Positive                          

 978.19452                     Positive                          

 593.01944                     Positive                          

 668.05355                     Positive                          

1228.30821                     Positive                          

1198.29456                     Positive                          

 773.10129                     Positive                          

 798.11266                     Positive                          

1258.32185                     Positive                          

1238.31275                     Positive                          

 883.15132                     Positive                          

1003.20589                     Positive                          

1018.21271                     Positive                          

1108.25364                     Positive                          

 758.09447                     Positive                          

1103.25136                     Positive                          

1188.29002                     Positive                          

1008.20816                     Positive                          

1128.26273                     Positive                          

1073.23772                     Positive                          

1178.28547                     Positive                          

1143.26955                     Positive                          

1033.21953                     Positive                          

 823.12403                     Positive                          

 638.03990                     Positive                          

1098.24909                     Positive                          

 738.08538                     Positive                          

 933.17405                     Positive                          

 803.11494                     Positive                          

 658.04900                     Positive                          

 688.06264                     Positive                          

 613.02853                     Positive                          

 763.09675                     Positive                          

 693.06491                     Positive                          

 778.10357                     Positive                          

 898.15814                     Positive                          

1263.32412                     Positive                          

 913.16496                     Positive                          

 903.16041                     Positive                          

1063.23317                     Positive                          

1133.26500                     Positive                          

1123.26046                     Positive                          

 743.08765                     Positive                          

 703.06946                     Positive                          

 988.19907                     Positive                          

1083.24227                     Positive                          

 818.12176                     Positive                          

1253.31957                     Positive                          

 623.03308                     Positive                          

 863.14222                     Positive                          

 683.06037                     Positive                          

 653.04672                     Positive                          

 888.15359                     Positive                          

 713.07401                     Positive                          

 678.05809                     Positive                          

1008.20816                     Positive                          

 793.11039                     Positive                          

1263.32412                     Positive                          

1278.33094                     Positive                          

 613.02853                     Positive                          

1188.29002                     Positive                          

 948.18088                     Positive                          

 593.01944                     Positive                          

 963.18770                     Positive                          

1058.23090                     Positive                          

 838.13085                     Positive                          

 733.08310                     Positive                          

 608.02626                     Positive                          

1133.26500                     Positive                          

 928.17178                     Positive                          

 633.03763                     Positive                          

1248.31730                     Positive                          

1253.31957                     Positive                          

 678.05809                     Positive                          

 833.12858                     Positive                          

1268.32640                     Positive                          

 858.13995                     Positive                          

1033.21953                     Positive                          

1068.23545                     Positive                          

1273.32867                     Positive                          

 918.16723                     Positive                          

 598.02171                     Positive                          

1208.29911                     Positive                          

1218.30366                     Positive                          

 783.10584                     Positive                          

1173.28319                     Positive                          

1023.21498                     Positive                          

1148.27183                     Positive                          

 853.13767                     Positive                          

1198.29456                     Positive                          

 788.10812                     Positive                          

 828.12631                     Positive                          

 808.11721                     Positive                          

 923.16951                     Positive                          

1153.27410                     Positive                          

 728.08083                     Positive                          

 813.11948                     Positive                          

 908.16269                     Positive                          

 868.14450                     Positive                          

1118.25818                     Positive                          

 758.09447                     Positive                          

1258.32185                     Positive                          

 753.09220                     Positive                          

 683.06037                     Positive                          

 653.04672                     Positive                          

 603.02399                     Positive                          

1098.24909                     Positive                          

 773.10129                     Positive                          

 658.04900                     Positive                          

1163.27865                     Positive                          

 708.07174                     Positive                          

1018.21271                     Positive                          

1158.27637                     Positive                          

 743.08765                     Positive                          

 778.10357                     Positive                          

1123.26046                     Positive                          

 673.05582                     Positive                          

1043.22408                     Positive                          

1083.24227                     Positive                          

 883.15132                     Positive                          

 818.12176                     Positive                          

 893.15586                     Positive                          

1183.28774                     Positive                          

 973.19224                     Positive                          

1178.28547                     Positive                          

 763.09675                     Positive                          

 648.04445                     Positive                          

1013.21043                     Positive                          

 823.12403                     Positive                          

 713.07401                     Positive                          

1003.20589                     Positive                          

 768.09902                     Positive                          

 723.07856                     Positive                          

1048.22635                     Positive                          

 688.06264                     Positive                          

 958.18542                     Positive                          

 878.14904                     Positive                          

 848.13540                     Positive                          

 718.07628                     Positive                          

 993.20134                     Positive                          

 693.06491                     Positive                          

 983.19679                     Positive                          

 968.18997                     Positive                          

 938.17633                     Positive                          

1143.26955                     Positive                          

1093.24681                     Positive                          

 873.14677                     Positive                          

 623.03308                     Positive                          

1203.29684                     Positive                          

1138.26728                     Positive                          

 803.11494                     Positive                          

1168.28092                     Positive                          

1108.25364                     Positive                          

1228.30821                     Positive                          

 588.01717                     Positive                          

 638.03990                     Positive                          

1243.31503                     Positive                          

 988.19907                     Positive                          

1213.30138                     Positive                          

 663.05127                     Positive                          

 643.04218                     Positive                          

 748.08993                     Positive                          

 618.03081                     Positive                          

 738.08538                     Positive                          

1073.23772                     Positive                          

 863.14222                     Positive                          

 998.20361                     Positive                          

 898.15814                     Positive                          

1223.30593                     Positive                          

1103.25136                     Positive                          

 628.03536                     Positive                          

 668.05355                     Positive                          

1233.31048                     Positive                          

1088.24454                     Positive                          

1038.22180                     Positive                          

 698.06719                     Positive                          

 978.19452                     Positive                          

1028.21726                     Positive                          

 913.16496                     Positive                          

1063.23317                     Positive                          

 888.15359                     Positive                          

1053.22862                     Positive                          

1078.23999                     Positive                          

1128.26273                     Positive                          

 943.17860                     Positive                          

1193.29229                     Positive                          

 933.17405                     Positive                          

1238.31275                     Positive                          

 703.06946                     Positive                          

 953.18315                     Positive                          

 903.16041                     Positive                          

1113.25591                     Positive                          

 798.11266                     Positive                          

 583.01489                     Positive                          

 843.13313                     Positive                          

 823.12403                     Positive                          

 933.17405                     Positive                          

 758.09447                     Positive                          

1228.30821                     Positive                          

 988.19907                     Positive                          

1138.26728                     Positive                          

 853.13767                     Positive                          

 968.18997                     Positive                          

 888.15359                     Positive                          

 598.02171                     Positive                          

1133.26500                     Positive                          

1038.22180                     Positive                          

 713.07401                     Positive                          

1238.31275                     Positive                          

1128.26273                     Positive                          

1173.28319                     Positive                          

1043.22408                     Positive                          

1008.20816                     Positive                          

 613.02853                     Positive                          

 743.08765                     Positive                          

 858.13995                     Positive                          

1118.25818                     Positive                          

 948.18088                     Positive                          

 928.17178                     Positive                          

 893.15586                     Positive                          

1188.29002                     Positive                          

 978.19452                     Positive                          

 628.03536                     Positive                          

1243.31503                     Positive                          

 838.13085                     Positive                          

1198.29456                     Positive                          

 663.05127                     Positive                          

 953.18315                     Positive                          

 943.17860                     Positive                          

1003.20589                     Positive                          

 608.02626                     Positive                          

1233.31048                     Positive                          

 728.08083                     Positive                          

1178.28547                     Positive                          

1013.21043                     Positive                          

1163.27865                     Positive                          

1208.29911                     Positive                          

1153.27410                     Positive                          

 693.06491                     Positive                          

 993.20134                     Positive                          

1033.21953                     Positive                          

1023.21498                     Positive                          

 648.04445                     Positive                          

 738.08538                     Positive                          

 923.16951                     Positive                          

1183.28774                     Positive                          

1108.25364                     Positive                          

 938.17633                     Positive                          

1203.29684                     Positive                          

 683.06037                     Positive                          

 848.13540                     Positive                          

 843.13313                     Positive                          

 773.10129                     Positive                          

1078.23999                     Positive                          

1158.27637                     Positive                          

 908.16269                     Positive                          

1263.32412                     Positive                          

1143.26955                     Positive                          

 708.07174                     Positive                          

1073.23772                     Positive                          

 878.14904                     Positive                          

1098.24909                     Positive                          

1213.30138                     Positive                          

1268.32640                     Positive                          

 918.16723                     Positive                          

1048.22635                     Positive                          

 813.11948                     Positive                          

 913.16496                     Positive                          

 808.11721                     Positive                          

1068.23545                     Positive                          

 998.20361                     Positive                          

 748.08993                     Positive                          

 768.09902                     Positive                          

 763.09675                     Positive                          

 633.03763                     Positive                          

 623.03308                     Positive                          

1103.25136                     Positive                          

 788.10812                     Positive                          

1083.24227                     Positive                          

 778.10357                     Positive                          

 698.06719                     Positive                          

1193.29229                     Positive                          

 658.04900                     Positive                          

 733.08310                     Positive                          

1278.33094                     Positive                          

1113.25591                     Positive                          

 803.11494                     Positive                          

1223.30593                     Positive                          

 718.07628                     Positive                          

 783.10584                     Positive                          

 653.04672                     Positive                          

 868.14450                     Positive                          

 863.14222                     Positive                          

 903.16041                     Positive                          

1123.26046                     Positive                          

 583.01489                     Positive                          

 873.14677                     Positive                          

1248.31730                     Positive                          

 723.07856                     Positive                          

 668.05355                     Positive                          

1093.24681                     Positive                          

 833.12858                     Positive                          

1168.28092                     Positive                          

 603.02399                     Positive                          

 793.11039                     Positive                          

 703.06946                     Positive                          

 958.18542                     Positive                          

1218.30366                     Positive                          

1063.23317                     Positive                          

1028.21726                     Positive                          

 898.15814                     Positive                          

 588.01717                     Positive                          

1258.32185                     Positive                          

 983.19679                     Positive                          

 973.19224                     Positive                          

 688.06264                     Positive                          

1018.21271                     Positive                          

 753.09220                     Positive                          

 643.04218                     Positive                          

1273.32867                     Positive                          

 883.15132                     Positive                          

 593.01944                     Positive                          

1253.31957                     Positive                          

 963.18770                     Positive                          

 828.12631                     Positive                          

1053.22862                     Positive                          

1088.24454                     Positive                          

 673.05582                     Positive                          

1058.23090                     Positive                          

 818.12176                     Positive                          

1148.27183                     Positive                          

 798.11266                     Positive                          

 678.05809                     Positive                          

 618.03081                     Positive                          

 638.03990                     Positive                          

1248.31730                     Positive                          

 713.07401                     Positive                          

 893.15586                     Positive                          

 758.09447                     Positive                          

 978.19452                     Positive                          

1018.21271                     Positive                          

1238.31275                     Positive                          

1033.21953                     Positive                          

 823.12403                     Positive                          

1268.32640                     Positive                          

1193.29229                     Positive                          

 628.03536                     Positive                          

1108.25364                     Positive                          

1103.25136                     Positive                          

1123.26046                     Positive                          

1278.33094                     Positive                          

 728.08083                     Positive                          

 883.15132                     Positive                          

 923.16951                     Positive                          

 678.05809                     Positive                          

 658.04900                     Positive                          

 608.02626                     Positive                          

 973.19224                     Positive                          

 918.16723                     Positive                          

1228.30821                     Positive                          

 663.05127                     Positive                          

1078.23999                     Positive                          

 983.19679                     Positive                          

 593.01944                     Positive                          

1178.28547                     Positive                          

1138.26728                     Positive                          

1208.29911                     Positive                          

 833.12858                     Positive                          

1153.27410                     Positive                          

 943.17860                     Positive                          

1243.31503                     Positive                          

 693.06491                     Positive                          

1258.32185                     Positive                          

 783.10584                     Positive                          

 853.13767                     Positive                          

 623.03308                     Positive                          

1198.29456                     Positive                          

 643.04218                     Positive                          

 953.18315                     Positive                          

 618.03081                     Positive                          

 698.06719                     Positive                          

1163.27865                     Positive                          

 808.11721                     Positive                          

 948.18088                     Positive                          

1083.24227                     Positive                          

1063.23317                     Positive                          

 723.07856                     Positive                          

 898.15814                     Positive                          

 603.02399                     Positive                          

 843.13313                     Positive                          

 753.09220                     Positive                          

1188.29002                     Positive                          

1073.23772                     Positive                          

1183.28774                     Positive                          

1173.28319                     Positive                          

1008.20816                     Positive                          

1143.26955                     Positive                          

 878.14904                     Positive                          

 803.11494                     Positive                          

 683.06037                     Positive                          

 588.01717                     Positive                          

 838.13085                     Positive                          

1273.32867                     Positive                          

 778.10357                     Positive                          

 633.03763                     Positive                          

1048.22635                     Positive                          

 848.13540                     Positive                          

 613.02853                     Positive                          

1233.31048                     Positive                          

1213.30138                     Positive                          

 858.13995                     Positive                          

1128.26273                     Positive                          

1043.22408                     Positive                          

 688.06264                     Positive                          

 968.18997                     Positive                          

 788.10812                     Positive                          

 748.08993                     Positive                          

1093.24681                     Positive                          

 963.18770                     Positive                          

1168.28092                     Positive                          

 763.09675                     Positive                          

1148.27183                     Positive                          

 773.10129                     Positive                          

 673.05582                     Positive                          

 668.05355                     Positive                          

 993.20134                     Positive                          

 743.08765                     Positive                          

1223.30593                     Positive                          

1263.32412                     Positive                          

 648.04445                     Positive                          

1158.27637                     Positive                          

 708.07174                     Positive                          

 928.17178                     Positive                          

1023.21498                     Positive                          

 888.15359                     Positive                          

1053.22862                     Positive                          

 998.20361                     Positive                          

 768.09902                     Positive                          

 703.06946                     Positive                          

 738.08538                     Positive                          

 988.19907                     Positive                          

1058.23090                     Positive                          

1253.31957                     Positive                          

 598.02171                     Positive                          

 868.14450                     Positive                          

 873.14677                     Positive                          

 913.16496                     Positive                          

 903.16041                     Positive                          

1113.25591                     Positive                          

 638.03990                     Positive                          

1068.23545                     Positive                          

 933.17405                     Positive                          

1118.25818                     Positive                          

1088.24454                     Positive                          

1028.21726                     Positive                          

 798.11266                     Positive                          

 718.07628                     Positive                          

1098.24909                     Positive                          

1013.21043                     Positive                          

1003.20589                     Positive                          

 958.18542                     Positive                          

1203.29684                     Positive                          

 653.04672                     Positive                          

 828.12631                     Positive                          

1133.26500                     Positive                          

 813.11948                     Positive                          

 733.08310                     Positive                          

1218.30366                     Positive                          

 818.12176                     Positive                          

 938.17633                     Positive                          

1038.22180                     Positive                          

 583.01489                     Positive                          

 908.16269                     Positive                          

 793.11039                     Positive                          

 863.14222                     Positive                          

 678.05809                     Positive                          

 613.02853                     Positive                          

 628.03536                     Positive                          

 908.16269                     Positive                          

 888.15359                     Positive                          

1048.22635                     Positive                          

 858.13995                     Positive                          

 773.10129                     Positive                          

 923.16951                     Positive                          

1128.26273                     Positive                          

 978.19452                     Positive                          

1263.32412                     Positive                          

1193.29229                     Positive                          

 953.18315                     Positive                          

 818.12176                     Positive                          

 693.06491                     Positive                          

1113.25591                     Positive                          

 793.11039                     Positive                          

 673.05582                     Positive                          

 963.18770                     Positive                          

 853.13767                     Positive                          

 743.08765                     Positive                          

1153.27410                     Positive                          

1183.28774                     Positive                          

 948.18088                     Positive                          

 943.17860                     Positive                          

 658.04900                     Positive                          

 893.15586                     Positive                          

 863.14222                     Positive                          

 698.06719                     Positive                          

 598.02171                     Positive                          

 653.04672                     Positive                          

1023.21498                     Positive                          

 738.08538                     Positive                          

1188.29002                     Positive                          

 903.16041                     Positive                          

 838.13085                     Positive                          

 918.16723                     Positive                          

1083.24227                     Positive                          

 668.05355                     Positive                          

 938.17633                     Positive                          

 928.17178                     Positive                          

 813.11948                     Positive                          

 803.11494                     Positive                          

1053.22862                     Positive                          

1243.31503                     Positive                          

 973.19224                     Positive                          

1123.26046                     Positive                          

 868.14450                     Positive                          

 808.11721                     Positive                          

 843.13313                     Positive                          

 688.06264                     Positive                          

1278.33094                     Positive                          

1073.23772                     Positive                          

1018.21271                     Positive                          

1233.31048                     Positive                          

 718.07628                     Positive                          

 788.10812                     Positive                          

 883.15132                     Positive                          

 648.04445                     Positive                          

 798.11266                     Positive                          

1143.26955                     Positive                          

 823.12403                     Positive                          

1078.23999                     Positive                          

 683.06037                     Positive                          

 988.19907                     Positive                          

 633.03763                     Positive                          

 833.12858                     Positive                          

 898.15814                     Positive                          

 728.08083                     Positive                          

 618.03081                     Positive                          

1068.23545                     Positive                          

1178.28547                     Positive                          

1133.26500                     Positive                          

1118.25818                     Positive                          

1163.27865                     Positive                          

 878.14904                     Positive                          

 968.18997                     Positive                          

 608.02626                     Positive                          

1203.29684                     Positive                          

 768.09902                     Positive                          

1098.24909                     Positive                          

1148.27183                     Positive                          

 848.13540                     Positive                          

 588.01717                     Positive                          

 933.17405                     Positive                          

 663.05127                     Positive                          

1238.31275                     Positive                          

1228.30821                     Positive                          

 993.20134                     Positive                          

 733.08310                     Positive                          

 708.07174                     Positive                          

 603.02399                     Positive                          

 638.03990                     Positive                          

1218.30366                     Positive                          

 758.09447                     Positive                          

1248.31730                     Positive                          

 778.10357                     Positive                          

 593.01944                     Positive                          

1198.29456                     Positive                          

 783.10584                     Positive                          

1058.23090                     Positive                          

 828.12631                     Positive                          

 748.08993                     Positive                          

1088.24454                     Positive                          

 583.01489                     Positive                          

 998.20361                     Positive                          

1253.31957                     Positive                          

1043.22408                     Positive                          

 723.07856                     Positive                          

 753.09220                     Positive                          

1208.29911                     Positive                          

1003.20589                     Positive                          

1258.32185                     Positive                          

1173.28319                     Positive                          

 623.03308                     Positive                          

1008.20816                     Positive                          

 763.09675                     Positive                          

1028.21726                     Positive                          

 873.14677                     Positive                          

1273.32867                     Positive                          

 643.04218                     Positive                          

1093.24681                     Positive                          

1138.26728                     Positive                          

1223.30593                     Positive                          

1268.32640                     Positive                          

1038.22180                     Positive                          

 713.07401                     Positive                          

1213.30138                     Positive                          

1063.23317                     Positive                          

1168.28092                     Positive                          

 913.16496                     Positive                          

1158.27637                     Positive                          

 703.06946                     Positive                          

1103.25136                     Positive                          

 983.19679                     Positive                          

 958.18542                     Positive                          

1108.25364                     Positive                          

1033.21953                     Positive                          

1013.21043                     Positive                          

 723.07856                     Positive                          

 843.13313                     Positive                          

1068.23545                     Positive                          

1123.26046                     Positive                          

 893.15586                     Positive                          

1273.32867                     Positive                          

 653.04672                     Positive                          

1108.25364                     Positive                          

 683.06037                     Positive                          

 813.11948                     Positive                          

1003.20589                     Positive                          

 983.19679                     Positive                          

1008.20816                     Positive                          

 588.01717                     Positive                          

1203.29684                     Positive                          

 693.06491                     Positive                          

 613.02853                     Positive                          

1088.24454                     Positive                          

1073.23772                     Positive                          

 883.15132                     Positive                          

 623.03308                     Positive                          

 703.06946                     Positive                          

1098.24909                     Positive                          

1078.23999                     Positive                          

1113.25591                     Positive                          

1033.21953                     Positive                          

1173.28319                     Positive                          

1138.26728                     Positive                          

 668.05355                     Positive                          

1253.31957                     Positive                          

1048.22635                     Positive                          

1053.22862                     Positive                          

 938.17633                     Positive                          

 768.09902                     Positive                          

1198.29456                     Positive                          

1183.28774                     Positive                          

 733.08310                     Positive                          

1083.24227                     Positive                          

1128.26273                     Positive                          

 783.10584                     Positive                          

 748.08993                     Positive                          

 603.02399                     Positive                          

 903.16041                     Positive                          

 908.16269                     Positive                          

 728.08083                     Positive                          

 803.11494                     Positive                          

 948.18088                     Positive                          

 763.09675                     Positive                          

 833.12858                     Positive                          

 973.19224                     Positive                          

1213.30138                     Positive                          

 873.14677                     Positive                          

1058.23090                     Positive                          

 688.06264                     Positive                          

 718.07628                     Positive                          

 593.01944                     Positive                          

 898.15814                     Positive                          

 958.18542                     Positive                          

 828.12631                     Positive                          

 858.13995                     Positive                          

1118.25818                     Positive                          

 618.03081                     Positive                          

 993.20134                     Positive                          

1188.29002                     Positive                          

 923.16951                     Positive                          

 673.05582                     Positive                          

1133.26500                     Positive                          

1228.30821                     Positive                          

1018.21271                     Positive                          

1223.30593                     Positive                          

 678.05809                     Positive                          

 838.13085                     Positive                          

1208.29911                     Positive                          

 658.04900                     Positive                          

1013.21043                     Positive                          

 863.14222                     Positive                          

 788.10812                     Positive                          

 608.02626                     Positive                          

1243.31503                     Positive                          

 598.02171                     Positive                          

1023.21498                     Positive                          

 713.07401                     Positive                          

 953.18315                     Positive                          

 638.03990                     Positive                          

 978.19452                     Positive                          

1233.31048                     Positive                          

 853.13767                     Positive                          

 708.07174                     Positive                          

1143.26955                     Positive                          

 913.16496                     Positive                          

 753.09220                     Positive                          

1193.29229                     Positive                          

1148.27183                     Positive                          

1163.27865                     Positive                          

 988.19907                     Positive                          

1093.24681                     Positive                          

 823.12403                     Positive                          

1278.33094                     Positive                          

 848.13540                     Positive                          

 818.12176                     Positive                          

 798.11266                     Positive                          

 928.17178                     Positive                          

 998.20361                     Positive                          

 963.18770                     Positive                          

1238.31275                     Positive                          

 888.15359                     Positive                          

1028.21726                     Positive                          

 583.01489                     Positive                          

 808.11721                     Positive                          

 968.18997                     Positive                          

1258.32185                     Positive                          

1168.28092                     Positive                          

 778.10357                     Positive                          

 773.10129                     Positive                          

1178.28547                     Positive                          

 793.11039                     Positive                          

 633.03763                     Positive                          

 868.14450                     Positive                          

1158.27637                     Positive                          

 933.17405                     Positive                          

 648.04445                     Positive                          

1063.23317                     Positive                          

 878.14904                     Positive                          

 698.06719                     Positive                          

1248.31730                     Positive                          

1218.30366                     Positive                          

1153.27410                     Positive                          

 738.08538                     Positive                          

 663.05127                     Positive                          

1268.32640                     Positive                          

1263.32412                     Positive                          

1043.22408                     Positive                          

 758.09447                     Positive                          

 643.04218                     Positive                          

1038.22180                     Positive                          

 628.03536                     Positive                          

 943.17860                     Positive                          

 743.08765                     Positive                          

 918.16723                     Positive                          

1103.25136                     Positive                          

 843.13313                     Positive                          

1233.31048                     Positive                          

1098.24909                     Positive                          

 643.04218                     Positive                          

 883.15132                     Positive                          

1203.29684                     Positive                          

 808.11721                     Positive                          

1278.33094                     Positive                          

 828.12631                     Positive                          

1008.20816                     Positive                          

 768.09902                     Positive                          

 933.17405                     Positive                          

1108.25364                     Positive                          

 988.19907                     Positive                          

 873.14677                     Positive                          

 953.18315                     Positive                          

 613.02853                     Positive                          

1168.28092                     Positive                          

 653.04672                     Positive                          

 703.06946                     Positive                          

 738.08538                     Positive                          

 838.13085                     Positive                          

 783.10584                     Positive                          

 983.19679                     Positive                          

 603.02399                     Positive                          

1028.21726                     Positive                          

 918.16723                     Positive                          

1073.23772                     Positive                          

1103.25136                     Positive                          

1243.31503                     Positive                          

1208.29911                     Positive                          

 878.14904                     Positive                          

1223.30593                     Positive                          

 998.20361                     Positive                          

 608.02626                     Positive                          

1173.28319                     Positive                          

1013.21043                     Positive                          

1183.28774                     Positive                          

 673.05582                     Positive                          

1258.32185                     Positive                          

 778.10357                     Positive                          

 708.07174                     Positive                          

 788.10812                     Positive                          

1273.32867                     Positive                          

 718.07628                     Positive                          

 968.18997                     Positive                          

1088.24454                     Positive                          

 893.15586                     Positive                          

 908.16269                     Positive                          

1178.28547                     Positive                          

1093.24681                     Positive                          

 948.18088                     Positive                          

 798.11266                     Positive                          

 663.05127                     Positive                          

1148.27183                     Positive                          

 743.08765                     Positive                          

1118.25818                     Positive                          

 623.03308                     Positive                          

1018.21271                     Positive                          

 848.13540                     Positive                          

1218.30366                     Positive                          

1123.26046                     Positive                          

1078.23999                     Positive                          

1113.25591                     Positive                          

 853.13767                     Positive                          

 973.19224                     Positive                          

 733.08310                     Positive                          

 668.05355                     Positive                          

 758.09447                     Positive                          

1048.22635                     Positive                          

1158.27637                     Positive                          

 693.06491                     Positive                          

 858.13995                     Positive                          

1058.23090                     Positive                          

 658.04900                     Positive                          

 978.19452                     Positive                          

 583.01489                     Positive                          

1138.26728                     Positive                          

 688.06264                     Positive                          

1213.30138                     Positive                          

 818.12176                     Positive                          

 713.07401                     Positive                          

1263.32412                     Positive                          

 833.12858                     Positive                          

1238.31275                     Positive                          

 678.05809                     Positive                          

 793.11039                     Positive                          

 723.07856                     Positive                          

 813.11948                     Positive                          

1033.21953                     Positive                          

1153.27410                     Positive                          

 898.15814                     Positive                          

 888.15359                     Positive                          

 938.17633                     Positive                          

 638.03990                     Positive                          

 748.08993                     Positive                          

1163.27865                     Positive                          

1083.24227                     Positive                          

1068.23545                     Positive                          

1248.31730                     Positive                          

 598.02171                     Positive                          

 728.08083                     Positive                          

 773.10129                     Positive                          

 753.09220                     Positive                          

1128.26273                     Positive                          

 618.03081                     Positive                          

1268.32640                     Positive                          

 913.16496                     Positive                          

 868.14450                     Positive                          

 943.17860                     Positive                          

1038.22180                     Positive                          

1228.30821                     Positive                          

 593.01944                     Positive                          

 803.11494                     Positive                          

1193.29229                     Positive                          

1023.21498                     Positive                          

 958.18542                     Positive                          

 648.04445                     Positive                          

 823.12403                     Positive                          

 923.16951                     Positive                          

1188.29002                     Positive                          

1253.31957                     Positive                          

1043.22408                     Positive                          

 928.17178                     Positive                          

 683.06037                     Positive                          

1133.26500                     Positive                          

 698.06719                     Positive                          

 763.09675                     Positive                          

 963.18770                     Positive                          

 863.14222                     Positive                          

1063.23317                     Positive                          

 588.01717                     Positive                          

1143.26955                     Positive                          

 628.03536                     Positive                          

 633.03763                     Positive                          

1198.29456                     Positive                          

1003.20589                     Positive                          

1053.22862                     Positive                          

 903.16041                     Positive                          

 993.20134                     Positive                          

 793.11039                     Positive                          

 933.17405                     Positive                          

1173.28319                     Positive                          

1038.22180                     Positive                          

 908.16269                     Positive                          

 993.20134                     Positive                          

1278.33094                     Positive                          

 893.15586                     Positive                          

1148.27183                     Positive                          

1253.31957                     Positive                          

 753.09220                     Positive                          

1243.31503                     Positive                          

1138.26728                     Positive                          

1083.24227                     Positive                          

1193.29229                     Positive                          

 683.06037                     Positive                          

1203.29684                     Positive                          

 818.12176                     Positive                          

 918.16723                     Positive                          

 978.19452                     Positive                          

 718.07628                     Positive                          

 863.14222                     Positive                          

 628.03536                     Positive                          

1068.23545                     Positive                          

 788.10812                     Positive                          

 688.06264                     Positive                          

1008.20816                     Positive                          

1158.27637                     Positive                          

1273.32867                     Positive                          

 713.07401                     Positive                          

 583.01489                     Positive                          

1133.26500                     Positive                          

 913.16496                     Positive                          

 648.04445                     Positive                          

 798.11266                     Positive                          

 623.03308                     Positive                          

1143.26955                     Positive                          

1258.32185                     Positive                          

1023.21498                     Positive                          

 728.08083                     Positive                          

1103.25136                     Positive                          

 758.09447                     Positive                          

 843.13313                     Positive                          

 838.13085                     Positive                          

 693.06491                     Positive                          

 633.03763                     Positive                          

 973.19224                     Positive                          

1183.28774                     Positive                          

 678.05809                     Positive                          

 988.19907                     Positive                          

 903.16041                     Positive                          

 663.05127                     Positive                          

 808.11721                     Positive                          

 928.17178                     Positive                          

1208.29911                     Positive                          

1078.23999                     Positive                          

1268.32640                     Positive                          

 848.13540                     Positive                          

 953.18315                     Positive                          

1168.28092                     Positive                          

 858.13995                     Positive                          

1178.28547                     Positive                          

1218.30366                     Positive                          

 668.05355                     Positive                          

1233.31048                     Positive                          

1238.31275                     Positive                          

 878.14904                     Positive                          

 638.03990                     Positive                          

 773.10129                     Positive                          

1108.25364                     Positive                          

 603.02399                     Positive                          

1058.23090                     Positive                          

 828.12631                     Positive                          

1198.29456                     Positive                          

 598.02171                     Positive                          

 998.20361                     Positive                          

1248.31730                     Positive                          

1223.30593                     Positive                          

 888.15359                     Positive                          

 733.08310                     Positive                          

1113.25591                     Positive                          

 873.14677                     Positive                          

 898.15814                     Positive                          

1053.22862                     Positive                          

 588.01717                     Positive                          

 938.17633                     Positive                          

1263.32412                     Positive                          

 703.06946                     Positive                          

 673.05582                     Positive                          

1128.26273                     Positive                          

1018.21271                     Positive                          

 738.08538                     Positive                          

 883.15132                     Positive                          

 853.13767                     Positive                          

 618.03081                     Positive                          

1003.20589                     Positive                          

 643.04218                     Positive                          

 768.09902                     Positive                          

1033.21953                     Positive                          

1088.24454                     Positive                          

 783.10584                     Positive                          

 698.06719                     Positive                          

 803.11494                     Positive                          

1093.24681                     Positive                          

 943.17860                     Positive                          

 613.02853                     Positive                          

 723.07856                     Positive                          

 983.19679                     Positive                          

 833.12858                     Positive                          

 923.16951                     Positive                          

 763.09675                     Positive                          

1073.23772                     Positive                          

1043.22408                     Positive                          

 963.18770                     Positive                          

1228.30821                     Positive                          

 958.18542                     Positive                          

1048.22635                     Positive                          

 658.04900                     Positive                          

1098.24909                     Positive                          

1028.21726                     Positive                          

1163.27865                     Positive                          

1013.21043                     Positive                          

 653.04672                     Positive                          

 748.08993                     Positive                          

 823.12403                     Positive                          

 778.10357                     Positive                          

1123.26046                     Positive                          

1188.29002                     Positive                          

 743.08765                     Positive                          

 813.11948                     Positive                          

 593.01944                     Positive                          

1213.30138                     Positive                          

 708.07174                     Positive                          

 948.18088                     Positive                          

1153.27410                     Positive                          

 608.02626                     Positive                          

 868.14450                     Positive                          

1063.23317                     Positive                          

 968.18997                     Positive                          

1118.25818                     Positive                          

1123.26046                     Positive                          

 803.11494                     Positive                          

 983.19679                     Positive                          

1118.25818                     Positive                          

 628.03536                     Positive                          

 708.07174                     Positive                          

 793.11039                     Positive                          

 668.05355                     Positive                          

 758.09447                     Positive                          

 963.18770                     Positive                          

1243.31503                     Positive                          

 738.08538                     Positive                          

 933.17405                     Positive                          

 878.14904                     Positive                          

1108.25364                     Positive                          

1198.29456                     Positive                          

 618.03081                     Positive                          

1143.26955                     Positive                          

 828.12631                     Positive                          

 773.10129                     Positive                          

 818.12176                     Positive                          

1163.27865                     Positive                          

1128.26273                     Positive                          

 888.15359                     Positive                          

 583.01489                     Positive                          

 768.09902                     Positive                          

1278.33094                     Positive                          

1023.21498                     Positive                          

 923.16951                     Positive                          

 863.14222                     Positive                          

1083.24227                     Positive                          

 928.17178                     Positive                          

 688.06264                     Positive                          

 623.03308                     Positive                          

1223.30593                     Positive                          

 948.18088                     Positive                          

 838.13085                     Positive                          

 633.03763                     Positive                          

 883.15132                     Positive                          

 643.04218                     Positive                          

 743.08765                     Positive                          

 608.02626                     Positive                          

1098.24909                     Positive                          

1068.23545                     Positive                          

1008.20816                     Positive                          

1073.23772                     Positive                          

 678.05809                     Positive                          

 968.18997                     Positive                          

 813.11948                     Positive                          

1113.25591                     Positive                          

 718.07628                     Positive                          

 663.05127                     Positive                          

1133.26500                     Positive                          

 703.06946                     Positive                          

 843.13313                     Positive                          

1208.29911                     Positive                          

 958.18542                     Positive                          

 673.05582                     Positive                          

 908.16269                     Positive                          

1213.30138                     Positive                          

1038.22180                     Positive                          

1018.21271                     Positive                          

 918.16723                     Positive                          

 748.08993                     Positive                          

 993.20134                     Positive                          

 988.19907                     Positive                          

1028.21726                     Positive                          

1248.31730                     Positive                          

 598.02171                     Positive                          

1268.32640                     Positive                          

1158.27637                     Positive                          

 938.17633                     Positive                          

1173.28319                     Positive                          

 698.06719                     Positive                          

 973.19224                     Positive                          

1148.27183                     Positive                          

 853.13767                     Positive                          

1103.25136                     Positive                          

1218.30366                     Positive                          

 848.13540                     Positive                          

1238.31275                     Positive                          

 658.04900                     Positive                          

 873.14677                     Positive                          

 998.20361                     Positive                          

 648.04445                     Positive                          

1138.26728                     Positive                          

1253.31957                     Positive                          

 943.17860                     Positive                          

 823.12403                     Positive                          

 868.14450                     Positive                          

1053.22862                     Positive                          

 588.01717                     Positive                          

 978.19452                     Positive                          

1048.22635                     Positive                          

 763.09675                     Positive                          

1003.20589                     Positive                          

 713.07401                     Positive                          

1233.31048                     Positive                          

1033.21953                     Positive                          

1168.28092                     Positive                          

1263.32412                     Positive                          

 953.18315                     Positive                          

 728.08083                     Positive                          

1203.29684                     Positive                          

 638.03990                     Positive                          

1273.32867                     Positive                          

 753.09220                     Positive                          

 858.13995                     Positive                          

 653.04672                     Positive                          

1088.24454                     Positive                          

1183.28774                     Positive                          

1093.24681                     Positive                          

 898.15814                     Positive                          

1043.22408                     Positive                          

1078.23999                     Positive                          

 593.01944                     Positive                          

 903.16041                     Positive                          

1228.30821                     Positive                          

 693.06491                     Positive                          

 893.15586                     Positive                          

 683.06037                     Positive                          

1013.21043                     Positive                          

1153.27410                     Positive                          

 783.10584                     Positive                          

1188.29002                     Positive                          

 733.08310                     Positive                          

1193.29229                     Positive                          

1063.23317                     Positive                          

1258.32185                     Positive                          

 833.12858                     Positive                          

 778.10357                     Positive                          

1058.23090                     Positive                          

 613.02853                     Positive                          

 798.11266                     Positive                          

 808.11721                     Positive                          

1178.28547                     Positive                          

 913.16496                     Positive                          

 603.02399                     Positive                          

 788.10812                     Positive                          

 723.07856                     Positive                          

1078.23999                     Positive                          

1108.25364                     Positive                          

 708.07174                     Positive                          

1253.31957                     Positive                          

1148.27183                     Positive                          

 713.07401                     Positive                          

1143.26955                     Positive                          

1278.33094                     Positive                          

 618.03081                     Positive                          

1013.21043                     Positive                          

1158.27637                     Positive                          

1063.23317                     Positive                          

 623.03308                     Positive                          

1068.23545                     Positive                          

1048.22635                     Positive                          

 868.14450                     Positive                          

 788.10812                     Positive                          

1138.26728                     Positive                          

1188.29002                     Positive                          

 973.19224                     Positive                          

1203.29684                     Positive                          

1248.31730                     Positive                          

1073.23772                     Positive                          

 823.12403                     Positive                          

 853.13767                     Positive                          

 998.20361                     Positive                          

 958.18542                     Positive                          

 633.03763                     Positive                          

1233.31048                     Positive                          

 813.11948                     Positive                          

 818.12176                     Positive                          

1173.28319                     Positive                          

1153.27410                     Positive                          

 583.01489                     Positive                          

 648.04445                     Positive                          

 983.19679                     Positive                          

1258.32185                     Positive                          

1193.29229                     Positive                          

1093.24681                     Positive                          

 678.05809                     Positive                          

1033.21953                     Positive                          

 598.02171                     Positive                          

 628.03536                     Positive                          

1218.30366                     Positive                          

1183.28774                     Positive                          

 828.12631                     Positive                          

1098.24909                     Positive                          

1178.28547                     Positive                          

 743.08765                     Positive                          

 733.08310                     Positive                          

 728.08083                     Positive                          

 748.08993                     Positive                          

 978.19452                     Positive                          

 838.13085                     Positive                          

 778.10357                     Positive                          

 988.19907                     Positive                          

 803.11494                     Positive                          

1018.21271                     Positive                          

 963.18770                     Positive                          

1028.21726                     Positive                          

 738.08538                     Positive                          

 833.12858                     Positive                          

 953.18315                     Positive                          

 938.17633                     Positive                          

 668.05355                     Positive                          

 698.06719                     Positive                          

 593.01944                     Positive                          

 923.16951                     Positive                          

 918.16723                     Positive                          

1228.30821                     Positive                          

1243.31503                     Positive                          

 723.07856                     Positive                          

1168.28092                     Positive                          

 758.09447                     Positive                          

 793.11039                     Positive                          

 878.14904                     Positive                          

 888.15359                     Positive                          

1103.25136                     Positive                          

 763.09675                     Positive                          

 883.15132                     Positive                          

 613.02853                     Positive                          

 768.09902                     Positive                          

 968.18997                     Positive                          

1238.31275                     Positive                          

 773.10129                     Positive                          

1128.26273                     Positive                          

 718.07628                     Positive                          

 608.02626                     Positive                          

 673.05582                     Positive                          

 603.02399                     Positive                          

1163.27865                     Positive                          

1273.32867                     Positive                          

 948.18088                     Positive                          

1133.26500                     Positive                          

 903.16041                     Positive                          

 643.04218                     Positive                          

 783.10584                     Positive                          

 993.20134                     Positive                          

1038.22180                     Positive                          

 913.16496                     Positive                          

 933.17405                     Positive                          

1223.30593                     Positive                          

 858.13995                     Positive                          

 863.14222                     Positive                          

 753.09220                     Positive                          

 943.17860                     Positive                          

1053.22862                     Positive                          

 908.16269                     Positive                          

1008.20816                     Positive                          

 663.05127                     Positive                          

 683.06037                     Positive                          

 808.11721                     Positive                          

1088.24454                     Positive                          

1023.21498                     Positive                          

1083.24227                     Positive                          

 588.01717                     Positive                          

 798.11266                     Positive                          

1268.32640                     Positive                          

 693.06491                     Positive                          

 703.06946                     Positive                          

1208.29911                     Positive                          

1263.32412                     Positive                          

1213.30138                     Positive                          

1198.29456                     Positive                          

 843.13313                     Positive                          

 848.13540                     Positive                          

1043.22408                     Positive                          

1058.23090                     Positive                          

 928.17178                     Positive                          

 893.15586                     Positive                          

 898.15814                     Positive                          

1123.26046                     Positive                          

1113.25591                     Positive                          

 653.04672                     Positive                          

1118.25818                     Positive                          

 658.04900                     Positive                          

1003.20589                     Positive                          

 873.14677                     Positive                          

 638.03990                     Positive                          

 688.06264                     Positive                          

1138.26728                     Positive                          

 653.04672                     Positive                          

1038.22180                     Positive                          

1008.20816                     Positive                          

 963.18770                     Positive                          

 583.01489                     Positive                          

1158.27637                     Positive                          

 753.09220                     Positive                          

 798.11266                     Positive                          

1023.21498                     Positive                          

 873.14677                     Positive                          

1243.31503                     Positive                          

 993.20134                     Positive                          

 948.18088                     Positive                          

 663.05127                     Positive                          

 713.07401                     Positive                          

 943.17860                     Positive                          

1223.30593                     Positive                          

 728.08083                     Positive                          

1273.32867                     Positive                          

1003.20589                     Positive                          

 698.06719                     Positive                          

 818.12176                     Positive                          

1228.30821                     Positive                          

 843.13313                     Positive                          

 708.07174                     Positive                          

 903.16041                     Positive                          

 593.01944                     Positive                          

 648.04445                     Positive                          

1163.27865                     Positive                          

 778.10357                     Positive                          

 723.07856                     Positive                          

1063.23317                     Positive                          

 933.17405                     Positive                          

1248.31730                     Positive                          

1093.24681                     Positive                          

 858.13995                     Positive                          

 683.06037                     Positive                          

1183.28774                     Positive                          

 968.18997                     Positive                          

1143.26955                     Positive                          

1203.29684                     Positive                          

 638.03990                     Positive                          

1133.26500                     Positive                          

1103.25136                     Positive                          

1033.21953                     Positive                          

 588.01717                     Positive                          

 913.16496                     Positive                          

 703.06946                     Positive                          

 783.10584                     Positive                          

1018.21271                     Positive                          

 608.02626                     Positive                          

 808.11721                     Positive                          

 918.16723                     Positive                          

1148.27183                     Positive                          

1043.22408                     Positive                          

 953.18315                     Positive                          

1053.22862                     Positive                          

1178.28547                     Positive                          

 758.09447                     Positive                          

 718.07628                     Positive                          

1188.29002                     Positive                          

1078.23999                     Positive                          

 803.11494                     Positive                          

 603.02399                     Positive                          

1083.24227                     Positive                          

 893.15586                     Positive                          

 768.09902                     Positive                          

 978.19452                     Positive                          

 633.03763                     Positive                          

1218.30366                     Positive                          

1088.24454                     Positive                          

1098.24909                     Positive                          

 763.09675                     Positive                          

 983.19679                     Positive                          

1173.28319                     Positive                          

1168.28092                     Positive                          

 823.12403                     Positive                          

 928.17178                     Positive                          

1058.23090                     Positive                          

 738.08538                     Positive                          

 908.16269                     Positive                          

1208.29911                     Positive                          

 973.19224                     Positive                          

1028.21726                     Positive                          

1193.29229                     Positive                          

 618.03081                     Positive                          

 673.05582                     Positive                          

 923.16951                     Positive                          

1238.31275                     Positive                          

1278.33094                     Positive                          

 898.15814                     Positive                          

1123.26046                     Positive                          

1253.31957                     Positive                          

 813.11948                     Positive                          

 878.14904                     Positive                          

 773.10129                     Positive                          

 853.13767                     Positive                          

 833.12858                     Positive                          

1013.21043                     Positive                          

 788.10812                     Positive                          

 888.15359                     Positive                          

 658.04900                     Positive                          

 643.04218                     Positive                          

 793.11039                     Positive                          

1048.22635                     Positive                          

1108.25364                     Positive                          

 998.20361                     Positive                          

 958.18542                     Positive                          

 863.14222                     Positive                          

1233.31048                     Positive                          

1113.25591                     Positive                          

 668.05355                     Positive                          

 988.19907                     Positive                          

 693.06491                     Positive                          

 848.13540                     Positive                          

 733.08310                     Positive                          

 688.06264                     Positive                          

1258.32185                     Positive                          

 598.02171                     Positive                          

 838.13085                     Positive                          

1268.32640                     Positive                          

 613.02853                     Positive                          

 828.12631                     Positive                          

1198.29456                     Positive                          

1073.23772                     Positive                          

 868.14450                     Positive                          

 743.08765                     Positive                          

 623.03308                     Positive                          

1128.26273                     Positive                          

 628.03536                     Positive                          

1213.30138                     Positive                          

 748.08993                     Positive                          

 678.05809                     Positive                          

1263.32412                     Positive                          

1118.25818                     Positive                          

 938.17633                     Positive                          

1068.23545                     Positive                          

1153.27410                     Positive                          

 883.15132                     Positive                          

1008.20816                     Positive                          

 953.18315                     Positive                          

 918.16723                     Positive                          

1248.31730                     Positive                          

 858.13995                     Positive                          

1073.23772                     Positive                          

 778.10357                     Positive                          

 598.02171                     Positive                          

 898.15814                     Positive                          

 943.17860                     Positive                          

 638.03990                     Positive                          

 848.13540                     Positive                          

1268.32640                     Positive                          

 933.17405                     Positive                          

 683.06037                     Positive                          

 993.20134                     Positive                          

 728.08083                     Positive                          

 718.07628                     Positive                          

1063.23317                     Positive                          

1148.27183                     Positive                          

1263.32412                     Positive                          

 738.08538                     Positive                          

 658.04900                     Positive                          

1033.21953                     Positive                          

1228.30821                     Positive                          

1258.32185                     Positive                          

1088.24454                     Positive                          

1213.30138                     Positive                          

 923.16951                     Positive                          

 743.08765                     Positive                          

 963.18770                     Positive                          

 783.10584                     Positive                          

 758.09447                     Positive                          

1223.30593                     Positive                          

 813.11948                     Positive                          

1188.29002                     Positive                          

1273.32867                     Positive                          

 863.14222                     Positive                          

 803.11494                     Positive                          

1178.28547                     Positive                          

 838.13085                     Positive                          

1253.31957                     Positive                          

 618.03081                     Positive                          

 603.02399                     Positive                          

1103.25136                     Positive                          

 828.12631                     Positive                          

1113.25591                     Positive                          

 833.12858                     Positive                          

 613.02853                     Positive                          

 818.12176                     Positive                          

 648.04445                     Positive                          

1118.25818                     Positive                          

1163.27865                     Positive                          

1108.25364                     Positive                          

 853.13767                     Positive                          

 688.06264                     Positive                          

 698.06719                     Positive                          

 883.15132                     Positive                          

 998.20361                     Positive                          

 628.03536                     Positive                          

1168.28092                     Positive                          

1003.20589                     Positive                          

1043.22408                     Positive                          

1138.26728                     Positive                          

 878.14904                     Positive                          

 913.16496                     Positive                          

 938.17633                     Positive                          

 773.10129                     Positive                          

1143.26955                     Positive                          

1048.22635                     Positive                          

1128.26273                     Positive                          

1153.27410                     Positive                          

1018.21271                     Positive                          

1218.30366                     Positive                          

 593.01944                     Positive                          

 588.01717                     Positive                          

1233.31048                     Positive                          

 768.09902                     Positive                          

 793.11039                     Positive                          

 608.02626                     Positive                          

 733.08310                     Positive                          

 663.05127                     Positive                          

1038.22180                     Positive                          

 703.06946                     Positive                          

 808.11721                     Positive                          

1123.26046                     Positive                          

1098.24909                     Positive                          

 753.09220                     Positive                          

1173.28319                     Positive                          

1198.29456                     Positive                          

 968.18997                     Positive                          

 928.17178                     Positive                          

 843.13313                     Positive                          

 623.03308                     Positive                          

 673.05582                     Positive                          

 823.12403                     Positive                          

1278.33094                     Positive                          

 873.14677                     Positive                          

1183.28774                     Positive                          

 678.05809                     Positive                          

 948.18088                     Positive                          

 888.15359                     Positive                          

 973.19224                     Positive                          

1158.27637                     Positive                          

 868.14450                     Positive                          

1023.21498                     Positive                          

 748.08993                     Positive                          

1208.29911                     Positive                          

1238.31275                     Positive                          

1203.29684                     Positive                          

 988.19907                     Positive                          

 908.16269                     Positive                          

1243.31503                     Positive                          

 713.07401                     Positive                          

 763.09675                     Positive                          

 903.16041                     Positive                          

 723.07856                     Positive                          

 643.04218                     Positive                          

 693.06491                     Positive                          

 653.04672                     Positive                          

1078.23999                     Positive                          

 958.18542                     Positive                          

 583.01489                     Positive                          

1193.29229                     Positive                          

1068.23545                     Positive                          

 983.19679                     Positive                          

 668.05355                     Positive                          

 788.10812                     Positive                          

1133.26500                     Positive                          

1083.24227                     Positive                          

 978.19452                     Positive                          

1013.21043                     Positive                          

1058.23090                     Positive                          

1053.22862                     Positive                          

 708.07174                     Positive                          

 798.11266                     Positive                          

 893.15586                     Positive                          

1093.24681                     Positive                          

 633.03763                     Positive                          

1028.21726                     Positive                          

 678.05809                     Positive                          

 823.12403                     Positive                          

1128.26273                     Positive                          

 898.15814                     Positive                          

 773.10129                     Positive                          

1008.20816                     Positive                          

1018.21271                     Positive                          

1153.27410                     Positive                          

 833.12858                     Positive                          

1048.22635                     Positive                          

 803.11494                     Positive                          

 893.15586                     Positive                          

1098.24909                     Positive                          

1108.25364                     Positive                          

 908.16269                     Positive                          

1063.23317                     Positive                          

 668.05355                     Positive                          

 753.09220                     Positive                          

 938.17633                     Positive                          

 998.20361                     Positive                          

 808.11721                     Positive                          

1053.22862                     Positive                          

1023.21498                     Positive                          

 948.18088                     Positive                          

 888.15359                     Positive                          

 593.01944                     Positive                          

1073.23772                     Positive                          

 723.07856                     Positive                          

 983.19679                     Positive                          

1248.31730                     Positive                          

 843.13313                     Positive                          

 638.03990                     Positive                          

 663.05127                     Positive                          

 963.18770                     Positive                          

 858.13995                     Positive                          

 603.02399                     Positive                          

 588.01717                     Positive                          

 713.07401                     Positive                          

1118.25818                     Positive                          

 743.08765                     Positive                          

 818.12176                     Positive                          

1238.31275                     Positive                          

 643.04218                     Positive                          

 778.10357                     Positive                          

1043.22408                     Positive                          

1278.33094                     Positive                          

 628.03536                     Positive                          

 693.06491                     Positive                          

1058.23090                     Positive                          

1103.25136                     Positive                          

 968.18997                     Positive                          

 863.14222                     Positive                          

 798.11266                     Positive                          

 838.13085                     Positive                          

 658.04900                     Positive                          

 768.09902                     Positive                          

 673.05582                     Positive                          

1263.32412                     Positive                          

 873.14677                     Positive                          

 933.17405                     Positive                          

1173.28319                     Positive                          

 688.06264                     Positive                          

 648.04445                     Positive                          

1143.26955                     Positive                          

 653.04672                     Positive                          

1228.30821                     Positive                          

1148.27183                     Positive                          

 978.19452                     Positive                          

1223.30593                     Positive                          

 598.02171                     Positive                          

1193.29229                     Positive                          

 613.02853                     Positive                          

1138.26728                     Positive                          

 878.14904                     Positive                          

 868.14450                     Positive                          

 738.08538                     Positive                          

 618.03081                     Positive                          

1093.24681                     Positive                          

 718.07628                     Positive                          

1038.22180                     Positive                          

 683.06037                     Positive                          

 958.18542                     Positive                          

 903.16041                     Positive                          

1218.30366                     Positive                          

1268.32640                     Positive                          

 973.19224                     Positive                          

 748.08993                     Positive                          

1133.26500                     Positive                          

1123.26046                     Positive                          

1258.32185                     Positive                          

 828.12631                     Positive                          

1208.29911                     Positive                          

1183.28774                     Positive                          

1233.31048                     Positive                          

1253.31957                     Positive                          

1003.20589                     Positive                          

 928.17178                     Positive                          

1033.21953                     Positive                          

 853.13767                     Positive                          

 793.11039                     Positive                          

 733.08310                     Positive                          

1158.27637                     Positive                          

 988.19907                     Positive                          

1273.32867                     Positive                          

1028.21726                     Positive                          

 848.13540                     Positive                          

 883.15132                     Positive                          

1198.29456                     Positive                          

 623.03308                     Positive                          

 698.06719                     Positive                          

 728.08083                     Positive                          

 993.20134                     Positive                          

1243.31503                     Positive                          

1078.23999                     Positive                          

 633.03763                     Positive                          

1083.24227                     Positive                          

1188.29002                     Positive                          

1213.30138                     Positive                          

 923.16951                     Positive                          

1178.28547                     Positive                          

 708.07174                     Positive                          

 913.16496                     Positive                          

 758.09447                     Positive                          

 943.17860                     Positive                          

1203.29684                     Positive                          

 813.11948                     Positive                          

1168.28092                     Positive                          

1088.24454                     Positive                          

1113.25591                     Positive                          

 763.09675                     Positive                          

 608.02626                     Positive                          

1013.21043                     Positive                          

 583.01489                     Positive                          

 783.10584                     Positive                          

1068.23545                     Positive                          

 953.18315                     Positive                          

 703.06946                     Positive                          

 788.10812                     Positive                          

1163.27865                     Positive                          

 918.16723                     Positive                          

 808.11721                     Positive                          

1088.24454                     Positive                          

 973.19224                     Positive                          

1128.26273                     Positive                          

1003.20589                     Positive                          

 773.10129                     Positive                          

 783.10584                     Positive                          

 898.15814                     Positive                          

1168.28092                     Positive                          

 678.05809                     Positive                          

 608.02626                     Positive                          

 938.17633                     Positive                          

 643.04218                     Positive                          

 963.18770                     Positive                          

1073.23772                     Positive                          

1253.31957                     Positive                          

 633.03763                     Positive                          

1233.31048                     Positive                          

1138.26728                     Positive                          

1258.32185                     Positive                          

 928.17178                     Positive                          

1203.29684                     Positive                          

 613.02853                     Positive                          

 738.08538                     Positive                          

 748.08993                     Positive                          

 893.15586                     Positive                          

 688.06264                     Positive                          

 958.18542                     Positive                          

1083.24227                     Positive                          

 998.20361                     Positive                          

1153.27410                     Positive                          

 933.17405                     Positive                          

1278.33094                     Positive                          

 978.19452                     Positive                          

1038.22180                     Positive                          

 728.08083                     Positive                          

1213.30138                     Positive                          

 848.13540                     Positive                          

1238.31275                     Positive                          

 868.14450                     Positive                          

1248.31730                     Positive                          

 793.11039                     Positive                          

1118.25818                     Positive                          

 943.17860                     Positive                          

 903.16041                     Positive                          

 618.03081                     Positive                          

 588.01717                     Positive                          

1148.27183                     Positive                          

 658.04900                     Positive                          

 638.03990                     Positive                          

 743.08765                     Positive                          

1093.24681                     Positive                          

1013.21043                     Positive                          

 888.15359                     Positive                          

1188.29002                     Positive                          

 698.06719                     Positive                          

1113.25591                     Positive                          

1048.22635                     Positive                          

 993.20134                     Positive                          

1163.27865                     Positive                          

1198.29456                     Positive                          

1178.28547                     Positive                          

 988.19907                     Positive                          

1103.25136                     Positive                          

 663.05127                     Positive                          

 593.01944                     Positive                          

1108.25364                     Positive                          

 753.09220                     Positive                          

 758.09447                     Positive                          

 803.11494                     Positive                          

 908.16269                     Positive                          

 683.06037                     Positive                          

 813.11948                     Positive                          

 703.06946                     Positive                          

 838.13085                     Positive                          

 708.07174                     Positive                          

1143.26955                     Positive                          

 968.18997                     Positive                          

 598.02171                     Positive                          

 953.18315                     Positive                          

 723.07856                     Positive                          

 883.15132                     Positive                          

 623.03308                     Positive                          

 833.12858                     Positive                          

 948.18088                     Positive                          

 603.02399                     Positive                          

1068.23545                     Positive                          

1043.22408                     Positive                          

 913.16496                     Positive                          

 718.07628                     Positive                          

 923.16951                     Positive                          

 843.13313                     Positive                          

 713.07401                     Positive                          

1193.29229                     Positive                          

 798.11266                     Positive                          

 878.14904                     Positive                          

 788.10812                     Positive                          

1063.23317                     Positive                          

1223.30593                     Positive                          

 828.12631                     Positive                          

1098.24909                     Positive                          

 918.16723                     Positive                          

1158.27637                     Positive                          

1218.30366                     Positive                          

1008.20816                     Positive                          

1273.32867                     Positive                          

 628.03536                     Positive                          

 648.04445                     Positive                          

 778.10357                     Positive                          

 673.05582                     Positive                          

1033.21953                     Positive                          

 583.01489                     Positive                          

 693.06491                     Positive                          

1133.26500                     Positive                          

1078.23999                     Positive                          

 768.09902                     Positive                          

1123.26046                     Positive                          

1058.23090                     Positive                          

 873.14677                     Positive                          

 653.04672                     Positive                          

 733.08310                     Positive                          

1053.22862                     Positive                          

 818.12176                     Positive                          

1018.21271                     Positive                          

 863.14222                     Positive                          

1228.30821                     Positive                          

1028.21726                     Positive                          

 853.13767                     Positive                          

1023.21498                     Positive                          

 763.09675                     Positive                          

1268.32640                     Positive                          

1183.28774                     Positive                          

 983.19679                     Positive                          

1263.32412                     Positive                          

1243.31503                     Positive                          

 858.13995                     Positive                          

1173.28319                     Positive                          

 823.12403                     Positive                          

1208.29911                     Positive                          

 668.05355                     Positive                          

1033.21953                     Positive                          

1253.31957                     Positive                          

 818.12176                     Positive                          

 843.13313                     Positive                          

 583.01489                     Positive                          

 988.19907                     Positive                          

1268.32640                     Positive                          

 948.18088                     Positive                          

 913.16496                     Positive                          

 673.05582                     Positive                          

 733.08310                     Positive                          

 863.14222                     Positive                          

1273.32867                     Positive                          

 973.19224                     Positive                          

 783.10584                     Positive                          

 938.17633                     Positive                          

 763.09675                     Positive                          

 793.11039                     Positive                          

1078.23999                     Positive                          

 868.14450                     Positive                          

 943.17860                     Positive                          

 858.13995                     Positive                          

1098.24909                     Positive                          

 688.06264                     Positive                          

 893.15586                     Positive                          

1143.26955                     Positive                          

 698.06719                     Positive                          

1118.25818                     Positive                          

1043.22408                     Positive                          

1223.30593                     Positive                          

 638.03990                     Positive                          

 588.01717                     Positive                          

1138.26728                     Positive                          

1103.25136                     Positive                          

1063.23317                     Positive                          

 768.09902                     Positive                          

 958.18542                     Positive                          

 978.19452                     Positive                          

 808.11721                     Positive                          

 723.07856                     Positive                          

 718.07628                     Positive                          

1238.31275                     Positive                          

 983.19679                     Positive                          

 743.08765                     Positive                          

 678.05809                     Positive                          

 738.08538                     Positive                          

1088.24454                     Positive                          

1173.28319                     Positive                          

1158.27637                     Positive                          

1228.30821                     Positive                          

 628.03536                     Positive                          

 748.08993                     Positive                          

1203.29684                     Positive                          

1188.29002                     Positive                          

1038.22180                     Positive                          

1208.29911                     Positive                          

 803.11494                     Positive                          

 753.09220                     Positive                          

 633.03763                     Positive                          

1163.27865                     Positive                          

1058.23090                     Positive                          

 618.03081                     Positive                          

 758.09447                     Positive                          

 598.02171                     Positive                          

 928.17178                     Positive                          

 653.04672                     Positive                          

1053.22862                     Positive                          

1153.27410                     Positive                          

 823.12403                     Positive                          

 693.06491                     Positive                          

 728.08083                     Positive                          

1243.31503                     Positive                          

 848.13540                     Positive                          

 923.16951                     Positive                          

 663.05127                     Positive                          

 708.07174                     Positive                          

1108.25364                     Positive                          

1248.31730                     Positive                          

 643.04218                     Positive                          

 968.18997                     Positive                          

1133.26500                     Positive                          

1068.23545                     Positive                          

 658.04900                     Positive                          

1073.23772                     Positive                          

1028.21726                     Positive                          

 838.13085                     Positive                          

 608.02626                     Positive                          

1123.26046                     Positive                          

 933.17405                     Positive                          

 953.18315                     Positive                          

1278.33094                     Positive                          

 603.02399                     Positive                          

 773.10129                     Positive                          

1258.32185                     Positive                          

 873.14677                     Positive                          

 713.07401                     Positive                          

 878.14904                     Positive                          

1113.25591                     Positive                          

 593.01944                     Positive                          

 703.06946                     Positive                          

1193.29229                     Positive                          

 998.20361                     Positive                          

1008.20816                     Positive                          

 993.20134                     Positive                          

 883.15132                     Positive                          

1128.26273                     Positive                          

1148.27183                     Positive                          

 908.16269                     Positive                          

 918.16723                     Positive                          

 683.06037                     Positive                          

 778.10357                     Positive                          

1213.30138                     Positive                          

 788.10812                     Positive                          

 833.12858                     Positive                          

1178.28547                     Positive                          

1003.20589                     Positive                          

1018.21271                     Positive                          

1198.29456                     Positive                          

1013.21043                     Positive                          

1093.24681                     Positive                          

 798.11266                     Positive                          

1218.30366                     Positive                          

1168.28092                     Positive                          

1083.24227                     Positive                          

 903.16041                     Positive                          

 668.05355                     Positive                          

 648.04445                     Positive                          

 813.11948                     Positive                          

1263.32412                     Positive                          

1183.28774                     Positive                          

 888.15359                     Positive                          

 623.03308                     Positive                          

1233.31048                     Positive                          

1048.22635                     Positive                          

1023.21498                     Positive                          

 828.12631                     Positive                          

 613.02853                     Positive                          

 963.18770                     Positive                          

 853.13767                     Positive                          

 898.15814                     Positive                          

EXCLUSION LIST

   (no entries)

NEUTRAL LOSSES

   (no entries)

MASS TAGS

   (no entries)

