## Slide 1
Acquisition method generation - Analyst 1.7 (Sciex TripleTOF 5600 / 6600)
1
2
3

## Slide 2
Acquisition method generation – Xcalibur 3.1 / Foundation 3.1 (Thermo Q Exactive)
Inclusion list
Center of the DIA window
Isolation window width
1
2

## Slide 3
Acquisition method generation – Xcalibur 4 / Foundation 3.1 (Thermo Lumos)
MS OT scan
Center of the DIA window
Isolation window width
1
2