## Slide 1
2 analyzes were performed with the same sample
Before thermo software update (version 3.3):
1 ) Assay : Injection with the Sure Quant method we designed
After thermo software update (version 3.5) :
2) Assay : Injection with the Sure Quant method  some peptides were not detected
On the next slides: screenshot of the chromatogram for the same peptide with skyline or freestyle :
As you can see, skyline truncates the peak while it’s complete on freestyle.

## Slide 2
1
2

## Slide 3
1
2