## Slide 1
ISSUES with pepXML in TPP

## Slide 2
Double click TPP (installed in desktop icon as shortcut) – This tab is opened in the google chrome browser

## Slide 3
Clicked on “Analyze Peptides”

## Slide 4
This window opens
The whole webpage is in the next screen shots- where all the parameters are available

## Slide 7
Then I click on “Add files”

## Slide 8
Then I keep the data with renaming it in the same directory “c:/TPP/data/”
Then I write the name of the file here and hit “Go”
FILE renamed “.pep.xml”

## Slide 9
This is what I see after clicking on “Go” to load the file
THE FILE NOT LOADING IN TPP TO RUN PEPTIDE-PROPHET

## Slide 10
However, I can upload the data in the “File” tab