## Slide 1
Acetylcholine, Run 17, 148->87 m/z
- Expected RT window and proper integration.

## Slide 2
Acetylcholine, Run 17, 148->60 m/z
Expected RT window and proper integration.
Note, run 16 is not included in the Results Grid for this transition.

## Slide 3
Acetylcholine, Run 16, 148->87 m/z
- Altered retention time window. Peak is cut off.

## Slide 4
Acetylcholine, Run 16, 148->60 m/z
Altered RT window and no integration.
This transition file has not been imported.

## Slide 5
MassLynx Chromatograms
Top: Acetylcholine, Run 16, 148->87 m/z
Bottom: Run 16, 148->60 m/z