## Slide 1
Shaded as if integrated, but no integration performed.
Red error light in the Targets pane for the 87 m/z.
#N/A for all values in Results Grid.

## Slide 2
Integration performed.
Green light in Targets pane for this transition.
Values in Results Grid.