## Slide 1: Instrument method with Scheduled RTs

## Slide 2: Correct results are shown on SCIEX analyst (Scheduled MRM)

## Slide 3: But Skyline show only result at 12,9 min regardless of the RT (sheduled MRM)
How to show on Skyline the result from the 5 min mark?

## Slide 4: Correct peak is at 5 min (sheduled MRM)
How to show on Skyline the result from the 5 min mark?

## Slide 5: This is the correct chromatogram for 2,6-Dihydroxybenzoic acid sheduled MRM

## Slide 6: 3 and 4 –O-methylgallic acid

## Slide 7: Unscheduled MRM
Scheduled MRM. Correct peak is 8,4 but only peak at 9,4 min is shown
How do I tell Skyline to pick the earlier peak?