## Slide 1: Skyline - how to detect peaks with the same MRM transition?
Unscheduled run
5.0 min = 3,5-Dihydroxybenzoic acid
5.3 min = Protocatechuic acid
12.7 min = 2,6-Dihydroxybenzoic acid

## Slide 2: 3,5-Dihydroxybenzoic acid – But wrong RT picked by Skyline – (same for Protocatechuic acid)
Scheduled MRM

## Slide 3: Skyline - how to detect peaks with the same MRM transition?
Unscheduled run
8.4min = 3-O-Methylgallic acid
9.4min = 4-O-Methylgallic acid

## Slide 4: 3-O-Methylgallic- acid but wrong RT picked by Skyline – Should be 8.4 min
Scheduled MRM

## Slide 5: Explicit RT entered into document grid (only to selected targets)

## Slide 6: Explicit RT entered into document grid (only to selected targets)
Also Tried entering in Modify Molecule

## Slide 7: Explicit RT entered into document grid (to selected targets)
3,5-Dihydroxybenzoic acid. Peaks disappear from the scheduled run data(??) Peaks re-appear when explicit RT is removed from the Document Grid or Modify Molecule

## Slide 8: Explicit RT entered into document grid (not to all targets)
Protocatechuic acid . Peaks disappear from the scheduled run data(??) Peaks re-appear when explicit RT is removed from the Document Grid or Modify Molecule

## Slide 9: When I try to import data, it discards the chromatograms with the errors below